## ReadMe
Manitoba Geological Survey
Data Repository Item DRI2020010
Whole-rock geochemistry of drillcores M-1-07 and M-2-07, southwestern Manitoba (parts of NTS 62N16 and 63C1)
by K. Lapenskie and J.D. Bamburak
This Data Repository Item supplements:
Bamburak, J.D. 2007: Manitoba Geological Survey’s Stratigraphic Corehole Drilling Program, 2007 (parts of NTS 62N1, 16, 63C1); in Report of Activities 2007, Manitoba Science, Technology, Energy and Mines, Manitoba Geological Survey, p. 166–174.
Contents: Metadata Table 1_1: Detection limits for geochemical analysis by total digestion for ICP-OES and INAA. Table 1_2: Whole-rock geochemistry results, Au+48(1H). Table 1_3: QA_QC for whole-rock geochemistry results, Au+48(1H).
Abbreviations: Actlabs, Activation Laboratories Inc.; DD, decimal degrees; ICP-OES, inductively coupled plasma–optical emission spectrometry; INAA, instrumental neutron activation analysis; MGS, Manitoba Geological Survey; n/a, not applicable; perc, percent; QA_QC, quality assurance–quality control.
Manitoba Agriculture and Resource Development does not assume any liability for errors that may occur. The digital data are provided as received from the author and have not been edited or formatted. Any third-party data are supplied on the understanding that they are for the sole use of the licensee, and will not be redistributed in any form, in whole or in part. Any references to proprietary software in the documentation and/or any use of proprietary data formats in this release do not constitute endorsement by Manitoba Agriculture and Resource Development of any manufacturer's product.
When using information from this publication in other publications or presentations, due acknowledgment should be given to the Manitoba Geological Survey. The following reference format is recommended:
Lapenskie, K. and Bamburak, J.D. 2020: Whole-rock geochemistry of drillcores M-1-07 and M-2-07, southwestern Manitoba (parts of NTS 62N16 and 63C1); Manitoba Agriculture and Resource Development, Manitoba Geological Survey, Data Repository Item DRI2020010, Microsoft® Excel® file.
NTS grid: 62N16, 63C1
Published 2020 by: Manitoba Agriculture and Resource Development Manitoba Geological Survey 360-1395 Ellice Avenue Winnipeg, Manitoba R3G 3P2 Canada
Tel: 1-800-223-5215 (General Enquiry)
Tel: 204-945-6569 (Resource Centre)
Fax: 204-945-8427
E-mail: minesinfo@gov.mb.ca
Website: www.manitoba.ca/minerals

## Metadata
Metadata
Project_Information
Project_Number | MGS2003_001
Project_Name | Stratigraphic and scout drilling (industrial minerals)
Project_Lead | J.D. Bamburak; K. Lapenskie
Publication_Release_Date | 2020-04-01
Publication_Number | DRI2020010
Organization_Responsible | MGS
Total_Samples_Analyzed | 65
NTS_Sheet_250K | 62N, 63C
NTS_Sheet_50K | 62N16, 63C1
Datum_For_Sample_Locations | NAD83
Sample_Preparation_Methodology
All samples were collected from MGS stratigraphic drillcore. Drillcore was split, and one half of the core was divided into intervals, from 0.56 m to 2.23 m thick but generally 1.00 m in length. Samples were crushed in a steel-jaw crusher to <5 mm, riffed both manually and mechanically, homogenized by rolling and quartered. A fraction was taken from each quarter and these were crushed together in a mild-steel shatter box and placed in a vibratory-ring pulverizer for milling to <200 mesh. The pulverized samples were quartered, riffed and quartered again to obtain a sample up to 35 g for analysis.
Analysis_Information | Analysis_1
Laboratory | Actlabs; Ancaster, Ontario
Laboratory_Report_Number | A07-4549
Sample_Medium | Rock
Size_Fraction_If_Applicable | n/a
Analytical_Digestion_If_Applicable | Hydrochloric, nitric, perchloric and hydrofluoric acid
Sample_Aliquot | 0.75–35 g
Analytical_Method | INAA; ICP-OES
Lab_Analytical_Package_Code | Au+48(1H)

## Table 1_1
Table 1_1: Detection limits for geochemical analysis by total digestion for ICP-OES and INAA.
Analysis Method | Analyte | Detection Limit | Unit
INAA | Au | 2 | ppb
ICP-OES | Ag | 0.3 | ppm
ICP-OES | Cu | 1 | ppm
ICP-OES | Cd | 0.3 | ppm
ICP-OES | Mo | 1 | ppm
ICP-OES | Pb | 3 | ppm
ICP-OES | Ni | 1 | ppm
ICP-OES | Zn | 1 | ppm
ICP-OES | S | 0.01 | perc
ICP-OES | Al | 0.01 | perc
INAA | As | 0.5 | ppm
INAA | Ba | 50 | ppm
ICP-OES | Be | 1 | ppm
ICP-OES | Bi | 2 | ppm
INAA | Br | 0.5 | ppm
ICP-OES | Ca | 0.01 | perc
INAA | Co | 1 | ppm
INAA | Cr | 2 | ppm
INAA | Cs | 1 | ppm
INAA | Eu | 0.2 | ppm
INAA | Fe | 0.01 | perc
INAA | Hf | 1 | ppm
INAA | Hg | 1 | ppm
INAA | Ir | 5 | ppb
ICP-OES | K | 0.01 | perc
ICP-OES | Mg | 0.01 | perc
ICP-OES | Mn | 1 | ppm
INAA | Na | 0.01 | perc
ICP-OES | Pb | 0.001 | perc
INAA | Rb | 15 | ppm
INAA | Sb | 0.1 | ppm
INAA | Sc | 0.1 | ppm
INAA | Se | 3 | ppm
ICP-OES | Sr | 1 | ppm
INAA | Ta | 0.5 | ppm
ICP-OES | Ti | 0.01 | perc
INAA | Th | 0.2 | ppm
INAA | U | 0.5 | ppm
ICP-OES | V | 2 | ppm
INAA | W | 1 | ppm
ICP-OES | Y | 1 | ppm
INAA | La | 0.5 | ppm
INAA | Ce | 3 | ppm
INAA | Nd | 5 | ppm
INAA | Sm | 0.1 | ppm
INAA | Sn | 0.01 | perc
INAA | Tb | 0.5 | ppm
INAA | Yb | 0.2 | ppm
INAA | Lu | 0.05 | ppm

## Table 1_2
Table 1_2: Whole-rock geochemistry results, Au+48(1H).
Sample_ID | UTM_Zone | Easting | Northing | Latitude_DD | Longitude_DD | Depth_From_m | Depth_To_m | Au_ppb | Ag_ppm | Cu_ppm | Cd_ppm | Mo_ppm | Pb_ppm | Ni_ppm | Zn_ppm | S_perc | Al_perc | As_ppm | Ba_ppm | Be_ppm | Bi_ppm | Br_ppm | Ca_perc | Co_ppm | Cr_ppm | Cs_ppm | Eu_ppm | Fe_perc | Hf_ppm | Hg_ppm | Ir_ppb | K_perc | Mg_perc | Mn_ppm | Na_perc | P_perc | Rb_ppm | Sb_ppm | Sc_ppm | Se_ppm | Sr_ppm | Ta_ppm | Ti_perc | Th_ppm | U_ppm | V_ppm | W_ppm | Y_ppm | La_ppm | Ce_ppm | Nd_ppm | Sm_ppm | Sn_perc | Tb_ppm | Yb_ppm | Lu_ppm | Mass_g
99-M-1-07-76-77 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 77 | 76 | < 2 | < 0.3 | 9 | < 0.3 | < 1 | 4 | 19 | 21 | 0.07 | 3.49 | 2.9 | 220 | 1 | < 2 | 5.7 | 14.1 | 7 | 50 | 2 | 0.4 | 1.56 | 2 | < 1 | < 5 | 2.8 | 2.73 | 337 | 0.08 | 0.036 | 71 | 0.3 | 5.9 | < 3 | 78 | 1.8 | 0.18 | 5.4 | < 0.5 | 45 | < 1 | 10 | 13.8 | 38 | 7 | 2.1 | < 0.01 | < 0.5 | 1.5 | 0.26 | 22.9
99-M-1-07-77-78 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 78 | 77 | < 2 | < 0.3 | 7 | < 0.3 | < 1 | < 3 | 18 | 15 | 0.04 | 3.19 | 1.7 | < 50 | 1 | < 2 | 5.4 | 13.7 | 4 | 45 | 3 | 0.5 | 1.08 | 2 | < 1 | < 5 | 2.69 | 2.74 | 240 | 0.08 | 0.041 | 43 | 0.2 | 5.3 | < 3 | 69 | < 0.5 | 0.17 | 6 | < 0.5 | 39 | 2 | 10 | 14.8 | 37 | 12 | 2.1 | < 0.01 | < 0.5 | 1.5 | 0.2 | 26.2
99-M-1-07-78-79 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 79 | 78 | < 2 | < 0.3 | 6 | < 0.3 | < 1 | < 3 | 10 | 9 | 0.04 | 1.58 | 2 | < 50 | < 1 | < 2 | 6.4 | 16.8 | 4 | 22 | 2 | 0.3 | 0.55 | < 1 | < 1 | < 5 | 1.29 | 2.89 | 168 | 0.05 | 0.027 | < 15 | 0.2 | 2.7 | < 3 | 40 | < 0.5 | 0.08 | 2.7 | < 0.5 | 23 | < 1 | 6 | 8.8 | 28 | 11 | 1.4 | < 0.01 | < 0.5 | 0.8 | 0.11 | 23.4
99-M-1-07-79-80 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 80 | 79 | < 2 | < 0.3 | 4 | < 0.3 | < 1 | 4 | 11 | 11 | 0.54 | 1.7 | 3.8 | 150 | < 1 | < 2 | 7.4 | 16.7 | 6 | 25 | 2 | 0.2 | 0.87 | 1 | < 1 | < 5 | 1.45 | 2.87 | 149 | 0.05 | 0.03 | < 15 | 0.3 | 3.1 | < 3 | 46 | 0.9 | 0.09 | 3.4 | < 0.5 | 24 | < 1 | 6 | 9 | 27 | 6 | 1.3 | < 0.01 | < 0.5 | 1.2 | 0.11 | 24
99-M-1-07-80-81 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 81 | 80 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 6 | 3 | 0.38 | 0.84 | 2.8 | < 50 | < 1 | < 2 | 13.5 | 19.2 | 3 | 7 | 2 | < 0.2 | 0.56 | < 1 | < 1 | < 5 | 0.61 | 2.97 | 140 | 0.04 | 0.015 | < 15 | 0.1 | 1.3 | < 3 | 46 | < 0.5 | 0.04 | 1.2 | < 0.5 | 15 | < 1 | 4 | 5.1 | 10 | 9 | 0.8 | < 0.01 | < 0.5 | 0.7 | 0.06 | 25.4
99-M-1-07-81-82 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 82 | 81 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 6 | 6 | 0.25 | 0.85 | 2.5 | < 50 | < 1 | < 2 | 25.3 | 18.9 | 3 | 6 | 2 | < 0.2 | 0.47 | < 1 | < 1 | < 5 | 0.46 | 2.95 | 91 | 0.06 | 0.005 | < 15 | 0.2 | 1.3 | < 3 | 63 | < 0.5 | 0.04 | 1.7 | < 0.5 | 17 | < 1 | 2 | 3.5 | 7 | 8 | 0.5 | < 0.01 | < 0.5 | 0.3 | < 0.05 | 20.1
99-M-1-07-82-83 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 83 | 82 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 5 | 5 | 0.16 | 0.64 | 2.3 | < 50 | < 1 | < 2 | 30.4 | 19.3 | 2 | < 2 | < 1 | < 0.2 | 0.35 | < 1 | < 1 | < 5 | 0.33 | 2.93 | 80 | 0.05 | 0.004 | < 15 | 0.3 | 0.9 | < 3 | 71 | < 0.5 | 0.06 | 1 | < 0.5 | 17 | < 1 | 2 | 2.6 | < 3 | < 5 | 0.4 | < 0.01 | < 0.5 | 0.3 | < 0.05 | 26.9
99-M-1-07-83-84 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 84 | 83 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 2 | 3 | 0.06 | 0.27 | 2.4 | < 50 | < 1 | < 2 | 24.3 | 19.1 | 2 | < 2 | 1 | < 0.2 | 0.22 | < 1 | < 1 | < 5 | 0.15 | 2.94 | 77 | 0.04 | 0.004 | < 15 | < 0.1 | 0.5 | < 3 | 62 | < 0.5 | 0.01 | 0.5 | < 0.5 | 12 | < 1 | 1 | 1.8 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 25.6
99-M-1-07-84-85 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 85 | 84 | < 2 | < 0.3 | 4 | < 0.3 | < 1 | 4 | 5 | 7 | 0.16 | 0.92 | 1.5 | < 50 | < 1 | < 2 | 17.8 | 19.1 | 1 | 9 | 1 | < 0.2 | 0.45 | < 1 | < 1 | < 5 | 0.51 | 2.94 | 85 | 0.07 | 0.005 | < 15 | 0.3 | 1.5 | < 3 | 61 | < 0.5 | 0.04 | 1.5 | < 0.5 | 17 | < 1 | 2 | 3.8 | < 3 | < 5 | 0.5 | < 0.01 | < 0.5 | 0.4 | < 0.05 | 19.3
99-M-1-07-85-86 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 86 | 85 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | 3 | 2 | 4 | 0.05 | 0.47 | 0.9 | < 50 | < 1 | < 2 | 19.4 | 19.3 | 1 | < 2 | < 1 | < 0.2 | 0.22 | < 1 | < 1 | < 5 | 0.26 | 2.95 | 81 | 0.05 | 0.004 | < 15 | < 0.1 | 0.7 | < 3 | 60 | < 0.5 | 0.02 | 0.4 | < 0.5 | 13 | < 1 | 2 | 2.5 | < 3 | < 5 | 0.4 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 22.1
99-M-1-07-86-87 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 87 | 86 | < 2 | < 0.3 | 5 | < 0.3 | < 1 | 3 | 4 | 6 | 0.08 | 0.86 | 1.1 | < 50 | < 1 | < 2 | 17.3 | 19.4 | 2 | 8 | 1 | < 0.2 | 0.36 | < 1 | < 1 | < 5 | 0.48 | 2.92 | 77 | 0.05 | 0.004 | 22 | < 0.1 | 1.4 | < 3 | 52 | < 0.5 | 0.04 | 2 | < 0.5 | 15 | < 1 | 2 | 3.7 | 5 | < 5 | 0.6 | < 0.01 | < 0.5 | 0.3 | 0.05 | 27.3
99-M-1-07-87-88 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 88 | 87 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | < 1 | 4 | 0.02 | 0.1 | 0.6 | < 50 | < 1 | < 2 | 22.9 | 19.2 | < 1 | < 2 | < 1 | < 0.2 | 0.13 | < 1 | < 1 | < 5 | 0.06 | 2.97 | 73 | 0.04 | 0.003 | < 15 | < 0.1 | 0.2 | < 3 | 56 | < 0.5 | < 0.01 | 0.3 | < 0.5 | 11 | < 1 | < 1 | 1.4 | 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 29.1
99-M-1-07-88-89 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 89 | 88 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 2 | 5 | 0.06 | 0.25 | 0.9 | < 50 | < 1 | < 2 | 26.6 | 19.3 | 1 | < 2 | < 1 | < 0.2 | 0.19 | < 1 | < 1 | < 5 | 0.13 | 2.93 | 73 | 0.04 | 0.003 | < 15 | < 0.1 | 0.4 | < 3 | 62 | < 0.5 | 0.01 | < 0.2 | < 0.5 | 11 | < 1 | 1 | 2.1 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 23.1
99-M-1-07-89-90 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 90 | 89 | < 2 | < 0.3 | 5 | < 0.3 | < 1 | < 3 | 5 | 5 | 0.15 | 0.93 | 1 | < 50 | < 1 | < 2 | 18.8 | 18.2 | 1 | < 2 | < 1 | < 0.2 | 0.39 | < 1 | < 1 | < 5 | 0.51 | 2.94 | 88 | 0.06 | 0.004 | < 15 | 0.2 | 1.5 | < 3 | 47 | < 0.5 | 0.04 | 1.9 | < 0.5 | 15 | < 1 | 2 | 3.9 | 5 | < 5 | 0.6 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 29.9
99-M-1-07-90-91 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 91 | 90 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 5 | 0.03 | 0.17 | < 0.5 | < 50 | < 1 | < 2 | 21.3 | 19.3 | < 1 | < 2 | < 1 | < 0.2 | 0.16 | < 1 | < 1 | < 5 | 0.09 | 2.96 | 84 | 0.04 | 0.003 | < 15 | < 0.1 | 0.3 | < 3 | 48 | < 0.5 | < 0.01 | < 0.2 | 0.6 | 12 | < 1 | 1 | 1.9 | 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 26.4
99-M-1-07-91-92 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 92 | 91 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.06 | 0.35 | < 0.5 | < 50 | < 1 | < 2 | 21.2 | 20.4 | 1 | < 2 | < 1 | < 0.2 | 0.21 | < 1 | < 1 | < 5 | 0.3 | 12.1 | 96 | 0.05 | 0.003 | < 15 | < 0.1 | 0.5 | < 3 | 54 | < 0.5 | 0.01 | 0.6 | < 0.5 | 10 | < 1 | 4 | 2.3 | 4 | < 5 | 0.4 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.2
99-M-1-07-92-93 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 93 | 92 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.01 | 0.02 | 0.9 | < 50 | < 1 | < 2 | 21.9 | 19.2 | 1 | < 2 | < 1 | < 0.2 | 0.11 | < 1 | < 1 | < 5 | 0.03 | 2.67 | 77 | 0.03 | 0.003 | < 15 | < 0.1 | 0.1 | < 3 | 47 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 10 | < 1 | < 1 | 1.2 | 4 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.5
99-M-1-07-93-94 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 94 | 93 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 2 | 0.01 | 0.1 | < 0.5 | < 50 | < 1 | < 2 | 20.6 | 19.3 | 1 | < 2 | < 1 | < 0.2 | 0.12 | < 1 | < 1 | < 5 | 0.05 | 2.96 | 82 | 0.04 | 0.003 | < 15 | < 0.1 | 0.2 | < 3 | 47 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 10 | < 1 | < 1 | 1.3 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24
99-M-1-07-94-95 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 95 | 94 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | 3 | 3 | 5 | 0.03 | 1.29 | 1 | < 50 | < 1 | < 2 | 20.1 | 19.4 | 1 | < 2 | < 1 | < 0.2 | 0.19 | < 1 | < 1 | < 5 | 0.23 | 2.98 | 79 | 0.04 | 0.006 | < 15 | 0.1 | 0.6 | < 3 | 67 | < 0.5 | 0.02 | 0.8 | < 0.5 | 12 | < 1 | 3 | 2.3 | 6 | < 5 | 0.4 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 28.6
99-M-1-07-95-96 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 96 | 95 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 1 | 4 | 0.03 | 0.39 | < 0.5 | < 50 | < 1 | < 2 | 17.5 | 19 | < 1 | < 2 | < 1 | < 0.2 | 0.17 | < 1 | < 1 | < 5 | 0.22 | 2.95 | 71 | 0.04 | 0.002 | < 15 | < 0.1 | 0.6 | < 3 | 49 | < 0.5 | 0.02 | 0.8 | < 0.5 | 12 | < 1 | 1 | 2.1 | 4 | < 5 | 0.4 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 23.8
99-M-1-07-96-97 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 97 | 96 | < 2 | < 0.3 | 8 | < 0.3 | < 1 | < 3 | 2 | 2 | 0.03 | 0.21 | 0.8 | < 50 | < 1 | < 2 | 16 | 19.5 | < 1 | < 2 | < 1 | < 0.2 | 0.19 | < 1 | < 1 | < 5 | 0.11 | 2.97 | 107 | 0.04 | 0.001 | < 15 | < 0.1 | 0.3 | < 3 | 46 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 1.5 | 4 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 29.5
99-M-1-07-97-98 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 98 | 97 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 2 | 3 | 0.02 | 0.24 | < 0.5 | < 50 | < 1 | < 2 | 13.5 | 19.8 | 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.06 | 3 | 122 | 0.04 | 0.001 | < 15 | < 0.1 | 0.3 | < 3 | 41 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 1.4 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 21.5
99-M-1-07-98-99 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 99 | 98 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 3 | 0.04 | 0.33 | 0.9 | 80 | < 1 | < 2 | 12.4 | 19.2 | 1 | < 2 | < 1 | < 0.2 | 0.2 | < 1 | < 1 | < 5 | 0.15 | 2.92 | 116 | 0.05 | 0.001 | < 15 | < 0.1 | 0.4 | < 3 | 45 | < 0.5 | 0.01 | 0.6 | 0.7 | 13 | < 1 | < 1 | 1.8 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 22.1
99-M-1-07-99-100 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 100 | 99 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.04 | 0.08 | < 0.5 | < 50 | < 1 | < 2 | 14.4 | 19.4 | < 1 | < 2 | < 1 | < 0.2 | 0.14 | < 1 | < 1 | < 5 | 0.03 | 2.96 | 125 | 0.05 | < 0.001 | < 15 | < 0.1 | < 0.1 | < 3 | 45 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.8 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.5
99-M-1-07-100-101 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 101 | 100 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.05 | 0.9 | < 50 | < 1 | < 2 | 18.6 | 19.4 | 1 | < 2 | < 1 | < 0.2 | 0.14 | < 1 | < 1 | < 5 | 0.02 | 2.95 | 124 | 0.05 | < 0.001 | < 15 | < 0.1 | < 0.1 | < 3 | 46 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.7 | < 3 | 8 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24
99-M-1-07-101-102 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 102 | 101 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 4 | 0.02 | 0.04 | < 0.5 | < 50 | < 1 | < 2 | 19.1 | 19.5 | < 1 | < 2 | < 1 | < 0.2 | 0.14 | < 1 | < 1 | < 5 | 0.02 | 2.97 | 121 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.1 | < 3 | 49 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.7 | < 3 | < 5 | 0.1 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 23.2
99-M-1-07-102-103 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 103 | 102 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.04 | 0.03 | < 0.5 | < 50 | < 1 | < 2 | 14.4 | 19.2 | < 1 | < 2 | < 1 | < 0.2 | 0.16 | < 1 | < 1 | < 5 | 0.01 | 2.95 | 117 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.1 | < 3 | 44 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 10 | < 1 | < 1 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 23.4
99-M-1-07-103-104 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 104 | 103 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.04 | 0.07 | 0.8 | < 50 | < 1 | < 2 | 15.4 | 19.2 | < 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.02 | 2.89 | 134 | 0.05 | < 0.001 | < 15 | < 0.1 | 0.1 | < 3 | 47 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 10 | < 1 | < 1 | 0.6 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.8
99-M-1-07-104-105 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 105 | 104 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 2 | 5 | 0.05 | 0.33 | < 0.5 | < 50 | < 1 | < 2 | 17.7 | 19.3 | 1 | < 2 | < 1 | < 0.2 | 0.19 | < 1 | < 1 | < 5 | 0.17 | 2.94 | 102 | 0.05 | 0.004 | < 15 | < 0.1 | 0.4 | < 3 | 50 | < 0.5 | 0.04 | 0.6 | < 0.5 | 14 | < 1 | < 1 | 1.7 | 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.2
99-M-1-07-105-106 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 106 | 105 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 1 | 6 | 0.04 | 0.35 | 0.9 | < 50 | < 1 | < 2 | 17.3 | 19.6 | < 1 | < 2 | < 1 | < 0.2 | 0.14 | < 1 | < 1 | < 5 | 0.13 | 2.96 | 99 | 0.04 | 0.003 | < 15 | < 0.1 | 0.3 | < 3 | 52 | < 0.5 | 0.01 | 0.3 | 0.6 | 13 | < 1 | < 1 | 1.3 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 32.3
99-M-1-07-106-107 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 107 | 106 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.04 | 0.09 | 0.8 | 150 | < 1 | < 2 | 10.4 | 19.4 | < 1 | < 2 | < 1 | < 0.2 | 0.16 | < 1 | < 1 | < 5 | 0.04 | 2.92 | 104 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 42 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.6 | < 3 | < 5 | 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 25.6
99-M-1-07-107-108 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 108 | 107 | < 2 | < 0.3 | 4 | < 0.3 | < 1 | < 3 | 1 | 4 | 0.06 | 0.46 | 0.6 | 90 | < 1 | < 2 | 13 | 19.1 | 1 | < 2 | < 1 | < 0.2 | 0.24 | < 1 | < 1 | < 5 | 0.21 | 2.98 | 73 | 0.05 | 0.004 | 22 | < 0.1 | 0.7 | < 3 | 43 | < 0.5 | 0.02 | 0.8 | < 0.5 | 15 | < 1 | < 1 | 1.7 | 4 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.7
99-M-1-07-108-109 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 109 | 108 | < 2 | < 0.3 | 16 | < 0.3 | < 1 | 4 | < 1 | 16 | 0.02 | 0.46 | < 0.5 | < 50 | < 1 | < 2 | 11.7 | 20.4 | < 1 | < 2 | < 1 | < 0.2 | 0.13 | < 1 | < 1 | < 5 | 0.04 | 2.96 | 67 | 0.04 | 0.002 | < 15 | < 0.1 | 0.2 | < 3 | 42 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | 4 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.7
99-M-1-07-109-110 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 110 | 109 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.07 | < 0.5 | < 50 | < 1 | < 2 | 10 | 19.7 | < 1 | < 2 | < 1 | < 0.2 | 0.11 | < 1 | < 1 | < 5 | 0.03 | 2.93 | 88 | 0.04 | < 0.001 | < 15 | < 0.1 | < 0.1 | < 3 | 37 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.5 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.5
99-M-1-07-110-111 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 111 | 110 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 1 | 2 | 0.14 | 0.04 | < 0.5 | < 50 | < 1 | < 2 | 9.1 | 20.1 | < 1 | < 2 | < 1 | < 0.2 | 0.17 | < 1 | < 1 | < 5 | 0.02 | 2.99 | 121 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 33 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.6 | < 3 | 7 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.1
99-M-1-07-111-112.44 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 112.44 | 111 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.11 | 0.7 | < 50 | < 1 | < 2 | 11.1 | 19.6 | < 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.06 | 2.9 | 108 | 0.05 | 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 37 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.6 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 25.6
99-M-1-07-112.44-113 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 113 | 112.44 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.06 | 0.57 | 0.8 | < 50 | < 1 | < 2 | 13.4 | 18.9 | 1 | 6 | < 1 | < 0.2 | 0.22 | < 1 | < 1 | < 5 | 0.39 | 2.94 | 62 | 0.05 | 0.007 | < 15 | < 0.1 | 0.7 | < 3 | 46 | < 0.5 | 0.04 | 1.2 | 0.7 | 16 | < 1 | 1 | 2.4 | 5 | < 5 | 0.3 | < 0.01 | < 0.5 | 0.3 | < 0.05 | 29.2
99-M-1-07-113-114 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 114 | 113 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 1 | 5 | 0.06 | 0.46 | 0.7 | < 50 | < 1 | < 2 | 14.8 | 20.2 | < 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.15 | 2.92 | 83 | 0.04 | 0.003 | < 15 | < 0.1 | 0.3 | < 3 | 45 | < 0.5 | < 0.01 | 0.3 | < 0.5 | 13 | < 1 | < 1 | 1 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 29.5
99-M-1-07-114-114.8 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 114.8 | 114 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | 5 | 2 | 5 | 0.03 | 0.12 | 0.6 | < 50 | < 1 | < 2 | 12.7 | 20 | < 1 | < 2 | < 1 | < 0.2 | 0.14 | < 1 | < 1 | < 5 | 0.1 | 12.1 | 147 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 44 | < 0.5 | < 0.01 | 0.4 | < 0.5 | 12 | < 1 | < 1 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 21.4
99-M-1-07-114.8-116 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 116 | 114.8 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.11 | 0.5 | < 50 | < 1 | < 2 | 10.2 | 19.8 | < 1 | < 2 | < 1 | < 0.2 | 0.16 | < 1 | < 1 | < 5 | 0.09 | 2.97 | 88 | 0.03 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 33 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.8 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 26.7
99-M-1-07-116-117 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 117 | 116 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.1 | 0.6 | < 50 | < 1 | < 2 | 9.7 | 18.9 | < 1 | < 2 | < 1 | < 0.2 | 0.15 | < 1 | < 1 | < 5 | 0.08 | 2.91 | 85 | 0.03 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 30 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 30.5
99-M-1-07-117-118 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 118 | 117 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.1 | 0.08 | < 0.5 | < 50 | < 1 | < 2 | 11.4 | 19.4 | < 1 | < 2 | < 1 | < 0.2 | 0.23 | < 1 | < 1 | < 5 | 0.07 | 2.95 | 133 | 0.04 | 0.001 | < 15 | < 0.1 | 0.3 | < 3 | 36 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.8 | < 3 | < 5 | 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 27.8
99-M-1-07-118-119 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 119 | 118 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.03 | 0.06 | 0.7 | < 50 | < 1 | < 2 | 11.8 | 19.1 | < 1 | < 2 | < 1 | < 0.2 | 0.19 | < 1 | < 1 | < 5 | 0.06 | 2.93 | 134 | 0.04 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 37 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 27.5
99-M-1-07-119-120 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 120 | 119 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 2 | 0.02 | 0.05 | 0.7 | < 50 | < 1 | < 2 | 12.9 | 19.4 | < 1 | < 2 | < 1 | < 0.2 | 0.16 | < 1 | < 1 | < 5 | 0.05 | 2.95 | 101 | 0.03 | < 0.001 | < 15 | < 0.1 | 0.1 | < 3 | 37 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 11 | < 1 | < 1 | 0.6 | 4 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.9
99-M-1-07-120-121 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 121 | 120 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.04 | 0.13 | < 0.5 | < 50 | < 1 | < 2 | 10.1 | 19.3 | < 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.05 | 2.95 | 137 | 0.03 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 37 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 12 | < 1 | < 1 | 0.7 | < 3 | 6 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 27.6
99-M-1-07-121-122 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 122 | 121 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 1 | 3 | 0.08 | 0.09 | < 0.5 | < 50 | < 1 | < 2 | 11.8 | 19.7 | 1 | < 2 | < 1 | < 0.2 | 0.23 | < 1 | < 1 | < 5 | 0.05 | 2.99 | 134 | 0.04 | 0.002 | < 15 | < 0.1 | 0.2 | < 3 | 39 | < 0.5 | 0.03 | < 0.2 | 0.8 | 17 | < 1 | < 1 | 0.7 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.4
99-M-1-07-122-123 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 123 | 122 | < 2 | < 0.3 | 6 | < 0.3 | < 1 | < 3 | 5 | 9 | 0.23 | 1.39 | 1 | 120 | < 1 | < 2 | 11.2 | 17.9 | 2 | 16 | < 1 | < 0.2 | 0.54 | < 1 | < 1 | < 5 | 1.05 | 2.92 | 104 | 0.07 | 0.016 | 35 | 0.2 | 1.9 | < 3 | 44 | < 0.5 | 0.06 | 2.6 | 1 | 21 | < 1 | 4 | 4.7 | 13 | < 5 | 0.8 | < 0.01 | < 0.5 | 0.6 | 0.09 | 32.3
99-M-1-07-123-124 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 124 | 123 | < 2 | < 0.3 | 4 | < 0.3 | < 1 | < 3 | < 1 | 4 | 0.04 | 0.29 | 0.6 | < 50 | < 1 | < 2 | 10.2 | 19.3 | < 1 | 5 | < 1 | < 0.2 | 0.17 | < 1 | < 1 | < 5 | 0.21 | 3.01 | 86 | 0.03 | 0.005 | < 15 | < 0.1 | 0.5 | < 3 | 32 | < 0.5 | 0.01 | 0.4 | 0.8 | 14 | < 1 | 1 | 1.3 | 5 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.9
99-M-1-07-124-125.20 | 14 | 421088 | 5774977 | 52.1196 | -100.1525 | 125.2 | 124 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 1 | 2 | 0.12 | 0.05 | 0.8 | < 50 | < 1 | < 2 | 7.5 | 19.6 | < 1 | < 2 | < 1 | < 0.2 | 0.15 | < 1 | < 1 | < 5 | 0.03 | 2.96 | 61 | 0.03 | < 0.001 | < 15 | < 0.1 | 0.2 | < 3 | 27 | < 0.5 | < 0.01 | < 0.2 | 0.6 | 11 | < 1 | < 1 | 0.6 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.3
99-M-2-07-10-11 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 11 | 10 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 2 | 0.04 | 0.14 | 1.3 | < 50 | < 1 | < 2 | 1.5 | 33 | < 1 | < 2 | < 1 | < 0.2 | 0.17 | < 1 | < 1 | < 5 | 0.04 | 0.34 | 103 | 0.01 | 0.006 | < 15 | < 0.1 | 0.3 | < 3 | 90 | < 0.5 | < 0.01 | 0.7 | 2.2 | 17 | < 1 | < 1 | 0.7 | 4 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 19.7
99-M-2-07-11-12 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 12 | 11 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 2 | 3 | 0.07 | 0.08 | 3.2 | < 50 | < 1 | < 2 | 1.2 | 30.7 | 1 | < 2 | < 1 | < 0.2 | 0.24 | < 1 | < 1 | < 5 | 0.05 | 1.61 | 119 | 0.02 | 0.005 | < 15 | < 0.1 | 0.4 | < 3 | 70 | < 0.5 | < 0.01 | < 0.2 | 1.1 | 15 | < 1 | < 1 | 0.9 | < 3 | < 5 | 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 21.5
99-M-2-07-12-13 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 13 | 12 | < 2 | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | 1 | 6 | 0.06 | 0.1 | 4.6 | < 50 | < 1 | < 2 | 1.1 | 29.3 | < 1 | < 2 | < 1 | < 0.2 | 0.4 | < 1 | < 1 | < 5 | 0.06 | 1.81 | 216 | 0.01 | 0.006 | < 15 | < 0.1 | 0.8 | < 3 | 60 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 16 | < 1 | 2 | 1.3 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28
99-M-2-07-13-15 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 15 | 13 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 4 | 6 | 0.13 | 0.23 | 11.4 | < 50 | < 1 | < 2 | 1.6 | 26.3 | 2 | < 2 | < 1 | < 0.2 | 0.31 | < 1 | < 1 | < 5 | 0.07 | 2.39 | 173 | 0.02 | 0.008 | < 15 | 0.1 | 0.7 | < 3 | 44 | < 0.5 | < 0.01 | 0.4 | 0.6 | 15 | < 1 | 2 | 1 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 26.9
99-M-2-07-15-16 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 16 | 15 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 6 | 0.06 | 0.03 | 4.3 | < 50 | < 1 | < 2 | 0.9 | 26.2 | < 1 | < 2 | < 1 | < 0.2 | 0.36 | < 1 | < 1 | < 5 | 0.02 | 2.45 | 235 | 0.02 | 0.01 | < 15 | < 0.1 | 0.3 | < 3 | 46 | < 0.5 | < 0.01 | < 0.2 | 1 | 14 | < 1 | 1 | 0.7 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24.3
99-M-2-07-16-17.77 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 17.77 | 16 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 5 | 7 | 0.32 | 0.15 | 20.5 | < 50 | < 1 | < 2 | 1 | 27.4 | 3 | < 2 | < 1 | < 0.2 | 0.38 | < 1 | < 1 | < 5 | 0.05 | 2.25 | 148 | 0.01 | 0.008 | < 15 | 0.2 | 0.6 | < 3 | 42 | < 0.5 | < 0.01 | 0.4 | 1 | 16 | < 1 | 1 | 1.2 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 28.7
99-M-2-07-17.77-20 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 20 | 17.77 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 3 | 4 | 0.05 | 0.04 | 2.3 | < 50 | < 1 | < 2 | 0.8 | 31.9 | < 1 | < 2 | < 1 | < 0.2 | 0.18 | < 1 | < 1 | < 5 | 0.05 | 0.57 | 145 | 0.01 | 0.007 | < 15 | < 0.1 | 0.3 | < 3 | 65 | < 0.5 | < 0.01 | 0.4 | 0.9 | 14 | < 1 | < 1 | 1 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 24.4
99-M-2-07-20-21 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 21 | 20 | < 2 | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.06 | 0.18 | 2.1 | < 50 | < 1 | < 2 | < 0.5 | 33.2 | < 1 | < 2 | < 1 | < 0.2 | 0.17 | < 1 | < 1 | < 5 | 0.03 | 0.39 | 147 | < 0.01 | 0.008 | < 15 | < 0.1 | 0.6 | < 3 | 88 | < 0.5 | < 0.01 | < 0.2 | 1.1 | 19 | < 1 | 2 | 1.3 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | 0.2 | < 0.05 | 21.5
99-M-2-07-21-23 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 23 | 21 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 3 | 4 | 0.07 | 0.07 | 3.5 | 60 | < 1 | < 2 | 1.9 | 27.8 | < 1 | < 2 | < 1 | < 0.2 | 0.32 | < 1 | < 1 | < 5 | 0.04 | 2.27 | 215 | 0.02 | 0.006 | < 15 | < 0.1 | 0.7 | < 3 | 41 | < 0.5 | < 0.01 | < 0.2 | 0.8 | 15 | < 1 | 2 | 1.3 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 19.7
99-M-2-07-23-23.54 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 23.54 | 23 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.05 | 0.07 | 2.3 | < 50 | < 1 | < 2 | 5.8 | 25.6 | < 1 | < 2 | < 1 | < 0.2 | 0.28 | < 1 | < 1 | < 5 | 0.03 | 2.53 | 161 | 0.02 | 0.003 | < 15 | < 0.1 | 0.3 | < 3 | 39 | < 0.5 | < 0.01 | < 0.2 | < 0.5 | 13 | < 1 | 1 | 0.9 | < 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 25.3
99-M-2-07-23.54-25 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 25 | 23.54 | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 4 | 3 | 0.23 | 0.16 | 15.3 | < 50 | < 1 | < 2 | 3.2 | 28.1 | 2 | < 2 | < 1 | < 0.2 | 0.38 | < 1 | < 1 | < 5 | 0.05 | 2.16 | 150 | 0.01 | 0.006 | < 15 | 0.2 | 0.8 | < 3 | 40 | < 0.5 | < 0.01 | 0.5 | < 0.5 | 15 | < 1 | 2 | 1.5 | 3 | < 5 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 24
99-M-2-07-25-26 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 26 | 25 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | < 1 | 5 | 0.02 | 0.28 | 1.1 | < 50 | < 1 | < 2 | 11.3 | 20.9 | < 1 | 7 | < 1 | < 0.2 | 0.23 | < 1 | < 1 | < 5 | 0.19 | 2.88 | 124 | 0.03 | 0.003 | < 15 | < 0.1 | 0.7 | < 3 | 40 | < 0.5 | 0.03 | 0.4 | < 0.5 | 15 | < 1 | 2 | 1.5 | 3 | < 5 | 0.3 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 23.6
99-M-2-07-26-27 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 27 | 26 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | < 3 | 7 | 8 | 0.04 | 1.93 | 2.5 | 130 | < 1 | < 2 | 9.2 | 17.3 | 2 | 34 | 2 | 0.3 | 0.44 | 1 | < 1 | < 5 | 1.45 | 2.8 | 161 | 0.05 | 0.018 | 26 | 0.3 | 3.8 | < 3 | 54 | < 0.5 | 0.1 | 3.9 | 2.3 | 29 | < 1 | 6 | 7.6 | 16 | 8 | 1.3 | < 0.01 | < 0.5 | 0.9 | 0.15 | 24.1
99-M-2-07-27-28 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 28 | 27 | < 2 | < 0.3 | 5 | < 0.3 | < 1 | 4 | 15 | 6 | 0.13 | 2.57 | 5.3 | < 50 | < 1 | < 2 | 5.6 | 19.3 | 6 | 47 | 2 | 0.3 | 0.73 | 2 | < 1 | < 5 | 1.72 | 2.54 | 215 | 0.05 | 0.023 | 50 | 0.3 | 4.8 | < 3 | 59 | < 0.5 | 0.1 | 4.5 | 1.8 | 34 | < 1 | 7 | 10.2 | 21 | 10 | 1.7 | < 0.01 | < 0.5 | 1.6 | 0.2 | 19.5
99-M-2-07-28-29 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 29 | 28 | < 2 | < 0.3 | 3 | < 0.3 | < 1 | 4 | 9 | 10 | 0.23 | 0.66 | 4.1 | < 50 | < 1 | < 2 | 3.5 | 30.5 | 3 | 9 | < 1 | < 0.2 | 0.4 | < 1 | < 1 | < 5 | 0.48 | 1.52 | 155 | 0.02 | 0.012 | < 15 | 0.2 | 1.3 | < 3 | 102 | < 0.5 | 0.04 | 1.2 | 3.4 | 23 | < 1 | 3 | 5.1 | 7 | < 5 | 0.5 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 20.9
99-M-2-07-29-29.70 | 14 | 415171 | 5739363 | 51.7986 | -100.2301 | 29.7 | 29 | < 2 | < 0.3 | 15 | < 0.3 | < 1 | 5 | 26 | 10 | 0.45 | 3.19 | 6.7 | < 50 | 1 | < 2 | 5.6 | 15.2 | 8 | 53 | 2 | 0.3 | 1.4 | 2 | < 1 | < 5 | 2.35 | 2.65 | 243 | 0.05 | 0.032 | 64 | 0.5 | 5.4 | < 3 | 57 | < 0.5 | 0.18 | 4.9 | 5.3 | 49 | < 1 | 9 | 10.6 | 22 | 12 | 1.8 | < 0.01 | < 0.5 | 1.4 | 0.17 | 22.4

## Table 1_3
Table 1_3: QA_QC for whole-rock geochemistry results, Au+48(1H).
Sample_ID | Purpose | Au_ppb | Ag_ppm | Cu_ppm | Cd_ppm | Mo_ppm | Pb_ppm | Ni_ppm | Zn_ppm | S_perc | Al_perc | As_ppm | Ba_ppm | Be_ppm | Bi_ppm | Br_ppm | Ca_perc | Co_ppm | Cr_ppm | Cs_ppm | Eu_ppm | Fe_perc | Hf_ppm | Hg_ppm | Ir_ppb | K_perc | Mg_perc | Mn_ppm | Na_perc | P_perc | Rb_ppm | Sb_ppm | Sc_ppm | Se_ppm | Sr_ppm | Ta_ppm | Ti_perc | Th_ppm | U_ppm | V_ppm | W_ppm | Y_ppm | La_ppm | Ce_ppm | Nd_ppm | Sm_ppm | Sn_perc | Tb_ppm | Yb_ppm | Lu_ppm | Mass_g
GXR-1 | Measured standard value |  | 31.3 | 1150 | 4.4 | 15 | 730 | 46 | 760 | 0.24 | 2.32 |  |  | 1 | 1370 |  | 0.94 | [8 empty] | 0.05 | 0.32 | 929 |  | 0.065 |  |  |  |  | 303 |  |  |  |  | 97 |  | 33
GXR-1 | Certified standard value |  | 31 | 1110 | 3.3 | 18 | 730 | 41 | 760 | 0.257 | 3.52 |  |  | 1.22 | 1380 |  | 0.96 | [8 empty] | 0.05 | 0.217 | 852 |  | 0.065 |  |  |  |  | 275 |  |  |  |  | 80 |  | 32
DNC-1 | Measured standard value |  | < 0.3 | 90 |  | < 1 | 8 | 238 | 52 | 0.05 | 9.09 |  |  | < 1 | < 2 |  | 7.81 | [8 empty] | 0.2 |  | 1070 |  | 0.028 |  |  |  |  | 126 |  | 0.29 |  |  | 151 |  | 16
DNC-1 | Certified standard value |  | 0.027 | 96 |  | 0.7 | 6.3 | 247 | 66 | 0.039 | 9.69 |  |  | 1 | 0.02 |  | 8.06 | [8 empty] | 0.19 |  | 1150 |  | 0.037 |  |  |  |  | 145 |  | 0.287 |  |  | 148 |  | 18
GXR-4 | Measured standard value |  | 3.9 | 6480 | 0.8 | 315 | 51 | 46 | 75 | 1.8 | 6.94 |  |  | 2 | 24 |  | 1.14 | [8 empty] | 4.26 | 1.63 | 166 |  | 0.141 |  |  |  |  | 220 |  |  |  |  | 99 |  | 16
GXR-4 | Certified standard value |  | 4 | 6520 | 0.86 | 310 | 52 | 42 | 73 | 1.77 | 7.2 |  |  | 1.9 | 19 |  | 1.01 | [8 empty] | 4.01 | 1.66 | 155 |  | 0.12 |  |  |  |  | 221 |  |  |  |  | 87 |  | 14
GXR-2 | Measured standard value |  | 16.8 | 72 | 2.5 | < 1 | 603 | 19 | 477 | 0.02 | 13.4 |  |  | 2 | < 2 |  | 0.95 | [8 empty] | 1.31 | 1.05 | 878 |  | 0.06 |  |  |  |  | 145 |  |  |  |  | 48 |  | 15
GXR-2 | Certified standard value |  | 17 | 76 | 4.1 | 2.1 | 690 | 21 | 530 | 0.0313 | 16.5 |  |  | 1.7 | 0.69 |  | 0.93 | [8 empty] | 1.37 | 0.85 | 1010 |  | 0.105 |  |  |  |  | 160 |  |  |  |  | 52 |  | 17
SDC-1 | Measured standard value |  | < 0.3 | 31 | 0.5 | < 1 | 22 | 36 | 96 | 0.06 | 8.35 |  |  | 3 | < 2 |  | 1.12 | [8 empty] | 2.48 | 1.16 | 909 |  | 0.058 |  |  |  |  | 165 |  | 0.24 |  |  | 55 |  | 35
SDC-1 | Certified standard value |  | 0.041 | 30 | 0.08 | 0.25 | 25 | 38 | 103 | 0.065 | 8.34 |  |  | 3 | 2.6 |  | 1 | [8 empty] | 2.72 | 1.02 | 883 |  | 0.069 |  |  |  |  | 183 |  | 0.606 |  |  | 102 |  | 40
SCO-1 | Measured standard value |  | < 0.3 | 29 | 0.4 | < 1 | 32 | 30 | 95 |  | 7.7 |  |  | 2 | < 2 |  | 2.09 | [8 empty] | 2.4 | 1.52 | 409 |  | 0.087 |  |  |  |  | 160 |  | 0.27 |  |  | 117 |  | 22
SCO-1 | Certified standard value |  | 0.134 | 28.7 | 0.14 | 1.37 | 31 | 27 | 103 |  | 7.24 |  |  | 1.84 | 0.37 |  | 1.87 | [8 empty] | 2.3 | 1.64 | 410 |  | 0.09 |  |  |  |  | 174 |  | 0.38 |  |  | 131 |  | 26
GXR-6 | Measured standard value |  | < 0.3 | 64 | 1.3 | < 1 | 96 | 29 | 123 | 0.01 | 13.3 |  |  | 1 | < 2 |  | 0.2 | [8 empty] | 1.91 | 0.84 | 1110 |  | 0.037 |  |  |  |  | 41 |  |  |  |  | 129 |  | 14
GXR-6 | Certified standard value |  | 1.3 | 66 | 1 | 2.4 | 101 | 27 | 118 | 0.016 | 17.7 |  |  | 1.4 | 0.29 |  | 0.18 | [8 empty] | 1.87 | 0.609 | 1010 |  | 0.035 |  |  |  |  | 35 |  |  |  |  | 186 |  | 14
OREAS 13P | Measured standard value |  |  | 2770 |  |  |  | 2110
OREAS 13P | Certified standard value |  |  | 2500 |  |  |  | 2260
DMMAS-104 | Measured standard value | 222 | [9 empty] | 1520 | 910 |  |  |  |  | 46 | 99 |  | 1.5 | 5.58 | [6 empty] | 3.64 |  |  | 6.9 | 14.3 |  |  |  |  | 7.8 | 69.8 |  | 6 |  | 35.8 | 62 | 17 | 4.6 |  |  | 3.2 | 0.54
DMMAS-104 | Certified standard value | 229 | [9 empty] | 1570 | 850 |  |  |  |  | 48.8 | 95.1 |  | 1.2 | 5.61 | [6 empty] | 3.43 |  |  | 6.2 | 14.1 |  |  |  |  | 8.3 | 71.9 |  | 6 |  | 36.6 | 62.9 | 18.8 | 4.3 |  |  | 3 | 0.4
DMMAS-104 | Measured standard value | 223 | [9 empty] | 1540 | 840 |  |  |  |  | 44 | 100 |  | 1.5 | 5.8 | [6 empty] | 3.67 |  |  | 6.5 | 14.6 |  |  |  |  | 8.5 | 70.9 |  | 5 |  | 36.8 | 63 | 21 | 4.7 |  |  | 2.9 | 0.54
DMMAS-104 | Certified standard value | 229 | [9 empty] | 1570 | 850 |  |  |  |  | 48.8 | 95.1 |  | 1.2 | 5.61 | [6 empty] | 3.43 |  |  | 6.2 | 14.1 |  |  |  |  | 8.3 | 71.9 |  | 6 |  | 36.6 | 62.9 | 18.8 | 4.3 |  |  | 3 | 0.4
DMMAS-104 | Measured standard value | 217 | [9 empty] | 1500 | 870 |  |  |  |  | 43 | 107 |  | 1.4 | 5.56 | [6 empty] | 3.53 |  |  | 6.3 | 14.1 |  |  |  |  | 7.5 | 71.3 |  | 5 |  | 35.2 | 59 | 15 | 4.5 |  |  | 3.2 | 0.49
DMMAS-104 | Certified standard value | 229 | [9 empty] | 1570 | 850 |  |  |  |  | 48.8 | 95.1 |  | 1.2 | 5.61 | [6 empty] | 3.43 |  |  | 6.2 | 14.1 |  |  |  |  | 8.3 | 71.9 |  | 6 |  | 36.6 | 62.9 | 18.8 | 4.3 |  |  | 3 | 0.4
DMMAS-104 | Measured standard value | 256 | [9 empty] | 1550 | 880 |  |  |  |  | 49 | 98 |  | 1.4 | 5.61 | [6 empty] | 3.62 |  |  | 6.8 | 14.6 |  |  |  |  | 8.3 | 73.6 |  | 6 |  | 36.6 | 59 | 20 | 4.6 |  |  | 3.6 | 0.52
DMMAS-104 | Certified standard value | 229 | [9 empty] | 1570 | 850 |  |  |  |  | 48.8 | 95.1 |  | 1.2 | 5.61 | [6 empty] | 3.43 |  |  | 6.2 | 14.1 |  |  |  |  | 8.3 | 71.9 |  | 6 |  | 36.6 | 62.9 | 18.8 | 4.3 |  |  | 3 | 0.4
99-M-1-07-87-88 | Lab duplicate |  | < 0.3 | 2 | < 0.3 | < 1 | < 3 | < 1 | 4 | 0.02 | 0.1 |  |  | < 1 | < 2 |  | 19.2 | [8 empty] | 0.06 | 2.97 | 73 |  | 0.003 |  |  |  |  | 56 |  | < 0.01 |  |  | 12 |  | < 1
99-M-1-07-100-101 | Lab duplicate |  | < 0.3 | 2 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.02 | 0.1 |  |  | < 1 | < 2 |  | 19.1 | [8 empty] | 0.06 | 2.96 | 73 |  | 0.003 |  |  |  |  | 56 |  | < 0.01 |  |  | 10 |  | < 1
99-M-1-07-120-121 | Lab duplicate |  | < 0.3 | 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.06 |  |  | < 1 | < 2 |  | 20.4 | [8 empty] | 0.02 | 2.96 | 129 |  | < 0.001 |  |  |  |  | 48 |  | < 0.01 |  |  | 12 |  | < 1
99-M-2-07-17.77-20 | Lab duplicate |  | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | 3 | 0.03 | 0.05 |  |  | < 1 | < 2 |  | 18.3 | [8 empty] | 0.02 | 2.94 | 118 |  | 0.001 |  |  |  |  | 44 |  | 0.05 |  |  | 12 |  | < 1
99-M-1-07-103-104 | MGS duplicate |  | < 0.3 | 1 | < 0.3 | < 1 | < 3 | 2 | 4 | 0.04 | 0.02 |  |  | < 1 | < 2 |  | 29.6 | [8 empty] | 0.04 | 0.49 | 140 |  | 0.007 |  |  |  |  | 61 |  | < 0.01 |  |  | 13 |  | < 1
99-M-1-07-79-80 | MGS duplicate |  | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | < 1 | < 0.01 | 0.01 |  |  | < 1 | < 2 |  | < 0.01 | [8 empty] | < 0.01 | < 0.01 | < 1 |  | < 0.001 |  |  |  |  | < 1 |  | < 0.01 |  |  | < 2 |  | < 1
99-M-1-RD-005 | MGS standard |  | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | < 1 | < 0.01 | 0.02 |  |  | < 1 | < 2 |  | < 0.01 | [8 empty] | < 0.01 | < 0.01 | < 1 |  | < 0.001 |  |  |  |  | < 1 |  | < 0.01 |  |  | < 2 |  | < 1
SARM 41 | Measured standard value |  | < 0.3 | < 1 | < 0.3 | < 1 | < 3 | < 1 | < 1 | < 0.01 | 0.11 |  |  | < 1 | < 2 |  | 0.02 | [8 empty] | < 0.01 | < 0.01 | < 1 |  | < 0.001 |  |  |  |  | 3 |  | < 0.01 |  |  | < 2 |  | < 1
99-M-2-07-15-16 | MGS duplicate | < 2 | < 0.3 | 7 | < 0.3 | < 1 | < 3 | 2 | 7 | 0.06 | 0.15 | 4.2 | < 50 | < 1 | < 2 | 0.7 | 26.6 | < 1 | < 2 | < 1 | < 0.2 | 0.38 | < 1 | < 1 | < 5 | 0.02 | 2.44 | 243 | 0.01 | 0.009 | < 15 | < 0.1 | 0.3 | < 3 | 48 | < 0.5 | < 0.01 | < 0.2 | 1.1 | 16 | < 1 | 1 | 0.7 | < 3 | 6 | 0.2 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 27
99-M-1-RD-005 | MGS standard | 21 | 0.3 | 41 | 1.5 | 13 | 44 | 102 | 24 | > 20.0 | 0.07 | 232 | < 50 | < 1 | 2 | < 0.5 | 0.28 | 31 | 7 | < 1 | < 0.2 | 21.6 | < 1 | < 1 | < 5 | < 0.01 | 0.09 | 20 | 0.02 | 0.01 | < 15 | 5.2 | 0.4 | < 3 | 14 | < 0.5 | < 0.01 | 0.4 | 13.9 | 16 | < 1 | < 1 | 3.6 | < 3 | < 5 | < 0.1 | < 0.01 | < 0.5 | < 0.2 | < 0.05 | 25.8
99-M-2-07-12-13 | MGS duplicate | < 2 | < 0.3 | 2 | < 0.3 | < 1 | < 3 | 3 | 3 | 0.07 | 0.14 | 4.4 | < 50 | < 1 | < 2 | 0.9 | 29.6 | < 1 | 6 | < 1 | < 0.2 | 0.41 | < 1 | < 1 | < 5 | 0.08 | 1.83 | 220 | < 0.01 | 0.007 | < 15 | < 0.1 | 0.7 | < 3 | 61 | < 0.5 | < 0.01 | 0.4 | 0.8 | 16 | < 1 | 2 | 1.4 | < 3 | < 5 | 0.3 | < 0.01 | < 0.5 | 0.3 | < 0.05 | 25

## PlotDat1 (hidden)
Source sheet | Table 1 Geochronological Da (3) | 4.737 | 0.31739 | 4 | 0.28853 | 3.9306 | 0.2857 | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
Plot name | Concordia1 | 5.0983 | 0.33961 | 4 | 0.28853 | 4.0287 | 0.28969 | 5.1547 | 0.32648 | 5.7486 | 0.34899 | 4.8462 | 0.31693 | 5.2857 | 0.34263 | 5.4665 | 0.35223 | 5.6839 | 0.3467 | 5.4115 | 0.34093 | 5.337 | 0.34124 | 5.475 | 0.34154 | 5.378 | 0.33493
Plot Type | 1 | 4.5773 | 0.30488 | 4.0584 | 0.29089 | 4.1287 | 0.2937 | 5.1304 | 0.32808 | 5.7109 | 0.35112 | 4.8305 | 0.3178 | 5.2741 | 0.34319 | 5.4533 | 0.35302 | 5.655 | 0.34843 | 5.3933 | 0.34213 | 5.3235 | 0.34199 | 5.4534 | 0.34297 | 5.36 | 0.33611
1st free col | 29 | 5.0873 | 0.33318 | 4.1174 | 0.29325 | 4.2307 | 0.29772 | 5.091 | 0.32926 | 5.6496 | 0.35282 | 4.8051 | 0.31818 | 5.2554 | 0.34336 | 5.4319 | 0.35343 | 5.608 | 0.34976 | 5.3638 | 0.34291 | 5.3015 | 0.34233 | 5.4183 | 0.34393 | 5.3309 | 0.33694
Sigma Level | 1 | 5.2398 | 0.34303 | 4.1771 | 0.29562 | 4.3348 | 0.30175 | 5.0381 | 0.32999 | 5.5671 | 0.354 | 4.771 | 0.31805 | 5.2302 | 0.34315 | 5.4031 | 0.35343 | 5.5448 | 0.35066 | 5.3242 | 0.34323 | 5.2721 | 0.34225 | 5.3712 | 0.34438 | 5.2917 | 0.33739
Absolute Errs | TRUE | 5.1856 | 0.33823 | 4.2375 | 0.29799 | 4.4409 | 0.3058 | 4.9735 | 0.33024 | 5.4666 | 0.35463 | 4.7294 | 0.31741 | 5.1995 | 0.34255 | 5.368 | 0.35304 | 5.4677 | 0.35108 | 5.2759 | 0.34308 | 5.2362 | 0.34174 | 5.3138 | 0.3443 | 5.244 | 0.33744
Symbol Type | 1 | 5.099 | 0.33107 | 4.2986 | 0.30036 | 4.5491 | 0.30986 | 4.8998 | 0.32999 | 5.3519 | 0.35469 | 4.6819 | 0.31629 | 5.1645 | 0.34159 | 5.328 | 0.35226 | 5.3799 | 0.351 | 5.2207 | 0.34247 | 5.1953 | 0.34084 | 5.2483 | 0.34369 | 5.1895 | 0.33708
Inverse Plot | FALSE | 5.1049 | 0.33129 | 4.3605 | 0.30274 | 4.6595 | 0.31393 | 4.8199 | 0.32926 | 5.2276 | 0.35416 | 4.6305 | 0.31473 | 5.1265 | 0.34031 | 5.2847 | 0.35113 | 5.2846 | 0.35043 | 5.1609 | 0.34142 | 5.1509 | 0.33956 | 5.1773 | 0.34259 | 5.1305 | 0.33634
Color Plot | TRUE | 5.1037 | 0.33063 | 4.423 | 0.30512 | 4.7721 | 0.31801 | 4.7368 | 0.32807 | 5.0982 | 0.35308 | 4.577 | 0.31279 | 5.087 | 0.33875 | 5.2395 | 0.34968 | 5.1854 | 0.3494 | 5.0988 | 0.33998 | 5.1047 | 0.33797 | 5.1034 | 0.34102 | 5.069 | 0.33524
3D plot | FALSE | 5.0692 | 0.32699 | 4.4863 | 0.30751 | 4.8869 | 0.3221 | 4.6538 | 0.32647 | 4.9688 | 0.35148 | 4.5235 | 0.31055 | 5.0475 | 0.33698 | 5.1944 | 0.34798 | 5.0863 | 0.34793 | 5.0366 | 0.33819 | 5.0585 | 0.33612 | 5.0295 | 0.33905 | 5.0076 | 0.33383
Linear | FALSE | IsoLine | IsoLine | 4.5503 | 0.3099 | 5.004 | 0.32621 | 4.5739 | 0.32453 | 4.8445 | 0.34942 | 4.472 | 0.30809 | 5.0096 | 0.33506 | 5.1511 | 0.34609 | 4.991 | 0.34609 | 4.9768 | 0.33613 | 5.0142 | 0.33409 | 4.9585 | 0.33677 | 4.9486 | 0.33215
Data Range | L5:P14 |  |  | 4.6151 | 0.3123 | 5.1234 | 0.33033 | 4.5002 | 0.32231 | 4.7299 | 0.34699 | 4.4247 | 0.3055 | 4.9746 | 0.33308 | 5.1111 | 0.34408 | 4.9031 | 0.34395 | 4.9217 | 0.33387 | 4.9733 | 0.33194 | 4.8931 | 0.33424 | 4.8942 | 0.33027
Filled Symbols | TRUE |  |  | 4.6806 | 0.3147 | 5.2452 | 0.33447 | 4.4357 | 0.31989 | 4.6294 | 0.34427 | 4.3831 | 0.3029 | 4.944 | 0.33109 | 5.0761 | 0.34203 | 4.8262 | 0.34159 | 4.8735 | 0.33151 | 4.9374 | 0.32978 | 4.8357 | 0.33158 | 4.8465 | 0.32826
ConcAge | FALSE |  |  | 4.7469 | 0.3171 | 5.3695 | 0.33861 | 4.3828 | 0.31739 | 4.547 | 0.34137 | 4.3491 | 0.30037 | 4.9189 | 0.32919 | 5.0474 | 0.34002 | 4.763 | 0.3391 | 4.8339 | 0.32913 | 4.9081 | 0.32767 | 4.7887 | 0.32888 | 4.8073 | 0.32621
ConcSwap | FALSE |  |  | 4.814 | 0.31951 | 5.4962 | 0.34277 | 4.3435 | 0.31488 | 4.4857 | 0.3384 | 4.3238 | 0.29801 | 4.9002 | 0.32744 | 5.0261 | 0.33813 | 4.7161 | 0.33658 | 4.8045 | 0.32682 | 4.8862 | 0.3257 | 4.7537 | 0.32624 | 4.7783 | 0.32419
1st Symbol-row | 1 |  |  | 4.8819 | 0.32193 | 5.6254 | 0.34695 | 4.3193 | 0.31247 | 4.448 | 0.33549 | 4.3083 | 0.29592 | 4.8887 | 0.32591 | 5.013 | 0.33642 | 4.6872 | 0.33412 | 4.7864 | 0.32468 | 4.8728 | 0.32394 | 4.7322 | 0.32378 | 4.7604 | 0.32227
|  |  |  | 4.9505 | 0.32434 | 5.7572 | 0.35113 | 4.3111 | 0.31025 | 4.4353 | 0.33273 | 4.303 | 0.29417 | 4.8849 | 0.32466 | 5.0086 | 0.33497 | 4.6774 | 0.33182 | 4.7803 | 0.32279 | 4.8683 | 0.32247 | 4.725 | 0.32158 | 4.7544 | 0.32054
|  |  |  | 5.0199 | 0.32677 | 5.8916 | 0.35533 | 4.3193 | 0.3083 | 4.4481 | 0.33023 | 4.3084 | 0.29283 | 4.8888 | 0.32373 | 5.0131 | 0.33383 | 4.6872 | 0.32976 | 4.7865 | 0.32121 | 4.8729 | 0.32134 | 4.7323 | 0.31972 | 4.7605 | 0.31905
|  |  |  | 5.0902 | 0.32919 | IsoLine | IsoLine | 4.3436 | 0.3067 | 4.4858 | 0.3281 | 4.324 | 0.29196 | 4.9004 | 0.32317 | 5.0263 | 0.33304 | 4.7162 | 0.32803 | 4.8046 | 0.32001 | 4.8864 | 0.32059 | 4.7539 | 0.31829 | 4.7784 | 0.31787
|  |  |  | 5.1613 | 0.33163 |  |  | 4.383 | 0.30552 | 4.5471 | 0.3264 | 4.3494 | 0.29158 | 4.9191 | 0.323 | 5.0477 | 0.33263 | 4.7631 | 0.3267 | 4.8341 | 0.31923 | 4.9083 | 0.32025 | 4.789 | 0.31733 | 4.8075 | 0.31704
|  |  |  | 5.2332 | 0.33406 |  |  | 4.436 | 0.30479 | 4.6296 | 0.32522 | 4.3836 | 0.29171 | 4.9443 | 0.32321 | 5.0765 | 0.33263 | 4.8264 | 0.3258 | 4.8738 | 0.31891 | 4.9378 | 0.32033 | 4.8361 | 0.31688 | 4.8467 | 0.31659
|  |  |  | 5.3059 | 0.3365 |  |  | 4.5005 | 0.30454 | 4.7301 | 0.32459 | 4.4252 | 0.29235 | 4.975 | 0.32381 | 5.1115 | 0.33302 | 4.9034 | 0.32538 | 4.9221 | 0.31906 | 4.9737 | 0.32084 | 4.8935 | 0.31696 | 4.8944 | 0.31654
|  |  |  | 5.3795 | 0.33895 |  |  | 4.5742 | 0.30479 | 4.8447 | 0.32453 | 4.4726 | 0.29347 | 5.01 | 0.32477 | 5.1515 | 0.3338 | 4.9912 | 0.32546 | 4.9772 | 0.31967 | 5.0146 | 0.32174 | 4.959 | 0.31757 | 4.9489 | 0.3169
|  |  |  | 5.454 | 0.3414 |  |  | 4.6541 | 0.30552 | 4.9691 | 0.32506 | 4.5241 | 0.29503 | 5.048 | 0.32605 | 5.1949 | 0.33493 | 5.0866 | 0.32603 | 5.037 | 0.32072 | 5.059 | 0.32302 | 5.03 | 0.31867 | 5.008 | 0.31764
|  |  |  | 5.5293 | 0.34385 |  |  | 4.7372 | 0.30671 | 5.0985 | 0.32614 | 4.5776 | 0.29697 | 5.0875 | 0.32761 | 5.24 | 0.33638 | 5.1857 | 0.32706 | 5.0992 | 0.32216 | 5.1052 | 0.32461 | 5.1039 | 0.32024 | 5.0694 | 0.31874
|  |  |  | 5.6055 | 0.34631 |  |  | 4.8203 | 0.30831 | 5.2278 | 0.32774 | 4.6311 | 0.29921 | 5.127 | 0.32938 | 5.2851 | 0.33808 | 5.2848 | 0.32853 | 5.1614 | 0.32395 | 5.1513 | 0.32646 | 5.1778 | 0.32221 | 5.1308 | 0.32015
|  |  |  | 5.6826 | 0.34877 |  |  | 4.9002 | 0.31025 | 5.3522 | 0.3298 | 4.6825 | 0.30167 | 5.1649 | 0.3313 | 5.3285 | 0.33997 | 5.3801 | 0.33037 | 5.2212 | 0.32601 | 5.1957 | 0.32849 | 5.2488 | 0.32449 | 5.1898 | 0.32183
|  |  |  | 5.7605 | 0.35124 |  |  | 4.9738 | 0.31247 | 5.4668 | 0.33223 | 4.7299 | 0.30426 | 5.1999 | 0.33328 | 5.3684 | 0.34198 | 5.468 | 0.33251 | 5.2762 | 0.32827 | 5.2366 | 0.33064 | 5.3142 | 0.32702 | 5.2443 | 0.32371
|  |  |  | 5.8394 | 0.35371 |  |  | 5.0383 | 0.31489 | 5.5673 | 0.33495 | 4.7714 | 0.30686 | 5.2305 | 0.33527 | 5.4034 | 0.34403 | 5.545 | 0.33487 | 5.3245 | 0.33063 | 5.2724 | 0.3328 | 5.3716 | 0.32968 | 5.2919 | 0.32572
|  |  |  | 5.9193 | 0.35618 |  |  | 5.0912 | 0.31739 | 5.6497 | 0.33785 | 4.8054 | 0.30939 | 5.2556 | 0.33717 | 5.4322 | 0.34604 | 5.6081 | 0.33736 | 5.3641 | 0.33301 | 5.3018 | 0.33491 | 5.4186 | 0.33238 | 5.3311 | 0.32777
|  |  |  | 6 | 0.35867 |  |  | 5.1306 | 0.3199 | 5.711 | 0.34082 | 4.8307 | 0.31175 | 5.2743 | 0.33892 | 5.4535 | 0.34793 | 5.6551 | 0.33988 | 5.3935 | 0.33532 | 5.3236 | 0.33688 | 5.4536 | 0.33502 | 5.3601 | 0.32979
|  |  |  | 6 | 0.35867 |  |  | 5.1548 | 0.32231 | 5.7487 | 0.34373 | 4.8463 | 0.31384 | 5.2858 | 0.34045 | 5.4666 | 0.34964 | 5.684 | 0.34234 | 5.4116 | 0.33746 | 5.3371 | 0.33864 | 5.4751 | 0.33748 | 5.378 | 0.33171
|  |  |  | IsoLine | IsoLine |  |  | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
[8 empty] | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll