## ReadMe
Manitoba Geological Survey
Data Repository Item DRI2020012
Compilation of Sm-Nd isotope results from the Manitoba Geological Survey 2018/2019 season
by Manitoba Geological Survey
Contents: Metadata Table 1_1: Sm-Nd results from the Manitoba Geological Survey 2018/2019 season.
Abbreviations: 1SD, 1 (sigma) standard deviation; 2SE, 2 (sigma) standard error; CHUR, chondritic uniform reservoir; DM, depleted mantle; HDEHP, hydrogen di-ethylhexyl phosphate; HF, hydrofluoric acid; ICP, inductively coupled plasma; MGS, Manitoba Geological Survey; n/a, not applicable.
Manitoba Agriculture and Resource Development does not assume any liability for errors that may occur. The digital data are provided as received from the author and have not been edited or formatted. Any third-party data are supplied on the understanding that they are for the sole use of the licensee, and will not be redistributed in any form, in whole or in part. Any references to proprietary software in the documentation and/or any use of proprietary data formats in this release do not constitute endorsement by Manitoba Agriculture and Resource Development of any manufacturer's product.
When using information from this publication in other publications or presentations, due acknowledgment should be given to the Manitoba Geological Survey. The following reference format is recommended:
Manitoba Agriculture and Resource Development 2020: Compilation of Sm-Nd isotope results from the Manitoba Geological Survey 2018/2019 season; Manitoba Agriculture and Resource Development, Manitoba Geological Survey, Data Repository Item DRI2020012, Microsoft® Excel® file.
NTS grid: 52E, 52L, 62I, 63J, 63K, 63O
References
Creaser, R.A., Erdmer, P., Stevens, R.A. and Grant, S.L. 1997: Tectonic affinity of Nisultin and Anvil assemblage strata from the Teslin tectonic zone, northern Canadian Cordillera: constraints from neodymium isotope and geochemical evidence; Tectonics, v. 16, no. 1, p. 107–121.
Goldstein, S.L., O’Nions, R.K. and Hamilton, P.J. 1984: A Sm-Nd isotopic study of atmospheric dusts and particulates from major river systems; Earth and Planetary Science Letters, v. 70, p. 221–236.
Schmidberger, S.S., Simonetti, A., Heaman, L.M., Creaser, R.A. and Whiteford, S. 2007: Lu–Hf, in-situ Sr and Pb isotope and trace element systematics for mantle eclogites from the Diavik diamond mine: evidence for Paleoproterozoic subduction beneath the Slave craton, Canada; Earth and Planetary Science Letters, v. 254, p. 55–68.
Tanaka, T., Togashi, S., Kamioka, H., Amakawa, H., Kagami, H., Hamamoto, T., Yuhara, M., Orihashi, Y., Yoneda, S., Shimizu, H., Kunimaru, T., Takahashi, K., Yanagi, T., Nakano, T., Fujimaki, H., Shinjo, R., Asahara, Y., Tanimizu, M. and Dragusanu C. 2000: JNdi-1: a neodymium isotopic reference in consistency with LaJolla neodymium; Chemical Geology, v. 168, p. 279–281.
Unterschutz, J.L.E., Creaser, R.A., Erdmer, P., Thompson, R.I. and Daughtry, K.L. 2002: North American margin origin of Quesnel terrane strata in the southern Canadian Cordillera: inferences from geochemical and Nd isotopic characteristics of Triassic metasedimentary rocks; Geological Society of America Bulletin, v. 114, p. 462–475.
Wasserburg, G.J., Jacobsen, S.B., DePaolo, D.J., McCullouch, M.T. and Wen, T. 1981: Precise determination of SmNd ratios, Sm and Nd isotopic abundances in standard solutions; Geochimica et Cosmochimica Acta, v. 45, p. 2311–2323.
Published 2020 by: Manitoba Agriculture and Resource Development Manitoba Geological Survey 360-1395 Ellice Avenue Winnipeg, Manitoba R3G 3P2 Canada
Tel: 1-800-223-5215 (General Enquiry)
Tel: 204-945-6569 (Resource Centre)
Fax: 204-945-8427
E-mail: minesinfo@gov.mb.ca
Website: www.manitoba.ca/minerals

## Metadata
Metadata
Project_Information
Project_Number | MGS2014_001; MGS2013_003; MGS2018_002; MGS2017_002
Project_Name | Compilation of Sm-Nd isotope results from the Manitoba Geological Survey 2018/2019 season
Project_Lead | MGS
Publication_Release_Date | 2020-04-17
Publication_Number | DRI2020012
Organization_Responsible | MGS
Total_Samples_Analyzed | 20
NTS_Sheet_250K | 52E; 52L; 62I; 63J; 63K; 63O
NTS_Sheet_50K | 52E12, 14; 52L4, 5, 11, 14; 62I9, 16; 63J13; 63K7–10; 63O1
Datum_For_Sample_Locations | NAD83
Sample_Methodology
The powders were accurately weighed and totally spiked with a known amount of mixed 150Nd-149Sm tracer solution—this tracer is calibrated directly against the Caltech mixed Sm/Nd normal described by Wasserburg et al. (1981). Dissolution occurs in mixed 24N HF + 16N HNO3 media in sealed PFA Teflon vessels at 160°C for 6 days. The fluoride residue is converted to chloride with HCl, and Nd and Sm are separated by conventional cation and HDEHP-based chromatography. Chemical processing blanks are <200 picograms of either Sm or Nd, and are insignificant relative to the amount of Sm or Nd analyzed for any rock sample. Further details can be found in Creaser et al. (1997) and Unterschutz et al. (2002). The isotopic composition of Nd is determined in static mode by multicollector ICP–mass spectrometry (Schmidberger et al., 2007). All isotope ratios are normalized for variable mass fractionation to a value of 146Nd/144Nd = 0.7219 using the exponential fractionation law. The 143Nd/144Nd ratio of samples is presented here relative to a value of 0.511850 for the LaJolla Nd isotopic standard, monitored by use of an in-house Alfa Nd isotopic standard for each analytical session. Sm isotopic abundances are measured in static mode by multicollector ICP–mass spectrometry, and are normalized for variable mass fractionation to a value of 1.17537 for 152Sm/154Sm also using the exponential law. Using the same isotopic analysis and normalization procedures above, we analyze the Geological Survey of Japan Nd isotope standard “Shin Etsu: JNdi-1” (Tanaka et al., 2000) which has a 143Nd/144Nd value of 0.512107 ±7 relative to a LaJolla 143Nd/144Nd value of 0.511850, when normalized to 146Nd/144Nd = 0.7219. The value of 143Nd/144Nd determined for the JNdi-1 standard conducted during the analysis of the samples reported here was 0.512099 ±8 (2SE); the long-term average value is 0.512098 ±9 (1SD, n=112, past 10 years). Using the mixed 150Nd-149Sm tracer, the measured 147Sm/144Nd ratios for the international rock standard BCR-1 range from 0.1380 to 0.1382, suggesting reproducibility for 147Sm/144Nd of ~±0.1% for real rock powders. The value of 147Sm/144Nd determined for BCR-1 is within the range of reported literature values by isotope dilution methods.
Analysis_Information | Analysis_1
Laboratory | Radiogenic Isotope Facility, Department of Earth and Atmospheric Sciences, University of Alberta
Sample_Medium | Rock
Size_Fraction_If_Applicable | n/a
Analytical_Digestion_If_Applicable | 24N HF + 16N HNO3
Analytical_Method | Multicollector ICP–mass spectrometry
Lab_Analytical_Package_Code | Sm-Nd

## Table 1_1
Table 1_1: Sm-Nd results from the Manitoba Geological Survey 2018/2019 season.
Sample number | Location | UTM Zone | Easting | Northing | Lithology | Sm ppm | Nd ppm | 147Sm/144Nd | 143Nd/144Nd0 | Uncertainty* | eNd0 | 143Nd/144NdT | TDM Ga | ~T(Ma) | CHUR @ T(Ma) | eNdT
111-14-283A01 | SE Manitoba | 15 | 337410 | 5511611 | quartz monzonite | 5.7097 | 42.12 | 0.081967 | 0.51065 | 8.1997e-06 | -38.7431 | 0.50919 | 2.8873 | 2700 | 0.50913 | 1.136
111-14-282A01 | SE Manitoba | 15 | 327579 | 5523519 | granite | 3.5824 | 24.4307 | 0.088664 | 0.51073 | 9.2487e-06 | -37.1961 | 0.50915 | 2.9453 | 2700 | 0.50913 | 0.35023
111-14-254A01 | SE Manitoba | 15 | 320375 | 5545439 | granite | 14.7473 | 92.5748 | 0.096323 | 0.51086 | 9.5128e-06 | -34.6918 | 0.50914 | 2.9716 | 2700 | 0.50913 | 0.19199
111-14-242A01 | SE Manitoba | 15 | 301921 | 5578488 | granite | 8.7686 | 63.178 | 0.083921 | 0.51067 | 9.6528e-06 | -38.2949 | 0.50918 | 2.9038 | 2700 | 0.50913 | 0.90328
111-14-247A01 | SE Manitoba | 15 | 294166 | 5559908 | gneissic tonalite | 6.6695 | 37.5962 | 0.10727 | 0.51066 | 8.4485e-06 | -38.6208 | 0.50875 | 3.5568 | 2700 | 0.50913 | -7.593
111-14-224A01 | SE Manitoba | 15 | 331802.51 | 5606384.04 | gneissic granite | 5.6884 | 32.5949 | 0.10552 | 0.51105 | 8.8606e-06 | -31.0019 | 0.50917 | 2.9597 | 2700 | 0.50913 | 0.68783
111-14-277A01 | SE Manitoba | 14 | 704262 | 5613042 | granodiorite | 1.2107 | 7.8825 | 0.09287 | 0.51084 | 1.353e-05 | -35.0834 | 0.50919 | 2.9124 | 2700 | 0.50913 | 1.0056
111-14-230A01 | SE Manitoba | 15 | 331862 | 5639923 | quartz diorite | 2.0872 | 12.0745 | 0.10452 | 0.51108 | 9.198e-06 | -30.4149 | 0.50922 | 2.8913 | 2700 | 0.50913 | 1.6303
111-14-269A01 | SE Manitoba | 14 | 692867 | 5640256 | tonalite | 7.8001 | 52.8374 | 0.089263 | 0.51077 | 7.7709e-06 | -36.4109 | 0.50918 | 2.9108 | 2700 | 0.50913 | 0.93128
110-17-FP-100-837.5' | Reed Lake | 14 | 409549 | 6048568 | basalt | 4.3882 | 14.0717 | 0.18856 | 0.51279 | 8.3344e-06 | 2.9679 | 0.50943 | N/A | 2700 | 0.50913 | 5.8363
110-15-BD21-303.5 | Reed Lake | 14 | 422126 | 6049100 | andesite | 2.9842 | 10.3418 | 0.17448 | 0.51253 | 9.2699e-06 | -2.1515 | 0.50942 | N/A | 2700 | 0.50913 | 5.6087
110-17-FB-133-240.3 | Reed Lake | 14 | 424045 | 6044651 | monolithic felsic lapilli tuff | 3.0995 | 15.859 | 0.11817 | 0.51185 | 1.4978e-05 | -15.3976 | 0.50974 | 2.0895 | 2700 | 0.50913 | 11.9731
110-15-FB53-342 | Reed Lake | 14 | 405787 | 6045300 | basalt | 2.1234 | 6.4713 | 0.19841 | 0.51282 | 1.101e-05 | 3.5987 | 0.50929 | N/A | 2700 | 0.50913 | 3.0263
108-18-PL06 | Phillips Lake | 14 | 542700 | 6121620 | wacke | 5.2038 | 33.4469 | 0.094074 | 0.51072 | 7.3178e-06 | -37.4792 | 0.50904 | 3.0953 | 2700 | 0.50913 | -1.828
108-18-PL13 | Phillips Lake | 14 | 542700 | 6121620 | wacke | 4.0154 | 25.0878 | 0.096777 | 0.5108 | 9.7778e-06 | -35.9287 | 0.50907 | 3.0643 | 2700 | 0.50913 | -1.2123
108-18-PL20 | Phillips Lake | 14 | 542910 | 6121770 | wacke | 3.5713 | 21.6106 | 0.099923 | 0.51094 | 1.0377e-05 | -33.0642 | 0.50916 | 2.9547 | 2700 | 0.50913 | 0.57109
108-18-PL22 | Phillips Lake | 14 | 542910 | 6121770 | calcsilicate | 3.3758 | 18.4935 | 0.11037 | 0.51115 | 1.1145e-05 | -29.0807 | 0.50918 | 2.9543 | 2700 | 0.50913 | 0.92484
108-18-PL24 | Phillips Lake | 14 | 542910 | 6121770 | wacke | 3.348 | 20.7381 | 0.097616 | 0.51081 | 8.6469e-06 | -35.745 | 0.50907 | 3.0741 | 2700 | 0.50913 | -1.3211
113-18-D007 | E Wekusko | 14 | 458155 | 6079103 | basalt | 4.7697 | 16.5964 | 0.17377 | 0.51255 | 8.7455e-06 | -1.7654 | 0.50945 | N/A | 2700 | 0.50913 | 6.2446
113-18-16-004-7.5m | E Wekusko | 14 | 458563 | 6078983 | basalt | 3.1865 | 8.7556 | 0.22006 | 0.51307 | 9.1534e-06 | 8.4838 | 0.50915 | N/A | 2700 | 0.50913 | 0.3682
TDM not calculated for samples with 147Sm/144Nd > 0.14
All samples relative to LaJolla 143Nd/144Nd = 0.511850
* Uncertainty is 2 standard errors on 143Nd/144Nd
TDM uses the linear model of Goldstein et al. (1984)

## PlotDat1 (hidden)
Source sheet | Table 1 Geochronological Da (3) | 4.737 | 0.31739 | 4 | 0.28853 | 3.9306 | 0.2857 | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
Plot name | Concordia1 | 5.0983 | 0.33961 | 4 | 0.28853 | 4.0287 | 0.28969 | 5.1547 | 0.32648 | 5.7486 | 0.34899 | 4.8462 | 0.31693 | 5.2857 | 0.34263 | 5.4665 | 0.35223 | 5.6839 | 0.3467 | 5.4115 | 0.34093 | 5.337 | 0.34124 | 5.475 | 0.34154 | 5.378 | 0.33493
Plot Type | 1 | 4.5773 | 0.30488 | 4.0584 | 0.29089 | 4.1287 | 0.2937 | 5.1304 | 0.32808 | 5.7109 | 0.35112 | 4.8305 | 0.3178 | 5.2741 | 0.34319 | 5.4533 | 0.35302 | 5.655 | 0.34843 | 5.3933 | 0.34213 | 5.3235 | 0.34199 | 5.4534 | 0.34297 | 5.36 | 0.33611
1st free col | 29 | 5.0873 | 0.33318 | 4.1174 | 0.29325 | 4.2307 | 0.29772 | 5.091 | 0.32926 | 5.6496 | 0.35282 | 4.8051 | 0.31818 | 5.2554 | 0.34336 | 5.4319 | 0.35343 | 5.608 | 0.34976 | 5.3638 | 0.34291 | 5.3015 | 0.34233 | 5.4183 | 0.34393 | 5.3309 | 0.33694
Sigma Level | 1 | 5.2398 | 0.34303 | 4.1771 | 0.29562 | 4.3348 | 0.30175 | 5.0381 | 0.32999 | 5.5671 | 0.354 | 4.771 | 0.31805 | 5.2302 | 0.34315 | 5.4031 | 0.35343 | 5.5448 | 0.35066 | 5.3242 | 0.34323 | 5.2721 | 0.34225 | 5.3712 | 0.34438 | 5.2917 | 0.33739
Absolute Errs | TRUE | 5.1856 | 0.33823 | 4.2375 | 0.29799 | 4.4409 | 0.3058 | 4.9735 | 0.33024 | 5.4666 | 0.35463 | 4.7294 | 0.31741 | 5.1995 | 0.34255 | 5.368 | 0.35304 | 5.4677 | 0.35108 | 5.2759 | 0.34308 | 5.2362 | 0.34174 | 5.3138 | 0.3443 | 5.244 | 0.33744
Symbol Type | 1 | 5.099 | 0.33107 | 4.2986 | 0.30036 | 4.5491 | 0.30986 | 4.8998 | 0.32999 | 5.3519 | 0.35469 | 4.6819 | 0.31629 | 5.1645 | 0.34159 | 5.328 | 0.35226 | 5.3799 | 0.351 | 5.2207 | 0.34247 | 5.1953 | 0.34084 | 5.2483 | 0.34369 | 5.1895 | 0.33708
Inverse Plot | FALSE | 5.1049 | 0.33129 | 4.3605 | 0.30274 | 4.6595 | 0.31393 | 4.8199 | 0.32926 | 5.2276 | 0.35416 | 4.6305 | 0.31473 | 5.1265 | 0.34031 | 5.2847 | 0.35113 | 5.2846 | 0.35043 | 5.1609 | 0.34142 | 5.1509 | 0.33956 | 5.1773 | 0.34259 | 5.1305 | 0.33634
Color Plot | TRUE | 5.1037 | 0.33063 | 4.423 | 0.30512 | 4.7721 | 0.31801 | 4.7368 | 0.32807 | 5.0982 | 0.35308 | 4.577 | 0.31279 | 5.087 | 0.33875 | 5.2395 | 0.34968 | 5.1854 | 0.3494 | 5.0988 | 0.33998 | 5.1047 | 0.33797 | 5.1034 | 0.34102 | 5.069 | 0.33524
3D plot | FALSE | 5.0692 | 0.32699 | 4.4863 | 0.30751 | 4.8869 | 0.3221 | 4.6538 | 0.32647 | 4.9688 | 0.35148 | 4.5235 | 0.31055 | 5.0475 | 0.33698 | 5.1944 | 0.34798 | 5.0863 | 0.34793 | 5.0366 | 0.33819 | 5.0585 | 0.33612 | 5.0295 | 0.33905 | 5.0076 | 0.33383
Linear | FALSE | IsoLine | IsoLine | 4.5503 | 0.3099 | 5.004 | 0.32621 | 4.5739 | 0.32453 | 4.8445 | 0.34942 | 4.472 | 0.30809 | 5.0096 | 0.33506 | 5.1511 | 0.34609 | 4.991 | 0.34609 | 4.9768 | 0.33613 | 5.0142 | 0.33409 | 4.9585 | 0.33677 | 4.9486 | 0.33215
Data Range | L5:P14 |  |  | 4.6151 | 0.3123 | 5.1234 | 0.33033 | 4.5002 | 0.32231 | 4.7299 | 0.34699 | 4.4247 | 0.3055 | 4.9746 | 0.33308 | 5.1111 | 0.34408 | 4.9031 | 0.34395 | 4.9217 | 0.33387 | 4.9733 | 0.33194 | 4.8931 | 0.33424 | 4.8942 | 0.33027
Filled Symbols | TRUE |  |  | 4.6806 | 0.3147 | 5.2452 | 0.33447 | 4.4357 | 0.31989 | 4.6294 | 0.34427 | 4.3831 | 0.3029 | 4.944 | 0.33109 | 5.0761 | 0.34203 | 4.8262 | 0.34159 | 4.8735 | 0.33151 | 4.9374 | 0.32978 | 4.8357 | 0.33158 | 4.8465 | 0.32826
ConcAge | FALSE |  |  | 4.7469 | 0.3171 | 5.3695 | 0.33861 | 4.3828 | 0.31739 | 4.547 | 0.34137 | 4.3491 | 0.30037 | 4.9189 | 0.32919 | 5.0474 | 0.34002 | 4.763 | 0.3391 | 4.8339 | 0.32913 | 4.9081 | 0.32767 | 4.7887 | 0.32888 | 4.8073 | 0.32621
ConcSwap | FALSE |  |  | 4.814 | 0.31951 | 5.4962 | 0.34277 | 4.3435 | 0.31488 | 4.4857 | 0.3384 | 4.3238 | 0.29801 | 4.9002 | 0.32744 | 5.0261 | 0.33813 | 4.7161 | 0.33658 | 4.8045 | 0.32682 | 4.8862 | 0.3257 | 4.7537 | 0.32624 | 4.7783 | 0.32419
1st Symbol-row | 1 |  |  | 4.8819 | 0.32193 | 5.6254 | 0.34695 | 4.3193 | 0.31247 | 4.448 | 0.33549 | 4.3083 | 0.29592 | 4.8887 | 0.32591 | 5.013 | 0.33642 | 4.6872 | 0.33412 | 4.7864 | 0.32468 | 4.8728 | 0.32394 | 4.7322 | 0.32378 | 4.7604 | 0.32227
|  |  |  | 4.9505 | 0.32434 | 5.7572 | 0.35113 | 4.3111 | 0.31025 | 4.4353 | 0.33273 | 4.303 | 0.29417 | 4.8849 | 0.32466 | 5.0086 | 0.33497 | 4.6774 | 0.33182 | 4.7803 | 0.32279 | 4.8683 | 0.32247 | 4.725 | 0.32158 | 4.7544 | 0.32054
|  |  |  | 5.0199 | 0.32677 | 5.8916 | 0.35533 | 4.3193 | 0.3083 | 4.4481 | 0.33023 | 4.3084 | 0.29283 | 4.8888 | 0.32373 | 5.0131 | 0.33383 | 4.6872 | 0.32976 | 4.7865 | 0.32121 | 4.8729 | 0.32134 | 4.7323 | 0.31972 | 4.7605 | 0.31905
|  |  |  | 5.0902 | 0.32919 | IsoLine | IsoLine | 4.3436 | 0.3067 | 4.4858 | 0.3281 | 4.324 | 0.29196 | 4.9004 | 0.32317 | 5.0263 | 0.33304 | 4.7162 | 0.32803 | 4.8046 | 0.32001 | 4.8864 | 0.32059 | 4.7539 | 0.31829 | 4.7784 | 0.31787
|  |  |  | 5.1613 | 0.33163 |  |  | 4.383 | 0.30552 | 4.5471 | 0.3264 | 4.3494 | 0.29158 | 4.9191 | 0.323 | 5.0477 | 0.33263 | 4.7631 | 0.3267 | 4.8341 | 0.31923 | 4.9083 | 0.32025 | 4.789 | 0.31733 | 4.8075 | 0.31704
|  |  |  | 5.2332 | 0.33406 |  |  | 4.436 | 0.30479 | 4.6296 | 0.32522 | 4.3836 | 0.29171 | 4.9443 | 0.32321 | 5.0765 | 0.33263 | 4.8264 | 0.3258 | 4.8738 | 0.31891 | 4.9378 | 0.32033 | 4.8361 | 0.31688 | 4.8467 | 0.31659
|  |  |  | 5.3059 | 0.3365 |  |  | 4.5005 | 0.30454 | 4.7301 | 0.32459 | 4.4252 | 0.29235 | 4.975 | 0.32381 | 5.1115 | 0.33302 | 4.9034 | 0.32538 | 4.9221 | 0.31906 | 4.9737 | 0.32084 | 4.8935 | 0.31696 | 4.8944 | 0.31654
|  |  |  | 5.3795 | 0.33895 |  |  | 4.5742 | 0.30479 | 4.8447 | 0.32453 | 4.4726 | 0.29347 | 5.01 | 0.32477 | 5.1515 | 0.3338 | 4.9912 | 0.32546 | 4.9772 | 0.31967 | 5.0146 | 0.32174 | 4.959 | 0.31757 | 4.9489 | 0.3169
|  |  |  | 5.454 | 0.3414 |  |  | 4.6541 | 0.30552 | 4.9691 | 0.32506 | 4.5241 | 0.29503 | 5.048 | 0.32605 | 5.1949 | 0.33493 | 5.0866 | 0.32603 | 5.037 | 0.32072 | 5.059 | 0.32302 | 5.03 | 0.31867 | 5.008 | 0.31764
|  |  |  | 5.5293 | 0.34385 |  |  | 4.7372 | 0.30671 | 5.0985 | 0.32614 | 4.5776 | 0.29697 | 5.0875 | 0.32761 | 5.24 | 0.33638 | 5.1857 | 0.32706 | 5.0992 | 0.32216 | 5.1052 | 0.32461 | 5.1039 | 0.32024 | 5.0694 | 0.31874
|  |  |  | 5.6055 | 0.34631 |  |  | 4.8203 | 0.30831 | 5.2278 | 0.32774 | 4.6311 | 0.29921 | 5.127 | 0.32938 | 5.2851 | 0.33808 | 5.2848 | 0.32853 | 5.1614 | 0.32395 | 5.1513 | 0.32646 | 5.1778 | 0.32221 | 5.1308 | 0.32015
|  |  |  | 5.6826 | 0.34877 |  |  | 4.9002 | 0.31025 | 5.3522 | 0.3298 | 4.6825 | 0.30167 | 5.1649 | 0.3313 | 5.3285 | 0.33997 | 5.3801 | 0.33037 | 5.2212 | 0.32601 | 5.1957 | 0.32849 | 5.2488 | 0.32449 | 5.1898 | 0.32183
|  |  |  | 5.7605 | 0.35124 |  |  | 4.9738 | 0.31247 | 5.4668 | 0.33223 | 4.7299 | 0.30426 | 5.1999 | 0.33328 | 5.3684 | 0.34198 | 5.468 | 0.33251 | 5.2762 | 0.32827 | 5.2366 | 0.33064 | 5.3142 | 0.32702 | 5.2443 | 0.32371
|  |  |  | 5.8394 | 0.35371 |  |  | 5.0383 | 0.31489 | 5.5673 | 0.33495 | 4.7714 | 0.30686 | 5.2305 | 0.33527 | 5.4034 | 0.34403 | 5.545 | 0.33487 | 5.3245 | 0.33063 | 5.2724 | 0.3328 | 5.3716 | 0.32968 | 5.2919 | 0.32572
|  |  |  | 5.9193 | 0.35618 |  |  | 5.0912 | 0.31739 | 5.6497 | 0.33785 | 4.8054 | 0.30939 | 5.2556 | 0.33717 | 5.4322 | 0.34604 | 5.6081 | 0.33736 | 5.3641 | 0.33301 | 5.3018 | 0.33491 | 5.4186 | 0.33238 | 5.3311 | 0.32777
|  |  |  | 6 | 0.35867 |  |  | 5.1306 | 0.3199 | 5.711 | 0.34082 | 4.8307 | 0.31175 | 5.2743 | 0.33892 | 5.4535 | 0.34793 | 5.6551 | 0.33988 | 5.3935 | 0.33532 | 5.3236 | 0.33688 | 5.4536 | 0.33502 | 5.3601 | 0.32979
|  |  |  | 6 | 0.35867 |  |  | 5.1548 | 0.32231 | 5.7487 | 0.34373 | 4.8463 | 0.31384 | 5.2858 | 0.34045 | 5.4666 | 0.34964 | 5.684 | 0.34234 | 5.4116 | 0.33746 | 5.3371 | 0.33864 | 5.4751 | 0.33748 | 5.378 | 0.33171
|  |  |  | IsoLine | IsoLine |  |  | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
[8 empty] | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll