## ReadMe
Manitoba Geological Survey
Data Repository Item DRI2022007
Whole-rock geochemistry results of pegmatites from the Superior province (parts of NTS 53L10, 11, 14, 15)
by T. Martins
This Data Repository Item supplements:
Martins, T. 2012: Rare metals in Manitoba; Manitoba Innovation, Energy and Mines, Manitoba Geological Survey, Manitoba Mining and Minerals Convention 2012, November 15–17, 2012, Winnipeg, Manitoba, oral presentation.
Contents: Metadata Table 1_1: Detection limits for whole-rock geochemical analysis (4Litho; 5D; 4F). Table 1_2: Whole-rock geochemistry results (4Litho; 5D; 4F). Table 1_3: QA_QC for whole-rock geochemistry (4Litho; 5D; 4F). Table 2_1: Detection limits for whole-rock geochemical analysis [Au+48 (1H)]. Table 2_2: Whole-rock geochemistry results [Au+48 (1H)]. Table 2_3: QA_QC for whole-rock geochemistry [Au+48 (1H)].
Abbreviations: DD, decimal degrees; ICP-MS, inductively coupled plasma–mass spectrometry; ICP-OES, inductively coupled plasma–optical emission spectrometry; ID, identification; INAA, instrumental neutron activation analysis; ISE, ion-specific electrode; LOI, loss-on-ignition; MGS, Manitoba Geological Survey; n/a, not applicable; perc, percent; PGNAA, prompt-gamma neutron activation analysis; QA_QC, quality assurance–quality control.
Manitoba Natural Resources and Northern Development does not assume any liability for errors that may occur. The digital data are provided as received from the author and have not been edited or formatted. Any third-party data are supplied on the understanding that they are for the sole use of the licensee, and will not be redistributed in any form, in whole or in part. Any references to proprietary software in the documentation and/or any use of proprietary data formats in this release do not constitute endorsement by Manitoba Natural Resources and Northern Development of any manufacturer's product.
When using information from this publication in other publications or presentations, due acknowledgment should be given to the Manitoba Geological Survey. The following reference format is recommended:
Martins, T. 2022: Whole-rock geochemistry results of pegmatites from the Superior province (parts of NTS 53L10, 11, 14, 15); Manitoba Natural Resources and Northern Development, Manitoba Geological Survey, Data Repository Item DRI2022007, Microsoft® Excel® file.
NTS grid: parts of 53L10, 11, 14, 15
Published 2022 by: Manitoba Natural Resources and Northern Development Manitoba Geological Survey 360-1395 Ellice Avenue Winnipeg, Manitoba R3G 3P2 Canada
Tel: 1-800-223-5215 (General Enquiry)
Tel: 204-945-6569 (Resource Centre)
Fax: 204-945-8427
E-mail: minesinfo@gov.mb.ca
Website: www.manitoba.ca/minerals

## Metadata
Metadata
Project_Information
Project_Number | MGS2012_007
Project_Name | Granitic pegmatites from the Superior province
Project_Lead | T. Martins
Publication_Release_Date | 2022-07-18
Publication_Number | DRI2022007
Organization_Responsible | MGS
Total_Samples_Analyzed | 9
NTS_Sheet_250K | 53L
NTS_Sheet_50K | 53L10; 53L11; 53L14; 53L15
Datum_For_Sample_Locations | NAD83
Sample_Preparation_Methodology
This dataset is composed of lithogeochemistry results from outcrop samples of granitic pegmatite bodies in the Superior province of Manitoba. Samples were collected by the author using hammers and chisels, and a diamond-blade rock saw when necessary. Care was taken to avoid altered rock. Rock samples, consisting of 5–10 kg of homogeneous material, were collected from bedrock and are considered to be representative of the pegmatite phase, despite their very coarse-grained character. Each sample was individually bagged and sealed with tape to avoid contamination. Where possible, the rock samples were trimmed in the field to remove all weathered surfaces, veins or altered fractures. If needed, samples were also trimmed by rock saw in the Manitoba Geological Survey Midland Sample and Core Library in Winnipeg. The cleaned samples were crushed in a steel-jaw crusher to <5 mm, riffled both manually and mechanically, homogenized by rolling, and quartered. A fraction was taken from each quarter and these were crushed together in a mild-steel shatterbox and placed in a vibratory-ring pulverizer for milling to <200 mesh. The pulverized sample was quartered, riffled and quartered again to obtain a 20 g sample for analysis. Among samples submitted for whole-rock geochemical analysis, one internal blind MGS standard and one blind duplicate were added to the sample suite.
Analysis_Information | Analysis_1 | Analysis_2
Laboratory | Activation Laboratories Ltd. (Ancaster, Ontario) | Activation Laboratories Ltd. (Ancaster, Ontario)
Laboratory_Report_Number | A12-10063 | A12-10063
Sample_Medium | Rock | Rock
Size_Fraction_If_Applicable | n/a | n/a
Analytical_Digestion_If_Applicable | Lithium metaborate/tetraborate fusion using 5% HNO3 (4Litho); 4-acid (hydrochloric, nitric, perchloric and hydrofluoric) “near total” digestions (Li); Lithium Borate Fusion (F) | 4-acid (hydrochloric, nitric, perchloric and hydrofluoric); “near total” digestions
Sample_Aliquot | 0.2 g (4Litho); 1 g (Li, F, B) | 0.5 g
Analytical_Method | ICP-OES, ICP-MS (4Litho); ICP-OES (Li); ISE (F); PGNAA (B) | ICP-OES; INAA
Lab_Analytical_Package_Code | 4Litho; 5D (Li); 4F (F, B) | Au+48 (1H)

## Table 1_1
Table 1_1: Detection limits for whole-rock geochemical analysis (4Litho; 5D; 4F).
Analysis Method | Analyte | Detection Limit | Unit
ICP-OES | SiO2 | 0.01 | perc
ICP-OES | Al2O3 | 0.01 | perc
ICP-OES | Fe2O3(T) | 0.01 | perc
ICP-OES | MnO | 0.001 | perc
ICP-OES | MgO | 0.01 | perc
ICP-OES | CaO | 0.01 | perc
ICP-OES | Na2O | 0.01 | perc
ICP-OES | K2O | 0.01 | perc
ICP-OES | TiO2 | 0.001 | perc
ICP-OES | P2O5 | 0.01 | perc
ICP-OES | Sc | 1 | ppm
ICP-OES | Be | 1 | ppm
ICP-OES | V | 5 | ppm
ICP-OES | Ba | 3 | ppm
ICP-OES | Sr | 2 | ppm
ICP-OES | Y | 2 | ppm
ICP-OES | Zr | 4 | ppm
ICP-MS | Cr | 20 | ppm
ICP-MS | Co | 1 | ppm
ICP-MS | Ni | 20 | ppm
ICP-MS | Cu | 10 | ppm
ICP-MS | Zn | 30 | ppm
ICP-MS | Ga | 1 | ppm
ICP-MS | Ge | 1 | ppm
ICP-MS | As | 5 | ppm
ICP-MS | Rb | 2 | ppm
ICP-MS | Nb | 1 | ppm
ICP-MS | Mo | 2 | ppm
ICP-MS | Ag | 0.5 | ppm
ICP-MS | In | 0.2 | ppm
ICP-MS | Sn | 1 | ppm
ICP-MS | Sb | 0.5 | ppm
ICP-MS | Cs | 0.5 | ppm
ICP-MS | La | 0.1 | ppm
ICP-MS | Ce | 0.1 | ppm
ICP-MS | Pr | 0.05 | ppm
ICP-MS | Nd | 0.1 | ppm
ICP-MS | Sm | 0.1 | ppm
ICP-MS | Eu | 0.05 | ppm
ICP-MS | Gd | 0.1 | ppm
ICP-MS | Tb | 0.1 | ppm
ICP-MS | Dy | 0.1 | ppm
ICP-MS | Ho | 0.1 | ppm
ICP-MS | Er | 0.1 | ppm
ICP-MS | Tm | 0.05 | ppm
ICP-MS | Yb | 0.1 | ppm
ICP-MS | Lu | 0.04 | ppm
ICP-MS | Hf | 0.2 | ppm
ICP-MS | Ta | 0.1 | ppm
ICP-MS | W | 1 | ppm
ICP-MS | Tl | 0.1 | ppm
ICP-MS | Pb | 5 | ppm
ICP-MS | Bi | 0.4 | ppm
ICP-MS | Th | 0.1 | ppm
ICP-MS | U | 0.1 | ppm
ICP-OES | Li | 1 | ppm
ISE | F | 0.01 | perc
PGNAA | B | 2 | ppm

## Table 1_2
Table 1_2: Whole-rock geochemistry results (4Litho; 5D; 4F).
Sample_ID | UTM_ZONE | Easting | Northing | Latitude_DD | Longitude_DD | Rock_Type | Location | Comments | SiO2_perc | Al2O3_perc | Fe2O3(T)_perc | MnO_perc | MgO_perc | CaO_perc | Na2O_perc | K2O_perc | TiO2_perc | P2O5_perc | LOI_perc | Total_perc | Sc_ppm | Be_ppm | V_ppm | Ba_ppm | Sr_ppm | Y_ppm | Zr_ppm | Cr_ppm | Co_ppm | Ni_ppm | Cu_ppm | Zn_ppm | Ga_ppm | Ge_ppm | As_ppm | Rb_ppm | Nb_ppm | Mo_ppm | Ag_ppm | In_ppm | Sn_ppm | Sb_ppm | Cs_ppm | La_ppm | Ce_ppm | Pr_ppm | Nd_ppm | Sm_ppm | Eu_ppm | Gd_ppm | Tb_ppm | Dy_ppm | Ho_ppm | Er_ppm | Tm_ppm | Yb_ppm | Lu_ppm | Hf_ppm | Ta_ppm | W_ppm | Tl_ppm | Pb_ppm | Bi_ppm | Th_ppm | U_ppm | Li_ppm | F_perc | B_ppm | Mass_g
113-12-054A1 | 15 | 358794.89 | 6069760.59 | 54.7552 | -95.1943 | Spodumene-bearing pegmatite | McLaughlin Lake | A12-10063 | 76.26 | 15.31 | 0.79 | 0.14 | 0.05 | 0.25 | 3.34 | 1.63 | 0.003 | 0.15 | 0.59 | 98.5 | <1 | 225 | <5 | 23 | 23 | <2 | 11 | <20 | <1 | <20 | <10 | <30 | 49 | 6 | 12 | 699 | 39 | <2 | <0.5 | <0.2 | 101 | <0.5 | 47.8 | 1 | 1.3 | 0.14 | 0.6 | 0.2 | <0.05 | 0.3 | <0.1 | 0.1 | <0.1 | <0.1 | <0.05 | <0.1 | <0.04 | 1.2 | 37.9 | 1 | 5.3 | 10 | <0.4 | 2.7 | 3 | 7620 | <0.01 | 32 | 1.063
113-12-054B1 | 15 | 358794.89 | 6069760.59 | 54.7552 | -95.1943 | Small pegmatite | McLaughlin Lake | A12-10063 | 73.7 | 16.22 | 0.6 | 0.125 | 0.03 | 0.35 | 7.66 | 1.15 | 0.003 | 0.28 | 0.54 | 100.7 | <1 | 160 | <5 | 10 | 24 | <2 | 22 | <20 | <1 | <20 | <10 | 40 | 51 | 5 | 7 | 465 | 58 | <2 | <0.5 | <0.2 | 64 | <0.5 | 29.3 | 8 | 9.5 | 0.87 | 3.2 | 0.6 | 0.1 | 0.7 | <0.1 | 0.3 | <0.1 | 0.1 | <0.05 | 0.1 | <0.04 | 3 | 55.2 | 1 | 3.4 | 13 | 0.4 | 3.5 | 8.3 | 45 | <0.01 | 207 | 1.06
113-12-054C1 | 15 | 358794.89 | 6069760.59 | 54.7552 | -95.1943 | Metasedimentary unit (country rock) | McLaughlin Lake | A12-10063 | 54.42 | 14.8 | 11.47 | 0.245 | 5.74 | 9.18 | 2.68 | 0.67 | 0.724 | 0.08 | 0.84 | 100.9 | 34 | <1 | 229 | 225 | 168 | 16 | 70 | 110 | 38 | 60 | 40 | 90 | 16 | 2 | <5 | 29 | 1 | <2 | 0.6 | <0.2 | 1 | <0.5 | 8.4 | 3.8 | 8.9 | 1.2 | 5.7 | 1.8 | 0.64 | 2.4 | 0.4 | 2.6 | 0.5 | 1.6 | 0.25 | 1.6 | 0.28 | 1.7 | 0.2 | 1 | 0.6 | 5 | <0.4 | 1.9 | 0.5 | 232 | <0.01 | 8 | 1.016
113-12-056A1 | 15 | 358568.01 | 6069230.96 | 54.7504 | -95.1975 | Simple pegmatite | McLaughlin Lake | A12-10063 | 73.38 | 15.55 | 0.56 | 0.149 | 0.06 | 0.41 | 6.02 | 3.8 | 0.02 | 0.23 | 0.27 | 100.5 | 3 | 55 | 6 | 124 | 44 | 2 | 50 | <20 | <1 | <20 | <10 | 50 | 36 | 5 | <5 | 474 | 69 | <2 | <0.5 | <0.2 | 15 | <0.5 | 17.3 | 26.5 | 37.7 | 3.22 | 10.2 | 1.5 | 0.23 | 1.1 | 0.1 | 0.5 | <0.1 | 0.2 | <0.05 | 0.2 | <0.04 | 2.9 | 41.1 | <1 | 2.8 | 51 | <0.4 | 3.6 | 7.6 | 2 | <0.01 | 89 | 1.06
113-12-58A | 15 | 374592.39 | 6067289.64 | 54.7372 | -94.9479 | Simple pegmatite | Magill Lake | A12-10063 | 75.7 | 13.84 | 0.82 | 0.018 | 0.07 | 0.99 | 4.45 | 3.67 | 0.021 | 0.04 | 0.21 | 99.81 | 2 | 4 | 5 | 110 | 63 | 20 | 24 | <20 | <1 | <20 | <10 | <30 | 21 | 2 | 21 | 189 | 8 | 6 | <0.5 | <0.2 | 2 | <0.5 | 5.5 | 4.9 | 10.9 | 1.34 | 5.3 | 2 | 0.17 | 2.4 | 0.4 | 2.7 | 0.6 | 1.7 | 0.27 | 2 | 0.34 | 1.4 | 2.1 | <1 | 1.7 | 46 | 0.5 | 12.8 | 14.6 | 19 | <0.01 | 27 | 1.037
113-12-060 | 15 | 375116.19 | 6066871.71 | 54.7336 | -94.9396 | Biotite granite | Magill Lake | A12-10063 | 76.17 | 13.4 | 0.75 | 0.009 | 0.05 | 0.38 | 3.35 | 5.97 | 0.02 | 0.02 | 0.23 | 100.3 | 2 | 1 | <5 | 103 | 45 | 21 | 29 | <20 | <1 | <20 | <10 | <30 | 17 | 2 | <5 | 283 | 3 | <2 | <0.5 | <0.2 | 1 | <0.5 | 4.3 | 8.8 | 18.7 | 2.17 | 8 | 2.6 | 0.16 | 3 | 0.5 | 3.1 | 0.6 | 1.7 | 0.25 | 1.6 | 0.24 | 1.1 | 0.4 | <1 | 2.1 | 41 | <0.4 | 12.5 | 4.3 | 38 | <0.01 | 6 | 1.071
113-12-064 | 15 | 373916.12 | 6068276.39 | 54.7459 | -94.9588 | Simple pegmatite | Magill Lake | A12-10063 | 73.77 | 13.72 | 0.84 | 0.062 | 0.06 | 0.52 | 4 | 5.07 | 0.017 | 0.02 | 0.21 | 98.28 | 3 | 2 | <5 | 68 | 41 | 37 | 29 | <20 | <1 | <20 | <10 | <30 | 22 | 3 | <5 | 348 | 5 | <2 | <0.5 | <0.2 | 2 | <0.5 | 7.2 | 5.6 | 12.4 | 1.47 | 5.7 | 2.5 | 0.09 | 3.6 | 0.7 | 4.9 | 1.1 | 3.4 | 0.54 | 3.8 | 0.64 | 1.7 | 0.8 | <1 | 2.9 | 64 | 0.4 | 9.3 | 4.6 | 22 | <0.01 | <2 | 1.043
113-12-069 | 15 | 373217.41 | 6067669.48 | 54.7403 | -94.9694 | Nb-Ta pegmatite | Magill Lake | A12-10063 | 73.68 | 13.21 | 2.58 | 0.314 | 0.13 | 0.27 | 3.56 | 5.08 | 0.037 | 0.02 | 0.07 | 98.96 | 24 | 2 | <5 | 13 | 14 | 97 | 120 | <20 | <1 | <20 | <10 | 120 | 27 | 4 | 8 | 621 | 73 | 4 | <0.5 | <0.2 | 6 | <0.5 | 14.8 | 8.5 | 21.2 | 2.63 | 10.5 | 4.8 | <0.05 | 7 | 1.6 | 12.1 | 2.9 | 10.2 | 1.77 | 13.4 | 2.47 | 7.9 | 4.5 | 1 | 5.5 | 57 | 12.9 | 34.5 | 14.4 | 99 | <0.01 | 13 | 1.022

## Table 1_3
Table 1_3: QA_QC for whole-rock geochemistry (4Litho; 5D; 4F).
Sample_ID | Purpose | Comment | Li_ppm | F_perc | B_ppm | SiO2_perc | Al2O3_perc | Fe2O3(T)_perc | MnO_perc | MgO_perc | CaO_perc | Na2O_perc | K2O_perc | TiO2_perc | P2O5_perc | LOI | Total_perc | Sc_ppm | Be_ppm | V_ppm | Ba_ppm | Sr_ppm | Y_ppm | Zr_ppm | Cr_ppm | Co_ppm | Ni_ppm | Cu_ppm | Zn_ppm | Ga_ppm | Ge_ppm | As_ppm | Rb_ppm | Nb_ppm | Mo_ppm | Ag_ppm | In_ppm | Sn_ppm | Sb_ppm | Cs_ppm | La_ppm | Ce_ppm | Pr_ppm | Nd_ppm | Sm_ppm | Eu_ppm | Gd_ppm | Tb_ppm | Dy_ppm | Ho_ppm | Er_ppm | Tm_ppm | Yb_ppm | Lu_ppm | Hf_ppm | Ta_ppm | W_ppm | Tl_ppm | Pb_ppm | Bi_ppm | Th_ppm | U_ppm
GXR-1 | Measured standard value | A12-10063 | 11
GXR-1 | Certified standard value | A12-10063 | 8.2
GXR-1 | Measured standard value | A12-10063 | 11
GXR-1 | Certified standard value | A12-10063 | 8.2
GXR-1 | Measured standard value | A12-10063 | 8
GXR-1 | Certified standard value | A12-10063 | 8.2
DH-1a | Measured standard value | A12-10063 | [58 empty] | 931
DH-1a | Certified standard value | A12-10063 | [58 empty] | 910
NIST 694 | Measured standard value | A12-10063 |  |  |  | 11.14 | 1.88 | 0.74 | 0.013 | 0.34 | 43.09 | 0.88 | 0.54 | 0.118 | 30.18 |  |  |  |  | 1664
NIST 694 | Certified standard value | A12-10063 |  |  |  | 11.2 | 1.8 | 0.79 | 0.0116 | 0.33 | 43.6 | 0.86 | 0.51 | 0.11 | 30.2 |  |  |  |  | 1740
DNC-1 | Measured standard value | A12-10063 |  |  |  | 45.91 | 18.09 | 9.7 | 0.144 | 9.85 | 11.22 | 1.88 | 0.22 | 0.469 | 0.07 |  |  | 31 |  | 155 | 102 | 140 | 15 | 35 | 270 | 57 | 250 | 100 | 70 | [9 empty] | 0.9 |  | 3.8 |  |  | 5 | [8 empty] | 1.9
DNC-1 | Certified standard value | A12-10063 |  |  |  | 47.15 | 18.34 | 9.97 | 0.15 | 10.13 | 11.49 | 1.89 | 0.234 | 0.48 | 0.07 |  |  | 31 |  | 148 | 118 | 144 | 18 | 38 | 270 | 57 | 247 | 100 | 70 | [9 empty] | 0.96 |  | 3.6 |  |  | 5.2 | [8 empty] | 2
GBW 07113 | Measured standard value | A12-10063 |  | 0.13 |  | 74.48 | 13.14 | 3.22 | 0.142 | 0.14 | 0.59 | 2.52 | 5.45 | 0.285 | 0.04 |  |  | 5 | 4 | 6 | 501 | 42 | 46 | 390
GBW 07113 | Certified standard value | A12-10063 |  | 0.13 |  | 72.8 | 13 | 3.21 | 0.14 | 0.16 | 0.59 | 2.57 | 5.43 | 0.3 | 0.05 |  |  | 5 | 4 | 5 | 506 | 43 | 43 | 403
GXR-4 | Measured standard value | A12-10063 | 11
GXR-4 | Certified standard value | A12-10063 | 11.1
GXR-4 | Measured standard value | A12-10063 | 11
GXR-4 | Certified standard value | A12-10063 | 11.1
GXR-4 | Measured standard value | A12-10063 | 11
GXR-4 | Certified standard value | A12-10063 | 11.1
SDC-1 | Measured standard value | A12-10063 | 34
SDC-1 | Certified standard value | A12-10063 | 34
SDC-1 | Measured standard value | A12-10063 | 34
SDC-1 | Certified standard value | A12-10063 | 34
SDC-1 | Measured standard value | A12-10063 | 35
SDC-1 | Certified standard value | A12-10063 | 34
SCO-1 | Measured standard value | A12-10063 |  | 0.08
SCO-1 | Certified standard value | A12-10063 |  | 0.08
SCO-1 | Measured standard value | A12-10063 | 41
SCO-1 | Certified standard value | A12-10063 | 45
SCO-1 | Measured standard value | A12-10063 | 41
SCO-1 | Certified standard value | A12-10063 | 45
SCO-1 | Measured standard value | A12-10063 | 42
SCO-1 | Certified standard value | A12-10063 | 45
GXR-6 | Measured standard value | A12-10063 | 33
GXR-6 | Certified standard value | A12-10063 | 32
GXR-6 | Measured standard value | A12-10063 | 33
GXR-6 | Certified standard value | A12-10063 | 32
GXR-6 | Measured standard value | A12-10063 | 35
GXR-6 | Certified standard value | A12-10063 | 32
LKSD-3 | Measured standard value | A12-10063 | [23 empty] | 30 | 50 | 30 |  |  |  | 28 | 72 | [6 empty] | 2.3 | 48.6 | 91.6 |  | 43.7 | 7.8 | 1.56 |  |  | 4.7 |  |  |  | 2.7 | 0.39 |  | 0.6 |  |  |  |  | 10.6 | 4.9
LKSD-3 | Certified standard value | A12-10063 | [23 empty] | 30 | 47 | 35 |  |  |  | 27 | 78 | [6 empty] | 2.3 | 52 | 90 |  | 44 | 8 | 1.5 |  |  | 4.9 |  |  |  | 2.7 | 0.4 |  | 0.7 |  |  |  |  | 11.4 | 4.6
SY-2 | Measured standard value | A12-10063 |  |  | 89
SY-2 | Certified standard value | A12-10063 |  |  | 88
SY-3 | Measured standard value | A12-10063 |  |  | 108
SY-3 | Certified standard value | A12-10063 |  |  | 107
DR-N | Measured standard value | A12-10063 |  | 0.05
DR-N | Certified standard value | A12-10063 |  | 0.05
UB-N | Measured standard value | A12-10063 |  | <0.01
UB-N | Certified standard value | A12-10063 |  | 0.0095
W-2a | Measured standard value | A12-10063 |  | 0.02 |  | 52.56 | 15.48 | 10.89 | 0.167 | 6.21 | 11.08 | 2.22 | 0.61 | 1.075 | 0.13 |  |  | 35 | <1 | 278 | 171 | 196 | 19 | 88
W-2a | Certified standard value | A12-10063 |  | 0.0205 |  | 52.4 | 15.4 | 10.7 | 0.163 | 6.37 | 10.9 | 2.14 | 0.626 | 1.06 | 0.13 |  |  | 36 | 1.3 | 262 | 182 | 190 | 24 | 94
SY-4 | Measured standard value | A12-10063 |  |  |  | 49.55 | 20.84 | 6.1 | 0.107 | 0.49 | 8.1 | 6.89 | 1.64 | 0.292 | 0.13 |  |  | 1 | 3 | 11 | 338 | 1202 | 116 | 535
SY-4 | Certified standard value | A12-10063 |  |  |  | 49.9 | 20.69 | 6.21 | 0.108 | 0.54 | 8.05 | 7.1 | 1.66 | 0.287 | 0.131 |  |  | 1.1 | 2.6 | 8 | 340 | 1191 | 119 | 517
CTA-AC-1 | Measured standard value | A12-10063 | [25 empty] | 60 | [12 empty] | >2000 | >3000 |  | 1110 | 160 | 46.7 | 123 | 14.1 |  |  |  |  | 10.6 | 1.06 |  | 2.6 |  |  |  |  | 22.9 | 4.3
CTA-AC-1 | Certified standard value | A12-10063 | [25 empty] | 54 | [12 empty] | 2176 | 3326 |  | 1087 | 162 | 46.7 | 124 | 13.9 |  |  |  |  | 11.4 | 1.08 |  | 2.65 |  |  |  |  | 21.8 | 4.4
BIR-1a | Measured standard value | A12-10063 |  |  |  | 47.88 | 15.81 | 11.44 | 0.171 | 9.52 | 13.51 | 1.83 | 0.02 | 0.963 | 0.02 |  |  | 44 | <1 | 339 | 8 | 109 | 13 | 17 | 370 | 53 | 170 | 130 | 70 | 15 | [13 empty] | 2.7 | 1.1 | 0.58 | 1.8 | [5 empty] | 1.7 | [5 empty] | <5
BIR-1a | Certified standard value | A12-10063 |  |  |  | 47.96 | 15.5 | 11.3 | 0.175 | 9.7 | 13.3 | 1.82 | 0.03 | 0.96 | 0.021 |  |  | 44 | 0.58 | 310 | 6 | 110 | 16 | 18 | 370 | 52 | 170 | 125 | 70 | 16 | [13 empty] | 2.5 | 1.1 | 0.55 | 2 | [5 empty] | 1.7 | [5 empty] | 3
NCS DC86312 | Measured standard value | A12-10063 | [38 empty] | >2000 | 182 |  | 1600 |  |  | 227 | 34.6 | 184 | 35.8 | 96.5 | 14.4 | 87.7 | 12
NCS DC86312 | Certified standard value | A12-10063 | [38 empty] | 2360 | 190 |  | 1600 |  |  | 225 | 34.6 | 183 | 35.7 | 96.2 | 15.1 | 87.79 | 11.96
ZW-C | Measured standard value | A12-10063 | [26 empty] | 1060 | 101 |  | 30 | >1000 | 206 | [20 empty] | 9.6 | 85.7 | 331 |  | 77
ZW-C | Certified standard value | A12-10063 | [26 empty] | 1050 | 99 |  | 31 | 8500 | 198 | [20 empty] | 9.7 | 82 | 320 |  | 80
NCS DC70014 | Measured standard value | A12-10063 | [23 empty] | 25 | 70 | 2590 | 7400 | 25 |  |  |  |  | >100 | 16.7 |  |  | 180 |  | 43.3 | 85.7 | 9.81 | 37.3 | 7.9 | 1.79 | 7.1 | 1.2 | 6.4 | 1.3 | 3.4 | 0.54 | 3.4 | 0.47 |  |  |  |  | >10000 | 80.3
NCS DC70014 | Certified standard value | A12-10063 | [23 empty] | 26.2 | 70.9 | 2600 | 7400 | 25.2 |  |  |  |  | 270 | 16.7 |  |  | 180 |  | 45.3 | 87 | 10.8 | 39.9 | 8 | 1.8 | 7.4 | 1.1 | 6.7 | 1.3 | 3.5 | 0.57 | 3.3 | 0.5 |  |  |  |  | 27200 | 80.3
NCS DC70009 (GBW07241) | Measured standard value | A12-10063 | [22 empty] | 30 |  |  | 980 | 110 | 17 | 11 | 69 | 502 |  |  |  | 1.3 | >1000 | 3 | 43.2 | 24.8 | 62.2 | 7.9 | 32.7 | 12.7 |  | 14.9 | 3.3 | 20.5 | 4.2 | 12.6 | 2.32 | 16 | 2.25 |  |  | 2200
NCS DC70009 (GBW07241) | Certified standard value | A12-10063 | [22 empty] | 30 |  |  | 960 | 100 | 16.5 | 11.2 | 69.9 | 500 |  |  |  | 1.3 | 1701 | 3.1 | 41 | 23.7 | 60.3 | 7.9 | 32.9 | 12.5 |  | 14.8 | 3.3 | 20.7 | 4.5 | 13.4 | 2.2 | 14.9 | 2.4 |  |  | 2200
SGR-1b | Measured standard value | A12-10063 |  | 0.2
SGR-1b | Certified standard value | A12-10063 |  | 0.196
OREAS 100a (Fusion) | Measured standard value | A12-10063 | [23 empty] | 17 |  | 170 | [6 empty] | 22 | [5 empty] | 255 | 461 | 43.8 | 146 | 23.4 | 3.73 |  | 3.6 | 21.8 | 4.7 | 13.8 | 2.3 | 14.6 | [7 empty] | 51.6 | 145
OREAS 100a (Fusion) | Certified standard value | A12-10063 | [23 empty] | 18.1 |  | 169 | [6 empty] | 24.1 | [5 empty] | 260 | 463 | 47.1 | 152 | 23.6 | 3.71 |  | 3.8 | 23.2 | 4.81 | 14.9 | 2.31 | 14.9 | [7 empty] | 51.6 | 135
OREAS 101a (Fusion) | Measured standard value | A12-10063 | [23 empty] | 45 |  | 410 | [12 empty] | 740 | 1340 |  | 365 | 46.9 | 7.98 |  |  |  | 6.1 | 17.6 | 2.8 | 17.3 | [7 empty] | 36.4 | 419
OREAS 101a (Fusion) | Certified standard value | A12-10063 | [23 empty] | 48.8 |  | 434 | [12 empty] | 816 | 1396 |  | 403 | 48.8 | 8.06 |  |  |  | 6.46 | 19.5 | 2.9 | 17.5 | [7 empty] | 36.6 | 422
JR-1 | Measured standard value | A12-10063 | [24 empty] | <20 |  |  | 17 |  |  | 251 | 14 |  | <0.5 | <0.2 | 3 |  | 21 | 20.3 | 48.2 | 5.86 | 23.3 | 5.7 | 0.29 |  | 1 | 6.2 |  |  | 0.7 | 4.6 | 0.7 | 4.3 | 1.9 | 2 | 1.6 | 18 | 0.6 | 27.8
JR-1 | Certified standard value | A12-10063 | [24 empty] | 1.67 |  |  | 16.1 |  |  | 257 | 15.2 |  | 0.031 | 0.028 | 2.86 |  | 20.8 | 19.7 | 47.2 | 5.58 | 23.3 | 6.03 | 0.3 |  | 1.01 | 5.69 |  |  | 0.67 | 4.55 | 0.71 | 4.51 | 1.86 | 1.59 | 1.56 | 19.3 | 0.56 | 26.7
DNC-1a | Measured standard value | A12-10063
DNC-1a | Certified standard value | A12-10063
DNC-1a | Measured standard value | A12-10063 | 5
DNC-1a | Certified standard value | A12-10063 | 5.2
DNC-1a | Measured standard value | A12-10063
DNC-1a | Certified standard value | A12-10063
DNC-1a | Measured standard value | A12-10063 | 5
DNC-1a | Certified standard value | A12-10063 | 5.2
DNC-1a | Measured standard value | A12-10063 | 4
DNC-1a | Certified standard value | A12-10063 | 5.2
Method Blank | Method Blank | A12-10063 |  |  |  | 65.89 | 16.64 | 3.47 | 0.04 | 1.22 | 4.31 | 5.65 | 1.3 | 0.647 | 0.25 | 1.06 | 100.5 | 4 | 1 | 55 | 1367 | 1298 | 5 | 141 | <20 | 8 | <20 | 20 | 70 | 22 | 1 | <5 | 25 | 1 | <2 | <0.5 | <0.2 | <1 | <0.5 | 1.8 | 59.6 | 112 | 12 | 42.4 | 5.6 | 1.45 | 2.7 | 0.3 | 1 | 0.2 | 0.4 | 0.05 | 0.3 | 0.05 | 3.1 | 0.2 | <1 | 0.3 | 16 | <0.4 | 8.8 | 1.8
Method Blank | Method Blank | A12-10063 |  |  |  | 65.34 | 16.55 | 3.44 | 0.039 | 1.2 | 4.26 | 5.62 | 1.31 | 0.645 | 0.25 | 1.06 | 99.71 | 4 | 1 | 55 | 1359 | 1308 | 5 | 140 | <20 | 8 | <20 | 20 | 80 | 22 | 1 | <5 | 26 | 1 | <2 | <0.5 | <0.2 | <1 | <0.5 | 1.9 | 58.5 | 110 | 11.7 | 42.2 | 5.4 | 1.41 | 2.8 | 0.3 | 1 | 0.2 | 0.4 | 0.05 | 0.3 | 0.05 | 3.1 | 0.2 | <1 | 0.2 | 19 | <0.4 | 8.6 | 1.8
Method Blank | Method Blank | A12-10063 | [22 empty] | <20 | <1 | <20 | <10 | <30 | <1 | <1 | <5 | <2 | <1 | <2 | <0.5 | <0.2 | <1 | <0.5 | <0.5 | <0.1 | <0.1 | <0.05 | <0.1 | <0.1 | <0.05 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.05 | <0.1 | <0.04 | <0.2 | <0.1 | <1 | <0.1 | <5 | <0.4 | <0.1 | <0.1
Method Blank | Method Blank | A12-10063 |  | <0.01
Method Blank | Method Blank | A12-10063 |  | <0.01
Method Blank | Method Blank | A12-10063 | <1
Method Blank | Method Blank | A12-10063 | <1
Method Blank | Method Blank | A12-10063 | <1
Method Blank | Method Blank | A12-10063 | <1
Method Blank | Method Blank | A12-10063 | <1
Method Blank | Method Blank | A12-10063 | <1
113-12-059 | MGS granite internal standard | A12-10063 |  |  |  | 69.71 | 15.32 | 2.17 | 0.03 | 0.61 | 1.83 | 4.44 | 3.3 | 0.221 | 0.08 | 0.82 | 98.53 | 3 | 2 | 24 | 1074 | 709 | 8 | 113 | 110 | 3 | <20 | <10 | 40 | 20 | 1 | <5 | 47 | 4 | <2 | 0.5 | <0.2 | <1 | <0.5 | 0.8 | 22.3 | 44.8 | 5.05 | 19.5 | 3.2 | 0.82 | 2.4 | 0.3 | 1.6 | 0.3 | 0.8 | 0.11 | 0.8 | 0.13 | 2.8 | 0.6 | <1 | 0.5 | 11 | <0.4 | 4.7 | 3.4
113-12-070 (duplicate of 113-12-58A) | MGS blind duplicate | A12-10063 | 20 | <0.01 | 26 | 76.22 | 13.3 | 0.8 | 0.018 | 0.07 | 1 | 4.34 | 3.55 | 0.02 | 0.03 | 0.14 | 99.49 | 2 | 4 | 5 | 105 | 62 | 20 | 22 | <20 | <1 | <20 | <10 | <30 | 22 | 2 | 16 | 197 | 8 | <2 | <0.5 | <0.2 | 2 | <0.5 | 5.6 | 7.4 | 16.9 | 2.12 | 8.4 | 3 | 0.17 | 2.9 | 0.5 | 3.3 | 0.7 | 2 | 0.3 | 2 | 0.32 | 1.4 | 2.2 | <1 | 1.9 | 45 | 0.4 | 14.3 | 14.7

## Table 2_1
Table 2_1: Detection limits for whole-rock geochemical analysis [Au+48 (1H)].
Analysis Method | Analyte | Detection Limit | Unit
INAA | Au | 2 | ppb
INAA / ICP-OES | Ag | 0.3 | ppm
ICP-OES | Cu | 1 | ppm
ICP-OES | Cd | 0.3 | ppm
ICP-OES | Mo | 1 | ppm
ICP-OES | Pb | 3 | ppm
INAA / ICP-OES | Ni | 1 | ppm
INAA / ICP-OES | Zn | 1 | ppm
ICP-OES | S | 0.01 | perc
ICP-OES | Al | 0.01 | perc
INAA | As | 0.5 | ppm
INAA | Ba | 50 | ppm
ICP-OES | Be | 1 | ppm
ICP-OES | Bi | 2 | ppm
INAA | Br | 0.5 | ppm
ICP-OES | Ca | 0.01 | perc
INAA | Co | 1 | ppm
INAA | Cr | 2 | ppm
INAA | Cs | 1 | ppm
INAA | Eu | 0.2 | ppm
INAA | Fe | 0.01 | perc
INAA | Hf | 1 | ppm
INAA | Hg | 1 | ppm
INAA | Ir | 5 | ppb
ICP-OES | K | 0.01 | perc
ICP-OES | Li | 1 | ppm
ICP-OES | Mg | 0.01 | perc
ICP-OES | Mn | 1 | ppm
INAA | Na | 0.01 | perc
ICP-OES | P | 0.001 | perc
INAA | Rb | 15 | ppm
INAA | Sb | 0.1 | ppm
INAA | Sc | 0.1 | ppm
INAA | Se | 3 | ppm
ICP-OES | Sr | 1 | ppm
INAA | Ta | 0.5 | ppm
ICP-OES | Ti | 0.01 | perc
INAA | Th | 0.2 | ppm
INAA | U | 0.5 | ppm
ICP-OES | V | 2 | ppm
INAA | W | 1 | ppm
ICP-OES | Y | 1 | ppm
INAA | La | 0.5 | ppm
INAA | Ce | 3 | ppm
INAA | Nd | 5 | ppm
INAA | Sm | 0.1 | ppm
INAA | Sn | 0.01 | perc
INAA | Tb | 0.5 | ppm
INAA | Yb | 0.2 | ppm
INAA | Lu | 0.05 | ppm

## Table 2_2
Table 2_2: Whole-rock geochemistry results [Au+48 (1H)].
Sample_ID | UTM_ZONE | Easting | Northing | Latitude_DD | Longitude_DD | Rock_Type | Location | Comment | Au_ppb | Ag_ppm | Cu_ppm | Cd_ppm | Mo_ppm | Pb_ppm | Ni_ppm | Zn_ppm | S_perc | Al_perc | As_ppm | Ba_ppm | Be_ppm | Bi_ppm | Br_ppm | Ca_perc | Co_ppm | Cr_ppm | Cs_ppm | Eu_ppm | Fe_perc | Hf_ppm | Hg_ppm | Ir_ppb | K_perc | Li_ppm | Mg_perc | Mn_ppm | Na_perc | P_perc | Rb_ppm | Sb_ppm | Sc_ppm | Se_ppm | Sr_ppm | Ta_ppm | Ti_perc | Th_ppm | U_ppm | V_ppm | W_ppm | Y_ppm | La_ppm | Ce_ppm | Nd_ppm | Sm_ppm | Sn_perc | Tb_ppm | Yb_ppm | Lu_ppm | Mass_g
113-12-057A1 | 15 | 358889.62 | 6069738.51 | 54.755 | -95.1928 | Metasedimentary rock | McLaughlin Lake | A12-10063 | <2 | 0.7 | 257 | 0.3 | <1 | 5 | 143 | 96 | 3 | 9.56 | 4.3 | 500 | <1 | 2 | 4.9 | 3.42 | 61 | 238 | 65 | 1 | 9.15 | 2 | <1 | <5 | 1.86 | 249 | 2.3 | 1740 | 1.05 | 0.02 | 136 | 1.3 | 31.9 | <3 | 111 | <0.5 | 0.46 | 1.6 | <0.5 | 249 | <1 | 9 | 4 | 10 | 6 | 1.1 | <0.01 | <0.5 | 1.7 | 0.26 | 30

## Table 2_3
Table 2_3: QA_QC for whole-rock geochemistry [Au+48 (1H)].
Sample_ID | Purpose | Comment | Au_ppb | Ag_ppm | Ag_ppm | Cu_ppm | Cd_ppm | Mo_ppm | Pb_ppm | Ni_ppm | Ni_ppm | Zn_ppm | Zn_ppm | S_perc | Al_perc | As_ppm | Ba_ppm | Be_ppm | Bi_ppm | Br_ppm | Ca_perc | Co_ppm | Cr_ppm | Cs_ppm | Eu_ppm | Fe_perc | Hf_ppm | Hg_ppm | Ir_ppb | K_perc | Li_ppm | Mg_perc | Mn_ppm | Na_perc | P_perc | Rb_ppm | Sb_ppm | Sc_ppm | Se_ppm | Sr_ppm | Ta_ppm | Ti_perc | Th_ppm | U_ppm | V_ppm | W_ppm | Y_ppm | La_ppm | Ce_ppm | Nd_ppm | Sm_ppm | Sn_perc | Tb_ppm | Yb_ppm | Lu_ppm | Mass_g
GXR-1 | Measured standard value | A12-10063 |  | 31.1 |  | 1080 | 3.3 | 14 | 735 | 46 |  | 740 |  | 0.23 | 4.28 |  |  | 1 | 1390 |  | 0.9 | [8 empty] | 0.04 |  | 0.29 | 941 |  | 0.055 |  |  |  |  | 280 |  |  |  |  | 85 |  | 24
GXR-1 | Certified standard value | A12-10063 |  | 31 |  | 1110 | 3.3 | 18 | 730 | 41 |  | 760 |  | 0.257 | 3.52 |  |  | 1.22 | 1380 |  | 0.96 | [8 empty] | 0.05 |  | 0.217 | 852 |  | 0.065 |  |  |  |  | 275 |  |  |  |  | 80 |  | 32
GXR-1 | Measured standard value | A12-10063 |  | 31.1 |  | 1080 | 3.3 | 14 | 735 | 46 |  | 740 |  | 0.23 | 4.28 |  |  | 1 | 1390 |  | 0.9 | [8 empty] | 0.04 | 11 | 0.29 | 941 |  | 0.055 |  |  |  |  | 280 |  |  |  |  | 85 |  | 24
GXR-1 | Certified standard value | A12-10063 |  | 31 |  | 1110 | 3.3 | 18 | 730 | 41 |  | 760 |  | 0.257 | 3.52 |  |  | 1.22 | 1380 |  | 0.96 | [8 empty] | 0.05 | 8.2 | 0.217 | 852 |  | 0.065 |  |  |  |  | 275 |  |  |  |  | 80 |  | 32
GXR-1 | Measured standard value | A12-10063 |  | 31.7 |  | 1180 | 3.3 | 14 | 726 | 49 |  | 710 |  | 0.26 | 2.18 |  |  | 1 | 1390 |  | 0.88 | [8 empty] | 0.04 |  | 0.21 | 863 |  | 0.059 |  |  |  |  | 283 |  |  |  |  | 91 |  | 27
GXR-1 | Certified standard value | A12-10063 |  | 31 |  | 1110 | 3.3 | 18 | 730 | 41 |  | 760 |  | 0.257 | 3.52 |  |  | 1.22 | 1380 |  | 0.96 | [8 empty] | 0.05 |  | 0.217 | 852 |  | 0.065 |  |  |  |  | 275 |  |  |  |  | 80 |  | 32
GXR-1 | Measured standard value | A12-10063 | [28 empty] | 11
GXR-1 | Certified standard value | A12-10063 | [28 empty] | 8.2
GXR-1 | Measured standard value | A12-10063 | [28 empty] | 8
GXR-1 | Certified standard value | A12-10063 | [28 empty] | 8.2
GXR-4 | Measured standard value | A12-10063 |  | 3.6 |  | 6550 | 0.6 | 314 | 48 | 45 |  | 79 |  | 1.77 | 7.07 |  |  | 2 | 6 |  | 1.09 | [8 empty] | 2.26 |  | 1.78 | 167 |  | 0.136 |  |  |  |  | 222 |  |  |  |  | 96 |  | 13
GXR-4 | Certified standard value | A12-10063 |  | 4 |  | 6520 | 0.86 | 310 | 52 | 42 |  | 73 |  | 1.77 | 7.2 |  |  | 1.9 | 19 |  | 1.01 | [8 empty] | 4.01 |  | 1.66 | 155 |  | 0.12 |  |  |  |  | 221 |  |  |  |  | 87 |  | 14
GXR-4 | Measured standard value | A12-10063 |  | 3.6 |  | 6550 | 0.6 | 314 | 48 | 45 |  | 79 |  | 1.77 | 7.07 |  |  | 2 | 6 |  | 1.09 | [8 empty] | 2.26 | 11 | 1.78 | 167 |  | 0.136 |  |  |  |  | 222 |  |  |  |  | 96 |  | 13
GXR-4 | Certified standard value | A12-10063 |  | 4 |  | 6520 | 0.86 | 310 | 52 | 42 |  | 73 |  | 1.77 | 7.2 |  |  | 1.9 | 19 |  | 1.01 | [8 empty] | 4.01 | 11.1 | 1.66 | 155 |  | 0.12 |  |  |  |  | 221 |  |  |  |  | 87 |  | 14
GXR-4 | Measured standard value | A12-10063 |  | 3.3 |  | 6450 | 0.5 | 314 | 39 | 45 |  | 72 |  | 1.75 | 6.58 |  |  | 2 | 7 |  | 1.03 | [8 empty] | 2.65 |  | 1.71 | 154 |  | 0.131 |  |  |  |  | 209 |  |  |  |  | 96 |  | 13
GXR-4 | Certified standard value | A12-10063 |  | 4 |  | 6520 | 0.86 | 310 | 52 | 42 |  | 73 |  | 1.77 | 7.2 |  |  | 1.9 | 19 |  | 1.01 | [8 empty] | 4.01 |  | 1.66 | 155 |  | 0.12 |  |  |  |  | 221 |  |  |  |  | 87 |  | 14
GXR-4 | Measured standard value | A12-10063 | [28 empty] | 11
GXR-4 | Certified standard value | A12-10063 | [28 empty] | 11.1
GXR-4 | Measured standard value | A12-10063 | [28 empty] | 11
GXR-4 | Certified standard value | A12-10063 | [28 empty] | 11.1
SDC-1 | Measured standard value | A12-10063 |  | <0.3 |  | 27 | <0.3 | <1 | 21 | 38 |  | 106 |  | 0.06 | 8.47 |  |  | 3 | <2 |  | 1.06 | [8 empty] | 2.09 |  | 0.99 | 936 |  | 0.051 |  |  |  |  | 170 |  | 0.11 |  |  | 38 |  | 29
SDC-1 | Certified standard value | A12-10063 |  | 0.041 |  | 30 | 0.08 | 0.25 | 25 | 38 |  | 103 |  | 0.065 | 8.34 |  |  | 3 | 2.6 |  | 1 | [8 empty] | 2.72 |  | 1.02 | 880 |  | 0.069 |  |  |  |  | 180 |  | 0.606 |  |  | 102 |  | 40
SDC-1 | Measured standard value | A12-10063 |  | <0.3 |  | 27 | <0.3 | <1 | 21 | 38 |  | 106 |  | 0.06 | 8.47 |  |  | 3 | <2 |  | 1.06 | [8 empty] | 2.09 | 34 | 0.99 | 936 |  | 0.051 |  |  |  |  | 170 |  | 0.11 |  |  | 38 |  | 29
SDC-1 | Certified standard value | A12-10063 |  | 0.041 |  | 30 | 0.08 | 0.25 | 25 | 38 |  | 103 |  | 0.065 | 8.34 |  |  | 3 | 2.6 |  | 1 | [8 empty] | 2.72 | 34 | 1.02 | 880 |  | 0.069 |  |  |  |  | 180 |  | 0.606 |  |  | 102 |  | 40
SDC-1 | Measured standard value | A12-10063 |  | <0.3 |  | 31 | <0.3 | 1 | 16 | 41 |  | 100 |  | 0.07 | 8.52 |  |  | 3 | <2 |  | 1.11 | [8 empty] | 2.92 |  | 1.04 | 849 |  | 0.055 |  |  |  |  | 175 |  | 0.12 |  |  | 39 |  | 33
SDC-1 | Certified standard value | A12-10063 |  | 0.041 |  | 30 | 0.08 | 0.25 | 25 | 38 |  | 103 |  | 0.065 | 8.34 |  |  | 3 | 2.6 |  | 1 | [8 empty] | 2.72 |  | 1.02 | 880 |  | 0.069 |  |  |  |  | 180 |  | 0.606 |  |  | 102 |  | 40
SDC-1 | Measured standard value | A12-10063 | [28 empty] | 34
SDC-1 | Certified standard value | A12-10063 | [28 empty] | 34
SDC-1 | Measured standard value | A12-10063 | [28 empty] | 35
SDC-1 | Certified standard value | A12-10063 | [28 empty] | 34
SCO-1 | Measured standard value | A12-10063 |  | <0.3 |  | 26 | 0.3 | <1 | 23 | 29 |  | 100 |  | 0.07 | 7.08 |  |  | 2 | <2 |  | 1.84 | [8 empty] | 1.53 |  | 1.52 | 392 |  | 0.076 |  |  |  |  | 153 |  | 0.28 |  |  | 123 |  | 17
SCO-1 | Certified standard value | A12-10063 |  | 0.134 |  | 29 | 0.14 | 1.4 | 31 | 27 |  | 100 |  | 0.063 | 7.24 |  |  | 1.8 | 0.37 |  | 1.87 | [8 empty] | 2.3 |  | 1.64 | 410 |  | 0.09 |  |  |  |  | 170 |  | 0.38 |  |  | 130 |  | 26
SCO-1 | Measured standard value | A12-10063 |  | <0.3 |  | 26 | 0.3 | <1 | 23 | 29 |  | 100 |  | 0.07 | 7.08 |  |  | 2 | <2 |  | 1.84 | [8 empty] | 1.53 | 41 | 1.52 | 392 |  | 0.076 |  |  |  |  | 153 |  | 0.28 |  |  | 123 |  | 17
SCO-1 | Certified standard value | A12-10063 |  | 0.134 |  | 29 | 0.14 | 1.4 | 31 | 27 |  | 100 |  | 0.063 | 7.24 |  |  | 1.8 | 0.37 |  | 1.87 | [8 empty] | 2.3 | 45 | 1.64 | 410 |  | 0.09 |  |  |  |  | 170 |  | 0.38 |  |  | 130 |  | 26
SCO-1 | Measured standard value | A12-10063 |  | <0.3 |  | 28 | 0.3 | <1 | 25 | 31 |  | 91 |  | 0.08 | 7.12 |  |  | 2 | <2 |  | 1.91 | [8 empty] | 3.44 |  | 1.59 | 376 |  | 0.08 |  |  |  |  | 157 |  | 0.3 |  |  | 127 |  | 18
SCO-1 | Certified standard value | A12-10063 |  | 0.134 |  | 29 | 0.14 | 1.4 | 31 | 27 |  | 100 |  | 0.063 | 7.24 |  |  | 1.8 | 0.37 |  | 1.87 | [8 empty] | 2.3 |  | 1.64 | 410 |  | 0.09 |  |  |  |  | 170 |  | 0.38 |  |  | 130 |  | 26
SCO-1 | Measured standard value | A12-10063 | [28 empty] | 41
SCO-1 | Certified standard value | A12-10063 | [28 empty] | 45
SCO-1 | Measured standard value | A12-10063 | [28 empty] | 42
SCO-1 | Certified standard value | A12-10063 | [28 empty] | 45
GXR-6 | Measured standard value | A12-10063 |  | 0.5 |  | 61 | <0.3 | 1 | 90 | 28 |  | 130 |  | 0.02 | 13.4 |  |  | 1 | 2 |  | 0.19 | [8 empty] | 1.43 |  | 0.6 | 1080 |  | 0.034 |  |  |  |  | 40 |  |  |  |  | 180 |  | 12
GXR-6 | Certified standard value | A12-10063 |  | 1.3 |  | 66 | 1 | 2.4 | 101 | 27 |  | 118 |  | 0.016 | 17.7 |  |  | 1.4 | 0.29 |  | 0.18 | [8 empty] | 1.87 |  | 0.609 | 1010 |  | 0.035 |  |  |  |  | 35 |  |  |  |  | 186 |  | 14
GXR-6 | Measured standard value | A12-10063 |  | 0.5 |  | 61 | <0.3 | 1 | 90 | 28 |  | 130 |  | 0.02 | 13.4 |  |  | 1 | 2 |  | 0.19 | [8 empty] | 1.43 | 33 | 0.6 | 1080 |  | 0.034 |  |  |  |  | 40 |  |  |  |  | 180 |  | 12
GXR-6 | Certified standard value | A12-10063 |  | 1.3 |  | 66 | 1 | 2.4 | 101 | 27 |  | 118 |  | 0.016 | 17.7 |  |  | 1.4 | 0.29 |  | 0.18 | [8 empty] | 1.87 | 32 | 0.609 | 1010 |  | 0.035 |  |  |  |  | 35 |  |  |  |  | 186 |  | 14
GXR-6 | Measured standard value | A12-10063 |  | 0.4 |  | 68 | 0.3 | <1 | 89 | 29 |  | 124 |  | 0.02 | 13.9 |  |  | 1 | <2 |  | 0.2 | [8 empty] | 3.06 |  | 0.63 | 998 |  | 0.036 |  |  |  |  | 42 |  |  |  |  | 167 |  | 13
GXR-6 | Certified standard value | A12-10063 |  | 1.3 |  | 66 | 1 | 2.4 | 101 | 27 |  | 118 |  | 0.016 | 17.7 |  |  | 1.4 | 0.29 |  | 0.18 | [8 empty] | 1.87 |  | 0.609 | 1010 |  | 0.035 |  |  |  |  | 35 |  |  |  |  | 186 |  | 14
GXR-6 | Measured standard value | A12-10063 | [28 empty] | 33
GXR-6 | Certified standard value | A12-10063 | [28 empty] | 32
GXR-6 | Measured standard value | A12-10063 | [28 empty] | 35
GXR-6 | Certified standard value | A12-10063 | [28 empty] | 32
DNC-1a | Measured standard value | A12-10063 |  |  |  | 93 |  |  |  | 258 |  | 60 | [27 empty] | 127 |  |  |  |  | 147 |  | 14
DNC-1a | Certified standard value | A12-10063 |  |  |  | 100 |  |  |  | 247 |  | 70 | [27 empty] | 144 |  |  |  |  | 148 |  | 18
DNC-1a | Measured standard value | A12-10063 |  |  |  | 93 |  |  |  | 258 |  | 60 | [18 empty] | 5 | [8 empty] | 127 |  |  |  |  | 147 |  | 14
DNC-1a | Certified standard value | A12-10063 |  |  |  | 100 |  |  |  | 247 |  | 70 | [18 empty] | 5.2 | [8 empty] | 144 |  |  |  |  | 148 |  | 18
DNC-1a | Measured standard value | A12-10063 |  |  |  | 88 |  |  |  | 258 |  | 49 | [27 empty] | 122 |  |  |  |  | 143 |  | 14
DNC-1a | Certified standard value | A12-10063 |  |  |  | 100 |  |  |  | 247 |  | 70 | [27 empty] | 144 |  |  |  |  | 148 |  | 18
DNC-1a | Measured standard value | A12-10063 | [28 empty] | 5
DNC-1a | Certified standard value | A12-10063 | [28 empty] | 5.2
DNC-1a | Measured standard value | A12-10063 | [28 empty] | 4
DNC-1a | Certified standard value | A12-10063 | [28 empty] | 5.2
DMMAS 113 | Measured standard value | A12-10063 | 1910 | [12 empty] | 1610 | 1440 |  |  |  |  | 38 | 85 |  |  | 3.13 | [7 empty] | 1.87 |  |  |  | 6.8 | [5 empty] | 18.9 |  |  |  | 17.3 | 30 |  | 1.9
DMMAS 113 | Certified standard value | A12-10063 | 1665 | [12 empty] | 1468 | 1519 |  |  |  |  | 36 | 75 |  |  | 2.86 | [7 empty] | 1.82 |  |  |  | 5.8 | [5 empty] | 15.6 |  |  |  | 14.5 | 24 |  | 2.2
Method Blank | Method Blank | A12-10063 | <2 |  | <5 | [5 empty] | <20 |  | <50 |  |  | <0.5 | <50 |  |  | <0.5 |  | <1 | <2 | <1 | <0.2 | <0.01 | <1 | <1 | <5 |  |  |  |  | <0.01 |  | <15 | <0.1 | <0.1 | <3 |  | <0.5 |  | <0.2 | <0.5 |  | <1 |  | <0.5 | <3 | <5 | <0.1 | <0.01 | <0.5 | <0.2 | <0.05 | 30
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | 2 | <0.3 | <1 | <3 | <1 |  | 2 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 |  | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 | [28 empty] | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | <1 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 |  | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 | [28 empty] | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | <1 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 |  | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 | [28 empty] | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | 1 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 |  | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | 1 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 | <1 | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 | [28 empty] | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | 2 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 |  | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 |  | <0.3 |  | 2 | <0.3 | <1 | <3 | <1 |  | <1 |  | <0.01 | <0.01 |  |  | <1 | <2 |  | <0.01 | [8 empty] | <0.01 | <1 | <0.01 |  |  | <0.001 |  |  |  |  | <1 |  | <0.01 |  |  | <2 |  | <1
Method Blank | Method Blank | A12-10063 | [28 empty] | <1

## PlotDat1 (hidden)
Source sheet | Table 1 Geochronological Da (3) | 4.737 | 0.31739 | 4 | 0.28853 | 3.9306 | 0.2857 | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
Plot name | Concordia1 | 5.0983 | 0.33961 | 4 | 0.28853 | 4.0287 | 0.28969 | 5.1547 | 0.32648 | 5.7486 | 0.34899 | 4.8462 | 0.31693 | 5.2857 | 0.34263 | 5.4665 | 0.35223 | 5.6839 | 0.3467 | 5.4115 | 0.34093 | 5.337 | 0.34124 | 5.475 | 0.34154 | 5.378 | 0.33493
Plot Type | 1 | 4.5773 | 0.30488 | 4.0584 | 0.29089 | 4.1287 | 0.2937 | 5.1304 | 0.32808 | 5.7109 | 0.35112 | 4.8305 | 0.3178 | 5.2741 | 0.34319 | 5.4533 | 0.35302 | 5.655 | 0.34843 | 5.3933 | 0.34213 | 5.3235 | 0.34199 | 5.4534 | 0.34297 | 5.36 | 0.33611
1st free col | 29 | 5.0873 | 0.33318 | 4.1174 | 0.29325 | 4.2307 | 0.29772 | 5.091 | 0.32926 | 5.6496 | 0.35282 | 4.8051 | 0.31818 | 5.2554 | 0.34336 | 5.4319 | 0.35343 | 5.608 | 0.34976 | 5.3638 | 0.34291 | 5.3015 | 0.34233 | 5.4183 | 0.34393 | 5.3309 | 0.33694
Sigma Level | 1 | 5.2398 | 0.34303 | 4.1771 | 0.29562 | 4.3348 | 0.30175 | 5.0381 | 0.32999 | 5.5671 | 0.354 | 4.771 | 0.31805 | 5.2302 | 0.34315 | 5.4031 | 0.35343 | 5.5448 | 0.35066 | 5.3242 | 0.34323 | 5.2721 | 0.34225 | 5.3712 | 0.34438 | 5.2917 | 0.33739
Absolute Errs | TRUE | 5.1856 | 0.33823 | 4.2375 | 0.29799 | 4.4409 | 0.3058 | 4.9735 | 0.33024 | 5.4666 | 0.35463 | 4.7294 | 0.31741 | 5.1995 | 0.34255 | 5.368 | 0.35304 | 5.4677 | 0.35108 | 5.2759 | 0.34308 | 5.2362 | 0.34174 | 5.3138 | 0.3443 | 5.244 | 0.33744
Symbol Type | 1 | 5.099 | 0.33107 | 4.2986 | 0.30036 | 4.5491 | 0.30986 | 4.8998 | 0.32999 | 5.3519 | 0.35469 | 4.6819 | 0.31629 | 5.1645 | 0.34159 | 5.328 | 0.35226 | 5.3799 | 0.351 | 5.2207 | 0.34247 | 5.1953 | 0.34084 | 5.2483 | 0.34369 | 5.1895 | 0.33708
Inverse Plot | FALSE | 5.1049 | 0.33129 | 4.3605 | 0.30274 | 4.6595 | 0.31393 | 4.8199 | 0.32926 | 5.2276 | 0.35416 | 4.6305 | 0.31473 | 5.1265 | 0.34031 | 5.2847 | 0.35113 | 5.2846 | 0.35043 | 5.1609 | 0.34142 | 5.1509 | 0.33956 | 5.1773 | 0.34259 | 5.1305 | 0.33634
Color Plot | TRUE | 5.1037 | 0.33063 | 4.423 | 0.30512 | 4.7721 | 0.31801 | 4.7368 | 0.32807 | 5.0982 | 0.35308 | 4.577 | 0.31279 | 5.087 | 0.33875 | 5.2395 | 0.34968 | 5.1854 | 0.3494 | 5.0988 | 0.33998 | 5.1047 | 0.33797 | 5.1034 | 0.34102 | 5.069 | 0.33524
3D plot | FALSE | 5.0692 | 0.32699 | 4.4863 | 0.30751 | 4.8869 | 0.3221 | 4.6538 | 0.32647 | 4.9688 | 0.35148 | 4.5235 | 0.31055 | 5.0475 | 0.33698 | 5.1944 | 0.34798 | 5.0863 | 0.34793 | 5.0366 | 0.33819 | 5.0585 | 0.33612 | 5.0295 | 0.33905 | 5.0076 | 0.33383
Linear | FALSE | IsoLine | IsoLine | 4.5503 | 0.3099 | 5.004 | 0.32621 | 4.5739 | 0.32453 | 4.8445 | 0.34942 | 4.472 | 0.30809 | 5.0096 | 0.33506 | 5.1511 | 0.34609 | 4.991 | 0.34609 | 4.9768 | 0.33613 | 5.0142 | 0.33409 | 4.9585 | 0.33677 | 4.9486 | 0.33215
Data Range | L5:P14 |  |  | 4.6151 | 0.3123 | 5.1234 | 0.33033 | 4.5002 | 0.32231 | 4.7299 | 0.34699 | 4.4247 | 0.3055 | 4.9746 | 0.33308 | 5.1111 | 0.34408 | 4.9031 | 0.34395 | 4.9217 | 0.33387 | 4.9733 | 0.33194 | 4.8931 | 0.33424 | 4.8942 | 0.33027
Filled Symbols | TRUE |  |  | 4.6806 | 0.3147 | 5.2452 | 0.33447 | 4.4357 | 0.31989 | 4.6294 | 0.34427 | 4.3831 | 0.3029 | 4.944 | 0.33109 | 5.0761 | 0.34203 | 4.8262 | 0.34159 | 4.8735 | 0.33151 | 4.9374 | 0.32978 | 4.8357 | 0.33158 | 4.8465 | 0.32826
ConcAge | FALSE |  |  | 4.7469 | 0.3171 | 5.3695 | 0.33861 | 4.3828 | 0.31739 | 4.547 | 0.34137 | 4.3491 | 0.30037 | 4.9189 | 0.32919 | 5.0474 | 0.34002 | 4.763 | 0.3391 | 4.8339 | 0.32913 | 4.9081 | 0.32767 | 4.7887 | 0.32888 | 4.8073 | 0.32621
ConcSwap | FALSE |  |  | 4.814 | 0.31951 | 5.4962 | 0.34277 | 4.3435 | 0.31488 | 4.4857 | 0.3384 | 4.3238 | 0.29801 | 4.9002 | 0.32744 | 5.0261 | 0.33813 | 4.7161 | 0.33658 | 4.8045 | 0.32682 | 4.8862 | 0.3257 | 4.7537 | 0.32624 | 4.7783 | 0.32419
1st Symbol-row | 1 |  |  | 4.8819 | 0.32193 | 5.6254 | 0.34695 | 4.3193 | 0.31247 | 4.448 | 0.33549 | 4.3083 | 0.29592 | 4.8887 | 0.32591 | 5.013 | 0.33642 | 4.6872 | 0.33412 | 4.7864 | 0.32468 | 4.8728 | 0.32394 | 4.7322 | 0.32378 | 4.7604 | 0.32227
|  |  |  | 4.9505 | 0.32434 | 5.7572 | 0.35113 | 4.3111 | 0.31025 | 4.4353 | 0.33273 | 4.303 | 0.29417 | 4.8849 | 0.32466 | 5.0086 | 0.33497 | 4.6774 | 0.33182 | 4.7803 | 0.32279 | 4.8683 | 0.32247 | 4.725 | 0.32158 | 4.7544 | 0.32054
|  |  |  | 5.0199 | 0.32677 | 5.8916 | 0.35533 | 4.3193 | 0.3083 | 4.4481 | 0.33023 | 4.3084 | 0.29283 | 4.8888 | 0.32373 | 5.0131 | 0.33383 | 4.6872 | 0.32976 | 4.7865 | 0.32121 | 4.8729 | 0.32134 | 4.7323 | 0.31972 | 4.7605 | 0.31905
|  |  |  | 5.0902 | 0.32919 | IsoLine | IsoLine | 4.3436 | 0.3067 | 4.4858 | 0.3281 | 4.324 | 0.29196 | 4.9004 | 0.32317 | 5.0263 | 0.33304 | 4.7162 | 0.32803 | 4.8046 | 0.32001 | 4.8864 | 0.32059 | 4.7539 | 0.31829 | 4.7784 | 0.31787
|  |  |  | 5.1613 | 0.33163 |  |  | 4.383 | 0.30552 | 4.5471 | 0.3264 | 4.3494 | 0.29158 | 4.9191 | 0.323 | 5.0477 | 0.33263 | 4.7631 | 0.3267 | 4.8341 | 0.31923 | 4.9083 | 0.32025 | 4.789 | 0.31733 | 4.8075 | 0.31704
|  |  |  | 5.2332 | 0.33406 |  |  | 4.436 | 0.30479 | 4.6296 | 0.32522 | 4.3836 | 0.29171 | 4.9443 | 0.32321 | 5.0765 | 0.33263 | 4.8264 | 0.3258 | 4.8738 | 0.31891 | 4.9378 | 0.32033 | 4.8361 | 0.31688 | 4.8467 | 0.31659
|  |  |  | 5.3059 | 0.3365 |  |  | 4.5005 | 0.30454 | 4.7301 | 0.32459 | 4.4252 | 0.29235 | 4.975 | 0.32381 | 5.1115 | 0.33302 | 4.9034 | 0.32538 | 4.9221 | 0.31906 | 4.9737 | 0.32084 | 4.8935 | 0.31696 | 4.8944 | 0.31654
|  |  |  | 5.3795 | 0.33895 |  |  | 4.5742 | 0.30479 | 4.8447 | 0.32453 | 4.4726 | 0.29347 | 5.01 | 0.32477 | 5.1515 | 0.3338 | 4.9912 | 0.32546 | 4.9772 | 0.31967 | 5.0146 | 0.32174 | 4.959 | 0.31757 | 4.9489 | 0.3169
|  |  |  | 5.454 | 0.3414 |  |  | 4.6541 | 0.30552 | 4.9691 | 0.32506 | 4.5241 | 0.29503 | 5.048 | 0.32605 | 5.1949 | 0.33493 | 5.0866 | 0.32603 | 5.037 | 0.32072 | 5.059 | 0.32302 | 5.03 | 0.31867 | 5.008 | 0.31764
|  |  |  | 5.5293 | 0.34385 |  |  | 4.7372 | 0.30671 | 5.0985 | 0.32614 | 4.5776 | 0.29697 | 5.0875 | 0.32761 | 5.24 | 0.33638 | 5.1857 | 0.32706 | 5.0992 | 0.32216 | 5.1052 | 0.32461 | 5.1039 | 0.32024 | 5.0694 | 0.31874
|  |  |  | 5.6055 | 0.34631 |  |  | 4.8203 | 0.30831 | 5.2278 | 0.32774 | 4.6311 | 0.29921 | 5.127 | 0.32938 | 5.2851 | 0.33808 | 5.2848 | 0.32853 | 5.1614 | 0.32395 | 5.1513 | 0.32646 | 5.1778 | 0.32221 | 5.1308 | 0.32015
|  |  |  | 5.6826 | 0.34877 |  |  | 4.9002 | 0.31025 | 5.3522 | 0.3298 | 4.6825 | 0.30167 | 5.1649 | 0.3313 | 5.3285 | 0.33997 | 5.3801 | 0.33037 | 5.2212 | 0.32601 | 5.1957 | 0.32849 | 5.2488 | 0.32449 | 5.1898 | 0.32183
|  |  |  | 5.7605 | 0.35124 |  |  | 4.9738 | 0.31247 | 5.4668 | 0.33223 | 4.7299 | 0.30426 | 5.1999 | 0.33328 | 5.3684 | 0.34198 | 5.468 | 0.33251 | 5.2762 | 0.32827 | 5.2366 | 0.33064 | 5.3142 | 0.32702 | 5.2443 | 0.32371
|  |  |  | 5.8394 | 0.35371 |  |  | 5.0383 | 0.31489 | 5.5673 | 0.33495 | 4.7714 | 0.30686 | 5.2305 | 0.33527 | 5.4034 | 0.34403 | 5.545 | 0.33487 | 5.3245 | 0.33063 | 5.2724 | 0.3328 | 5.3716 | 0.32968 | 5.2919 | 0.32572
|  |  |  | 5.9193 | 0.35618 |  |  | 5.0912 | 0.31739 | 5.6497 | 0.33785 | 4.8054 | 0.30939 | 5.2556 | 0.33717 | 5.4322 | 0.34604 | 5.6081 | 0.33736 | 5.3641 | 0.33301 | 5.3018 | 0.33491 | 5.4186 | 0.33238 | 5.3311 | 0.32777
|  |  |  | 6 | 0.35867 |  |  | 5.1306 | 0.3199 | 5.711 | 0.34082 | 4.8307 | 0.31175 | 5.2743 | 0.33892 | 5.4535 | 0.34793 | 5.6551 | 0.33988 | 5.3935 | 0.33532 | 5.3236 | 0.33688 | 5.4536 | 0.33502 | 5.3601 | 0.32979
|  |  |  | 6 | 0.35867 |  |  | 5.1548 | 0.32231 | 5.7487 | 0.34373 | 4.8463 | 0.31384 | 5.2858 | 0.34045 | 5.4666 | 0.34964 | 5.684 | 0.34234 | 5.4116 | 0.33746 | 5.3371 | 0.33864 | 5.4751 | 0.33748 | 5.378 | 0.33171
|  |  |  | IsoLine | IsoLine |  |  | 5.1629 | 0.32453 | 5.7614 | 0.34649 | 4.8515 | 0.31559 | 5.2896 | 0.3417 | 5.471 | 0.35109 | 5.6937 | 0.34464 | 5.4177 | 0.33935 | 5.3416 | 0.34011 | 5.4823 | 0.33968 | 5.384 | 0.33344
[8 empty] | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll | ErrEll