# Analytical Techniques

## Introduction

One of the primary aims of the project was the production of a coherent, research-grade geochemical database for the ores, mafic, ultramafic, and metasedimentary rocks of the Thompson Nickel Belt. This was achieved by combining new geochemical data with existing data from a number of sources including a previous CAMIRO-funded project (94E04) completed by Burnham, Lesher and Keays at Laurentian University, an unpublished database compiled by L. Hulbert at the G.S.C., geochemical data contributed by several of the company sponsors (Falconbridge Ltd., HBED, and Cominco), the PhD thesis of W. Bleeker, and published whole-rock elemental data (e.g., Stephenson, 1974; Peredery, 1979, 1982). In order to ensure the best quality data were available for the wide range of lithologies studied during the project and to determine their reliability at different concentrations, the accuracy and precision of the data obtained during the project were closely monitored through the use of internal standards and inter-laboratory standards and unreliable data were screened out of the databases that were contributed to the project from other sources.

## Analytical Methods Used During CAMIRO Project 97E-02

### Whole-Rock Analyses

#### Sample Preparation

Because a whole-rock geochemical analysis is only as good as the material analysed, great care was taken during sample preparation to ensure that the material being analysed was representative of the sample taken and that any alteration, veining or contamination during sample collection (e.g., from the diamond drill or rock saw used to collect the sample or from contact with other samples) was removed prior to pulverization.

Initial decontamination was carried out by cutting larger samples into either ~1cm slabs or ~5cm cubes of unaltered, representative material. All saw marks were then removed using an 80-mesh metal-bonded diamond lapping wheel. Following decontamination, the material was reduced to <5mm chips in a jaw crusher equipped with soft iron plates. In order to avoid cross contamination between samples, the jaws were cleaned by crushing quartz and brushing with a steel brush after each sample, and any mineralized samples within a job were crushed after non-mineralized samples. Pulverization was carried out using a low-C steel ring and puck mill, cleaning with crushed quartz and methanol between samples.

#### Major Elements

For the purposes of this study, the major elements are considered to be the ten elements traditionally listed as oxides during most chemical analysis and present in the formula of common rock-forming minerals (i.e., Si, Ti, Al, Fe, Mn, Mg, Ca, Na, K, and P). Although these elements and their oxides account for the majority of the mass of most samples, in many of the ultramafic and/or mineralized samples collected for this study, Cr, Ni, Cu, and S represented a more significant proportion of the rock than some of the elements traditionally considered as majors (e.g., Na, K or P). Although Cr, Ni, Cu and S could therefore be considered major elements in many samples, they will be considered as minor elements for this discussion because they were analysed by similar techniques to the other minor elements (e.g., XRF on pressed powder pellets or ICP-AES on total digestions).

The major element compositions of samples with low to moderate sulfide contents (less than ~10% sulfur) were determined by wavelength dispersive X-ray fluorescence spectrometry (XRFS) on fused glass disks at the Central Analytical Facility of Laurentian University. The fused discs were prepared by mixing the sample in a 1:5 ratio with a Li2B4O7/Li2CO3/La2O3 flux (Spectroflux 925) and fusing in Pt/5%Au crucibles for 15 minutes in a muffle furnace at 960C. Once fused, the mixture was poured into a preheated mould to form a disc ready for analysis. In order to prevent reaction of sulfide-rich samples with the platinum crucibles used during the fusion, samples containing more than a trace of sulfide were roasted in an oven at 700°C for 30 minutes. For samples containing more than 10% sulfide, the major elements were determined by ICP-AES as part of the minor element package (see below).

The precision of the analyses was determined using replicate analyses of a suite of in-house standards, together with duplicate analyses of individual samples. The results of the analyses of five of the most frequently analysed in-house standards are presented in Table A1.1.

Table A1.1 Reproducibility of major element analyses of in-house reference materials analysed during CAMIRO Project 97E-02

| Sample | 51-97-033 |  |  | 9308-45 |  |  | 94-077 |  |  | MUP-1 |  |  | UMPL-1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | n=4 |  |  | n=6 |  |  | n=5 |  |  | n=7 |  |  | n=8 |  |  |
|  | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD |
| SiO2 | 48.2 | 0.04 | 0.2% | 38.2 | 0.05 | 0.3% | 42.5 | 0.06 | 0.3% | 50.2 | 0.11 | 0.4% | 42.4 | 0.11 | 0.5% |
| TiO2 | 1.2 | 0.01 | 1.2% | 0.2 | 0.02 | 19.5% | 0.3 | 0.02 | 15.3% | 0.8 | 0.02 | 4.1% | 1.0 | 0.02 | 3.4% |
| Al2O3 | 13.6 | 0.11 | 1.8% | 3.0 | 0.04 | 2.4% | 6.7 | 0.06 | 1.7% | 6.3 | 0.05 | 1.6% | 6.3 | 0.05 | 1.6% |
| FeOt | 11.9 | 0.02 | 0.4% | 10.9 | 0.25 | 4.6% | 9.4 | 0.18 | 3.8% | 9.8 | 0.06 | 1.3% | 12.5 | 0.14 | 2.3% |
| MnO | 0.2 | 0.01 | 7.6% | 0.2 | 0.00 | 4.9% | 0.2 | 0.01 | 6.2% | 0.2 | 0.00 | 3.7% | 0.2 | 0.01 | 7.0% |
| MgO | 5.5 | 0.03 | 1.2% | 34.2 | 0.11 | 0.7% | 25.3 | 0.41 | 3.3% | 12.4 | 0.06 | 0.9% | 20.7 | 0.12 | 1.1% |
| CaO | 11.8 | 0.04 | 0.7% | 2.7 | 0.03 | 2.1% | 5.9 | 0.06 | 2.0% | 14.8 | 0.05 | 0.7% | 9.6 | 0.06 | 1.3% |
| Na2O | 1.8 | 0.17 | 20.1% | 0.1 | 0.01 | 13.6% | 0.7 | 0.22 | 65.5% | 2.1 | 0.18 | 17.7% | 1.4 | 0.20 | 28.3% |
| K2O | 0.2 | 0.01 | 10.2% | 0.0 | 0.01 | 36.0% | 0.1 |  |  | 0.0 | 0.00 | 40.8% | 0.4 | 0.01 | 4.4% |
| P2O5 | 0.1 | 0.00 | 8.7% | 0.0 | 0.00 | 40.4% | 0.0 | 0.01 | 83.1% | 0.1 | 0.00 | 17.8% | 0.2 | 0.01 | 14.3% |
| LOI | 4.5 | 0.30 | 14.6% | 8.4 | 0.12 | 2.8% | 7.8 | 0.21 | 5.3% | 2.3 | 0.13 | 11.5% | 3.9 | 0.08 | 4.1% |

Concentrations in wt%.

In general, the relative precisions of the major element analyses improve with increasing concentration, as shown in Figure A1.1. For element concentration greater than ~10 wt%, the reproducibility of the analyses are generally better than 3% (2σ, i.e., ~95% confidence). However, with decreasing concentration, the reproducibility of the data deteriorates such that for concentrations of ~ 1 wt%, the relative precision approaches 5 – 10%. Regression of the data for the less abundant major elements (e.g., Ti, Ca, Na, K and P: Table A1.2) indicates that below ~ 0.1 – 0.2 wt%, the mean precision of the data obtained by XRF analysis on fused discs approaches 20% (2σ), and that for most of these elements, the concentrations approached a lower limit of detection at ~ 0.02 – 0.04 wt%, where the precision on the data approaches 100% (2σ) and the value could be considered to be insignificantly different from zero. Because the lower limit of detection estimated from the reproducibility of data for the analysed samples was determined on actual rock powders, it probably represents a more meaningful estimate than that calculated from the reproducibility of a procedural blank produced from purified silica, as presented in Table A1.2. Over the range of concentrations measured, Na showed significantly poorer reproducibility than all other elements, presumably on account of its high volatility and partial loss during fusion.

Figure A1.1 Plot of precision (2σ) of major element analyses determined from analyses of in-house standards and duplicate samples. Solid diagonal line indicates the limit of precision expected on account of rounding errors resulting from the reporting of data to 2 decimal places.

Table A1.2 Summary of analytical reproducibility for major elements by fusion XRF

|  | Range (wt%) | Relative Precision | R2 | 20% 2RSD | 100% 2RSD | Detection Limit (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| SiO2 | 6.6 - 81.5 | 0.0 - 1.4% | 0.33 |  |  |  |
| TiO2 | 0.03 - 1.5 | 1 - 84% | 0.89 | 0.24 | 0.04 | 0.008 |
| Al2O3 | 0.02 - 22.7 | 0.2 - 14.6% | 0.37 |  |  |  |
| FeOt | 0.9 - 22.2 | 0.1 - 22.3% | 0.27 |  |  |  |
| MnO | 0.02 - 0.22 | 1 - 154% | 0.31 |  |  | 0.008 |
| MgO | 0.08 - 47.0 | 0.0 - 16.7% | 0.43 |  |  |  |
| CaO | 0.31 - 47.5 | 0.1 - 21.5% | 0.59 | 0.37 | 0.04 |  |
| Na2O | 0.01 - 4.8 | 1 - 167% | 0.52 | 1.31 | 0.12 | 0.09 |
| K2O | 0.00 - 4.9 | 1 - 251% | 0.91 | 0.16 | 0.02 | 0.004 |
| P2O5 | 0.01 - 0.20 | 6 - 251% | 0.88 | 0.16 | 0.03 | 0.01 |
| LOI | 0.9 - 44.7 | 1 - 37% | 0.12 |  |  |  |

Data based on 36 analyses of in-house standards and sample duplicates. R2, correlation coefficient of the regression. 20% 2RSD and 100% 2RSD, estimates of the concentrations at which the 95% confidence intervals represent 20% and 100% of the measured concentration based on the regression. Detection limits estimated by the analyst, J. Huang.

Although a number of reference materials were routinely analysed for major elements along with the samples, in many cases these materials were the same ones that were used for calibrating the instrument, and so do not allow a true determination of the accuracy of the technique. In order to assess the accuracy, a number of aliquots of inter-laboratory reference materials, covering the expected range of compositions, were submitted with the samples as unknowns (Table A1.3). The materials included a sediment (GSD-1), two basalts (JB-3 and JB-1a), a chromite-rich pyroxenite (NIM-P) and a range of different sulfide ore tailings (RTS-1 to RTS-3).

Table A1.3 Major element compositions of reference materials determined by fusion XRF analysis during CAMIRO project 97E-02

|  | GSD-1 | GSD-1 | GSD-1 Ref | JB-3 | JB-3 Ref | JB-1a | JB-1a Ref | NIM-P | NIM-P Ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SiO2 | 58.4 | 58.31 | 58.43 | 50.28 | 50.96 | 50.36 | 52.41 | 50.59 | 51.1 |
| TiO2 | 0.98 | 1 | 0.98 | 1.41 | 1.44 | 1.22 | 1.28 | 0.18 | 0.2 |
| Al2O3 | 14.79 | 14.92 | 14.83 | 17.19 | 17.2 | 14.19 | 14.45 | 4.23 | 4.18 |
| FeOt | 6.57 | 6.55 | 6.61 | 10.63 | 10.73 | 7.99 | 8.07 | 10.72 | 11.48 |
| MnO | 0.115 | 0.124 | 0.12 | 0.182 | 0.177 | 0.14 | 0.148 | 0.208 | 0.22 |
| MgO | 4.18 | 4.11 | 4.14 | 5.2 | 5.19 | 8.36 | 7.83 | 24.95 | 25.33 |
| CaO | 4.67 | 4.66 | 4.6 | 9.57 | 9.79 | 9.46 | 9.31 | 2.62 | 2.66 |
| Na2O | 3.43 | 3.37 | 3.5 | 2.76 | 2.73 | 2.51 | 2.73 | 0.4 | 0.37 |
| K2O | 2.79 | 2.76 | 2.77 | 0.75 | 0.78 | 1.25 | 1.4 | 0.09 | 0.09 |
| P2O5 | 0.34 | 0.33 | 0.34 | 0.32 | 0.294 | 0.26 | 0.26 | 0.03 | 0.02 |

|  | RTS-1 | RTS-1 | RTS-2 | RTS-2 Ref | RTS-3 | RTS-3 | RTS-3 | RTS-3 Ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SiO2 | 42.91 | 42.54 ± 0.98 | 6.37 | 6.25 ± 0.39 | 34.33 | 34.46 | 34.56 | 34.20 ± 0.98 |
| TiO2 | 0.71 | 0.67 | 0.28 | 0.27 | 0.54 | 0.59 | 0.57 | 0.53 |
| Al2O3 | 8.15 | 8.05 ± 0.28 | 1.67 | 1.57 ± 0.09 | 9.24 | 9.34 | 9.36 | 9.05 ± 0.32 |
| FeOt | 25.73 | 25.26 ± 0.91 | 48.41 | 48.11 ± 1.54 | 26.81 | 27.71 | 27.69 | 27.07 ± 0.85 |
| MnO | 0.247 | 0.245 | 0.042 | 0.05 | 0.241 | 0.268 | 0.273 | 0.26 |
| MgO | 4.64 | 4.43 ± 0.12 | 0.72 | 0.58 ± 0.02 | 4.22 | 4.34 | 4.33 | 4.06 ± 0.10 |
| CaO | 3.98 | 3.74 ± 0.13 | 0.8 | 0.74 ± 0.04 | 3.2 | 3.39 | 3.38 | 3.08 ± 0.13 |
| Na2O | 0.82 | 0.67 | 0.35 | 0.30 | 0.83 | 0.71 | 0.91 | 0.69 |
| K2O | 0.62 | 0.63 | 0.13 | 0.14 | 0.41 | 0.42 | 0.42 | 0.42 |
| P2O5 | 0.13 | 0.14 | 0.04 | 0.05 | 0.09 | 0.11 | 0.1 | 0.11 |

Top row: sulfide-poor materials. Bottom row: sulfide-rich (RTS-1 to RTS-3). Reference data from Govindaraju (1994) and CANMET report CCRMP 90-3E.

With the exception of Na, for elements present at >0.5 wt%, the relative accuracies of the major element concentrations determined by XRF were generally better than 2-5%.

#### Minor Elements

The minor element contents of the samples (mostly first and second row transition metals: Sc, V, Cr, Co, Ni, Cu, Zn, Y, and Zr, and the alkali elements Rb, Sr and Ba) were determined by either XRF analysis of pressed powder pellets at the Central Analytical Facility of Laurentian University (non-mineralized samples), closed beaker digestion followed by either inductively-coupled plasma atomic emission spectrometry (ICP-AES; mineralized samples and a few batches of non-mineralized samples towards the end of the project), or flame atomic absorption spectrometry (AAS; Cu, Ni, Ag and Pb in highly mineralized samples) at the Ontario Geoscience Laboratories in Sudbury.

##### PP-XRF

Pressed powder pellets for XRFS were made by mixing ~2.5g sample with 4 drops of a solution of polyvinyl alcohol binder in water, compacting the mixture in a hydraulic press at a pressure of 9 tons per square inch to form a pellet, and drying the pellets in an oven overnight.

Table A1.4 Reproducibility of data for in-house reference materials by powder pellet XRF during CAMIRO Project 97E-02

| Sample | 51-97-033 |  |  | 9308-45 |  |  | 94-077 |  |  | MUP-1 |  |  | UMPL-1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | n=4 |  |  | n=6 |  |  | n=5 |  |  | n=7 |  |  | n=8 |  |  |
|  | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD | Conc. | ± 1σ | 2RSD |
| Ba | 6 | 5 | 166% | 17 | 2 | 28% | 20 | 10 | 102% | 1 | 1 | 186% | 194 | 7 | 7% |
| Sc | 36 | 1 | 6% | 16 | 2 | 21% | 22 | 7 | 61% | 35 | 1 | 7% | 43 | 1 | 5% |
| Cr | 178 | 5 | 6% | 4100 | 36 | 2% | 2793 | 99 | 7% | 1368 | 16 | 2% | 1778 | 24 | 3% |
| V | 356 | 2 | 1% | 89 | 3 | 6% | 118 | 4 | 7% | 211 | 5 | 5% | 291 | 6 | 4% |
| Co | 55 | 3 | 11% | 125 | 6 | 10% | 100 | 3 | 6% | 56 | 5 | 17% | 71 | 3 | 9% |
| Ni | 52 | 4 | 19% | 1870 | 53 | 6% | 1501 | 5 | 1% | 212 | 6 | 6% | 489 | 11 | 5% |
| Cu | 147 | 6 | 9% | 63 | 5 | 16% | 23 | 5 | 42% | 87 | 6 | 15% | 18 | 7 | 80% |
| Zn | 79 | 4 | 12% | 69 | 4 | 12% | 44 | 4 | 17% | 89 | 3 | 6% | 122 | 8 | 14% |
| Y | 29 | 2 | 16% | 6 | 1 | 34% | 9 | 3 | 64% | 19 | 2 | 23% | 27 | 2 | 14% |
| Zr | 77 | 2 | 5% | 17 | 1 | 16% | 22 | 2 | 21% | 53 | 2 | 7% | 38 | 2 | 9% |
| Sr | 99 | 3 | 6% | 12 | 2 | 28% | 29 | 3 | 21% | 65 | 3 | 8% | 297 | 3 | 2% |
| Rb | 1 | 1 | 194% | 6 | 1 | 34% | 7 | 3 | 74% | 2 | 1 | 138% | 5 | 2 | 83% |
| Nb | 2 | 1 | 63% | 3 | 1 | 65% | 6 | 3 | 100% | 2 | 1 | 80% | 6 | 1 | 35% |

Concentrations in ppm.

The precision of the analyses by pressed-pellet XRF are summarised in Tables A1.4 and A1.5, and Figure A1.2. For most elements present at >100 ppm, the relative precision of the analyses lay in the range 1 - 10%, even though the data were reported to one decimal place (i.e., better than 0.1% relative precision). With decreasing abundance, however, the precision decreased. Although there appeared to be some differences in the concentrations at which different elements became unreliable, most of those that showed statistically significant trends exhibited about 20% error (2σ) at ~20-40 ppm and approached the limit of detection (100% 2σ error) at ~ 5 –10 ppm. An independent estimate of the detection limit using a blank pressed pellet gave similar results. An exception to this was Cu, which showed much greater variability in the sample analyses, and consequently a higher detection limit, and Ba, which appeared to more reproducible in the samples than would be expected from the blank analyses. One possible reason for the greater variability of Cu data by powder pellet XRFS may be that the pressed pellet was insufficiently thick to prevent penetration of the X-rays through to the Cu backing material, creating a high Cu background. For this reason, Cu data by ICP-AES are preferred for low-level samples.

Table A1.5 Summary of the reproducibility of pressed pellet XRF analyses

|  | Range (ppm) | Relative Precision | R2 | 20% RSD | 100% RSD | Detection Limit (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| Ba | 1 - 2,062 | 0 - 210% | 0.77 | 45 | 6 | 26 |
| Sc | 2 - 47 | 1 - 100% | 0.33 |  |  | 3 |
| Cr | 7 - 4,100 | 1 - 51% | 0.44 |  |  | 7 |
| V | 1 - 388 | 0 - 109% | 0.58 | 31 | 4 | 7 |
| Co | 1 - 135 | 0 - 67% | 0.21 |  |  | 7 |
| Ni | 5 - 3,861 | 0 - 34% | 0.26 |  |  | 5 |
| Cu | 2 - 353 | 2 - 155% | 0.68 | 73 | 8 | 2 |
| Zn | 29 - 140 | 0 - 42% | 0.23 |  |  | 3 |
| Y | 0 - 29 | 1 - 159% | 0.23 |  |  | 2 |
| Zr | 3 - 299 | 1 - 91% | 0.63 | 21 | 3 | 3 |
| Sr | 5 - 800 | 0 - 98% | 0.69 | 27 | 5 | 6 |
| Rb | 0 - 203 | 1 - 246% | 0.56 | 27 | 2 | 2 |
| Nb | 0 - 12 | 8 - 258% | 0.10 |  |  | 2 |

Data based on 36 analyses of in-house standards and sample duplicates. R2: correlation coefficient of the regression. 20% 2RSD and 100% 2RSD: estimates of the concentrations at which the 95% confidence intervals represent 20% and 100% of the measured concentration based on the regression. Detection limits estimated by the analyst, J. Huang.

Figure A1.2 Plot of precision (2σ) of pressed pellet XRF analyses of in-house standards and duplicate samples. Solid line indicates error expected as a result of rounding of data to 2 decimal places prior to reporting.

Owing to their low concentrations in most of the mafic and ultramafic samples, many of the less abundant minor elements frequently fell below the level expected to give reasonable data, and are included in the database for information only. Where possible, more precise data for these elements, obtained by either ICP-MS or INAA, were used in preference to those obtained by pressed-pellet XRF.

Table A1.6 Minor element compositions of reference materials determined by pressed pellet XRF

| Sample | JB-1 | JB-1 Ref | GSD-1 | GSD-1 | GSD-1 Ref | JB-3 | JB-3 Ref | JB-1a | JB-1a Ref | NIM-P | NIM-P Ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ba | 482 | 490 | 955 | 967 | 950 | 295 | 245 | 587 | 504 | 35 | 46 |
| Sc | 25 | 27.5 | 15 | 16 | 15.6 | 33 | 33.8 | 22 | 27.9 | 30 | 29 |
| Cr | 406 | 469 | 202 | 196 | 194 | 61 | 58.1 | 391 | 392 | 25369 | 24000 |
| V | 210 | 212 | 124 | 126 | 121 | 344 | 372 | 199 | 205 | 268 | 230 |
| Co | 41 | 38.7 | 23 | 22 | 20.4 | 28 | 34.3 | 36 | 38.6 | 108 | 110 |
| Ni | 132 | 139 | 81 | 79 | 76 | 29 | 36.2 | 141 | 139 | 575 | 560 |
| Cu | 53 | 56.3 | 24 | 24 | 21.8 | 212 | 194 | 90 | 56.7 | 1 | 18 |
| Zn | 80 | 83 | 84 | 83 | 79 | 95 | 100 | 87 | 82.1 | 101 | 100 |
| Y | 28 | 24.4 | 23 | 21 | 22.5 | 38 | 26.9 | 28 | 24 | 4 | 5 |
| Zr | 147 | 143 | 304 | 304 | 310 | 96 | 97.8 | 129 | 144 | 9 | 30 |
| Sr | 441 | 435 | 536 | 531 | 525 | 413 | 403 | 430 | 442 | 34 | 32 |
| Rb | 37 | 41.2 | 118 | 119 |  | 20 | 15.1 | 36 | 39.2 | 1 | 5 |
| Nb | 32 | 34.5 | 34 | 31 | 35 | 1 | 2.47 | 27 | 26.9 | 1 |  |

| Sample | RTS-1 | RTS-1 Ref | RTS-2 | RTS-2 Ref | RTS-3 | RTS-3 | RTS-3 Ref |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ba | 147 | 123 | 40 | 72 | 79 | 87 | 98 |
| Sc | 19 |  | 11 |  | 22 | 19 |  |
| Cr | 43 | 50 | 121 | 125 | 64 | 61 | 75 |
| V | 86 |  | 95 |  | 126 | 108 |  |
| Co | 23 | 16.6 ± 3.9 | 76 | 72 ± 7 | 256 | 249 | 260 ± 16 |
| Ni | 12 | 22 ± 7 | 2382 | 2430 ± 100 | 10 | 8 | 71 ± 13 |
| Cu | 581 | 595 ± 18 | 721 | 670 ± 32 | 2885 | 2889 | 2820 ± 90 |
| Zn | 546 | 553 ± 31 | 43 | 117 ± 10 | 1868 | 1883 | 1850 ± 80 |
| Y | 26 |  | 19 |  | 25 | 27 |  |
| Zr | 123 | 110 | 24 | 20 | 69 | 73 | 66 |
| Sr | 63 | 60 | 33 | 30 | 40 | 45 | 40 |
| Rb | 26 |  | 23 |  | 34 | 29 |  |
| Nb | 17 |  | 5 |  | 6 | 10 |  |

Top row: sulfide-poor materials. Bottom row: sulfide-rich (RTS-1 to RTS-3). Reference data from Govindaraju (1994) and CANMET report CCRMP 90-3E.

The accuracy of the data obtained by pressed pellet XRF was assessed by the analysis of the same reference materials used to determine the accuracy of the major element determinations. Although the accuracy for most of the elements in both the sulfide-poor and sulfide-rich materials appears to be better than ~10%, there are notable discrepancies between the values obtained for Ba in all of the sulfide-rich samples (in which Ba is up to 50% low), as well as the two Japanese basalt standards (JB-3 and JB-1a, in which Ba was up to 18% high), and Ni at low levels in sulfide-rich samples (Table A1.6). Whereas the anomalously low Ni values obtained for the sulfide-rich samples may be accounted for by a strong interference from Fe on the Ni peak used during the analysis (and was corrected by re-analysis of all samples with high Fe after recalibrating on a suite if Fe-rich samples), there was no obvious reason for the anomalous Ba concentrations.

##### ICP-AES

Because the major element contents of sulfide-rich samples could not be determined by XRFS on fused discs owing to potential corrosion of the platinum crucibles by residual sulfide phases after roasting, both the major and minor element contents of such samples were analysed by ICP-AES after a mixed acid digestion. Because the majority of the silica is volatilized during sample digestion, it was not possible to determine the SiO2 contents of the sulfide-rich samples by ICP-AES. Details of the methods used for sample dissolution and analysis may be found in OGS Miscellaneous Paper 149.

The precision of the analyses by ICP-AES are summarised in Tables A1.7 and A1.8, and Figure A1.3. In general, the precision of most analyses by ICP-AES were considerably worse than by XRFS on either fused discs or pressed pellets, with 95% confidence intervals (~2σ) of greater than 20% for many elements (e.g., Ti, Al, Fe, P, Zn, Cd, and Mo). Whereas this might be expected for many of the more abundant major elements (e.g., Fe in sulfide-rich samples), where their concentrations lie at the upper end or outside the working ranges of the instrument, or for samples only analysed in duplicate, where a single anomalous value would bias the statistics, it was somewhat disappointing that it was also observed in both the major and trace element concentrations of the most frequently analysed in-house standard. Not only was the technique set up for the analysis of this type of sample, but also the in-house standard in question was used for quality control by the laboratories. Because no relationship is apparent between the reproducibility of the data and either the concentrations of the samples or their overall compositions, it is inferred that the variability does not result from either rounding errors or counting precision, but may reflect either problems during sample digestion (incomplete dissolution or sample heterogeneities in the small mass of sample dissolved) or uncorrected variations in instrument performance, neither of which seem to be predictable. Owing to the high variability of the results for even the most analysed samples, it was necessary to assign a large margin of error (~20%, 2σ) to all data obtained by ICP-AES when they were utilised in either the petrogenetic and/or metallogenetic discussions elsewhere in this report.

The accuracy of the data obtained by ICP-AES was assessed by the analysis of a suite of mineralized and non-mineralized international reference materials (Tables A1.7 and A1.8) as well as duplicate analyses of sulfide-rich samples already analysed by XRFS. Examination of the SRM data indicated that many of the concentrations obtained by ICP-AES were systematically low by between 10 - 35%. Rather than reanalyse all the samples, the existing data were corrected using regressions through the SRM data (Fig. A1.4 and Table A1.9). Because the majority of the ICP-AES analyses were carried out on Cu-Ni sulfide-rich samples, with high chalcophile element concentrations, the corrections for Ni, Cu, and Co were determined by regression of the data for only the Cu-Ni sulfide-rich SRM and sulfide bearing samples analysed by XRF. However, owing to the low number of recommended values for the lithophile elements in the sulfide standards, especially for the minor elements, and the absence of Mo or W data for either the Ni-Cu-sulfide-rich or silicate SRMs, both the sulfide-rich and sulfide-poor SRMs were used to calculate the corrections for CaO, Fe2O3, Na2O, Sc, Sr, TiO2, V, Y, and Zn, only the silicate SRM data were used to calculate the correction for Ba and an alternative suite of natural (MP1a, GSR-1, and FER-2), and synthetic standards (ESI-8 and ESI-11) were used to calculate the corrections for Mo and W.

Figure A1.3 Plot of precision (2σ) of major and minor element concentrations determined by ICP-AES in-house standards, duplicate samples, and reference materials during CAMIRO project 97E-02

Table A1.7 Major and minor element compositions obtained on sulfide-poor samples by ICP-AES during CAMIRO Project 97E-02

|  | Detection Limit | NIM-N | NIM-N Ref | NIM-P | NIM-P Ref | JP-1 | JP-1 Ref | PCC-1 | PCC-1 Ref | DTS-1 | DTS-1 Ref | BIR-1 | BIR-1 Ref | FER-2 | FER-2 Ref | GSR-1 | GSR-1 Ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SiO2 |  |  | 52.64 |  | 51.1 |  | 42.39 |  | 41.71 |  | 40.41 |  | 47.77 |  |  |  | 72.83 |
| TiO2 | 0.0005 | 0.18 | 0.20 | 0.13 | 0.20 | 0.003 |  | 0.004 | 0.01 | 0.002 | 0.01 | 0.86 | 0.96 | 0.14 | 0.19 | 0.24 | 0.29 |
| Al2O3 | 0.0057 | 13.99 | 16.50 | 1.09 | 4.18 | 0.42 | 0.62 | 0.38 | 0.68 | 0.13 | 0.19 | 12.48 | 15.35 | 4.47 | 5.20 | 12.78 | 13.4 |
| FeOt | 0.0007 | 7.42 | 8.01 | 8.61 | 11.48 | 6.60 | 7.50 | 6.43 | 7.51 | 7.32 | 7.81 | 8.54 | 10.13 | 42.94 | 35.45 | 2.55 | 1.925 |
| MnO | 0.0001 | 0.17 | 0.18 | 0.18 | 0.22 | 0.11 | 0.12 | 0.10 | 0.12 | 0.11 | 0.12 | 0.14 | 0.17 | 0.11 | 0.12 | 0.06 | 0.06 |
| MgO | 0.0033 | 6.74 | 7.50 | 19.00 | 25.33 | 34.97 | 44.72 | 34.27 | 43.43 | 42.32 | 49.59 | 8.06 | 9.68 | 1.89 | 2.10 | 0.37 | 0.42 |
| CaO | 0.0028 | 10.74 | 11.50 | 2.27 | 2.66 | 0.44 | 0.56 | 0.45 | 0.52 | 0.11 | 0.17 | 11.65 | 13.24 | 1.92 | 2.20 | 1.55 | 1.55 |
| Na2O | 0.0013 | 2.31 | 2.46 | 0.31 | 0.37 | 0.04 | 0.02 | 0.02 | 0.03 | 0.02 | 0.02 | 1.68 | 1.75 | 0.52 | 0.47 | 3.19 | 3.13 |
| K2O | 0.0120 | 0.22 | 0.25 | 0.07 | 0.09 |  | 0.00 |  |  |  | 0.00 | 0.02 | 0.03 | 1.21 | 1.30 | 4.18 | 5.01 |
| P2O5 | 0.0114 | 0.10 | 0.03 | 0.09 | 0.02 | 0.09 |  | 0.09 | 0.00 | 0.10 | 0.00 | 0.11 | 0.05 | 0.28 | 0.27 | 0.09 | 0.093 |
| Ba | 3 | 102 | 100 | 52 | 46 | 30 | 17 | 20 | 1.2 | 23 | 1.7 | 27 | 7 | 228.9 | 230 | 305.39 | 343 |
| Sc | 1 | 29 | 38 | 7 | 29 | 6 | 7.07 | 8 | 8.4 | 5 | 3.5 | 30 | 44 | 4.8 | 6 | 5.36 | 6.1 |
| Cr | 4 | 16 | 30 | 5215 | 24000 | 1087 | 2970 | 795 | 2730 | 1097 | 3990 | 312 | 382 | 37.17 | 46 | 1.5 | 5 |
| V | 5 | 208 | 220 | 125 | 230 | 43 | 29 | 45 | 31 | 34 | 11 | 293 | 313 | 77 | 36 | 24.1 | 24 |
| Co | 5 | 50 | 58 | 75 | 110 | 97 | 116 | 94 | 112 | 114 | 137 | 44 | 51.4 | -2 | 7 | 3 | 3.4 |
| Ni | 5 | 113 | 120 | 450 | 560 | 2020 | 2460 | 1977 | 2380 | 1917 | 2360 | 153 | 166 | 46.72 | 25 | 4.41 | 2.3 |
| Cu | 5 | 12 | 14 | 16 | 18 | 6 | 5.7 | 10 | 10 | 8 | 7.1 | 130 | 126 | 46.05 | 47 | 3.87 | 3.2 |
| Zn | 2 | 74 | 68 | 76 | 100 | 48 | 29.5 | 45 | 42 | 58 | 0.4 | 84 | 71 | 64 | 44 | 28.9 | 28 |
| Y | 2 | 5 | 7 | 3 | 5 |  |  |  |  |  | 0.04 | 11 | 16 | 11.2 | 14 | 55.67 | 62 |
| Zr |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr | 1 | 225 | 260 | 28 | 32 |  |  |  |  |  | 0.32 | 89 | 108 | 54.53 | 58 | 101.3 | 106 |
| Rb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cd | 2 | 17 |  | 20 |  | 17 |  | 15 | 0.019 | 19 | 0.01 | 22 | 0.114 | 70 | 3 | 6.92 | 0.032 |
| W | 40 |  |  |  |  |  |  |  |  |  |  |  |  | 4.26 |  | 2.3 | 8.4 |
| Li | 3 |  |  |  |  |  |  |  |  |  |  |  |  | 24.6 | 20 | 131.2 | 131 |
| Mo | 8 |  |  |  |  | 12 |  | 12 | 2 | 14 | 0.14 |  |  | 5.8 | 3 | 2.79 | 3.5 |

Analyses carried out at the Ontario Geoscience Laboratories. Reference data from Govindaraju (1994). Detection limits from quality assurance information provided by Ontario Geoscience Laboratories.

Table A1.8 Major and minor element compositions obtained on sulfide-rich samples by ICP-AES during CAMIRO Project 97E-02

|  | SU1a | SU1a | MP-1A | MP-1a | PTM-1a | PTM-1a | RTS-2 | RTS-2 | RTS-4 | RTS-4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | n=1 | Reference | n=4 | Reference | n=2 | Reference | n=2 | Reference | n=2 | Reference |
| Major Elements (wt%) |  |  |  |  |  |  |  |  |  |  |
| SiO2 |  | 38.0 |  |  |  |  |  | 6.25 ± 0.39 |  | 2.13 ± 0.17 |
| TiO2 | 0.39 |  | 0.03 |  | 0.00 ± 0.01 |  | 0.20 ± 0.04 | 0.27 | 0.10 ± 0.02 | 0.08 |
| Al2O3 | 7.96 | 10.70 | 2.74 ± 0.02 |  | 0.00 ± 0.02 |  | 1.26 ± 0.22 | 1.57 ± 0.09 | 0.67 ± 0.08 | 0.73 ± 0.06 |
| FeOt | 28.66 | 25.73 | 8.21 ± 0.05 | 7.98 | 1.85 ± 0.06 | 1.90± 0.13 | 46.49 ± 7.69 | 48.11 ± 1.54 | 66 ± 11 | 72.9 ± 2.3 |
| MnO | 0.11 | 0 | 0.06 ± 0.00 |  | 0.00 ± 0.00 |  | 0.04 ± 0.01 | 0.05 | 0.02 ± 0.00 | 0.015 |
| MgO | 3.85 | 6.42 | 0.03 ± 0.00 | 0.04 | -0.05 ± 0.07 |  | 0.48 ± 0.07 | 0.58 ± 0.02 | 0.25 ± 0.02 | 0.38 ± 0.04 |
| CaO | 4.56 | 7.49 | 1.79 ± 0.02 | 3.21 | 0.03 ± 0.00 |  | 0.78 ± 0.03 | 0.74 ± 0.04 | 0.48 ± 0.01 | 0.70 ± 0.06 |
| Na2O | 1.54 |  | 0.01 ± 0.00 |  | 0.00 ± 0.02 |  | 0.20 ± 0.02 | 0.3 | 0.04 ± 0.00 | 0.07 |
| K2O | 0.73 |  | 0.11 ± 0.00 |  | -0.03 ± 0.18 |  | 0.10 ± 0.01 | 0.14 | 0.04 ± 0.00 | 0.04 |
| P2O5 | 0.23 |  | 0.02 ± 0.00 |  | 0.00 ± 0.15 |  | 0.16 ± 0.04 | 0.05 | 0.21 ± 0.06 | 0.02 |
| Minor Elements (ppm, unless stated) |  |  |  |  |  |  |  |  |  |  |
| Ba | 289.9 |  |  |  |  |  |  | 72 |  | 27 |
| Sc | 11.11 |  | 0.8 ± 0.0 |  | 6 ± 1 |  | 3 ± 0 |  | 3 ± 0 |  |
| Cr | 207 |  | 3.6 ± 0.1 |  | -60 ± 52 |  | 24 ± 6 | 125 | -53 ± 11 | 100 |
| V | 105 |  | 11.3 ± 0.1 |  | 36 ± 37 |  | 77 ± 7 |  | 49 ± 0 |  |
| Co | 314 | 410 ± 10 | -0.5 ± 1.0 |  | 21,500 ± 1900 | 19,700 ± 0.1400 | 54 ± 4 | 72 ± 7 | 153 ± 14 | 186 ± 21 |
| Ni | 9,760 | 12,330 ± 80 | 11.7 ± 0.1 |  | 48.8 ± 3.0 wt% | 47.95 ± 0.46 wt% | 2,059 ± 186 | 2,430 ± 100 | 6,660 ± 403 | 7,940 ± 360 |
| Cu | 8,745 | 9,670 ± 50 | 13,990 ± 30 | 14,400 ± 100 | 24.44 ± 0.54 wt% | 25.00 ± 0.19 wt% | 597 ± 71 | 670 ± 32 | 276 ± 34 | 280 ± 15 |
| Zn | 150.1 |  | 8.75 ± 0.02 wt% | 19.02 ± 0.01 wt% |  |  | 115 ± 15 | 117 ± 10 | 137 ± 28 | 158 ± 14 |
| Y | 11.2 |  | 112.5 ± 0.9 |  | 0 ± 1 |  | 4 ± 0 |  | 5 ± 0 |  |
| Zr |  |  |  |  |  |  |  | 20 |  | 10 |
| Sr | 187.7 |  | 3.0 ± 0.1 |  | -2 ± 3 |  | 26 ± 3 | 30 | 8 ± 0 | 12 |
| Rb |  |  |  |  |  |  |  |  |  |  |
| Nb |  |  |  |  |  |  |  |  |  |  |

Analyses carried out at the Ontario Geoscience Laboratories. Reference data from Govindaraju (1994) and CANMET report CCRMP 90-3E. Detection limits from quality assurance information provided by Ontario Geoscience Laboratories.

Figure A1.4 Plots of measured values versus reference values for sulfide-rich SRM, sulfide-rich samples and sulfide-poor SRM used to calculated correction values to be applied to ICP-AES data obtained during CAMIRO project 97E-02.

Table A1.9 Calculated corrections for ICP-AES analyses

|  | TiO2 | Al2O3 | Fe2O3 | MnO | MgO | CaO | Na2O | K2O |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Slope | 0.904 | 0.837 | 0.814 | 0.968 | 0.765 | 0.943 | 0.928 | 0.696 |
| 95% CI Slope | 0.060 | 0.071 | 0.079 | 0.059 | 0.031 | 0.046 | 0.191 | 0.076 |
| Intercept | -0.018 | -0.033 | 1.431 | -0.008 | 0.213 | -0.001 | -0.087 | 0.004 |
| 95% CI Intercept | 0.020 | 0.264 | 3.284 | 0.017 | 0.521 | 0.286 | 0.176 | 0.016 |
| Corr. Coeff. (r2) | 0.992 | 0.993 | 0.982 | 0.996 | 0.998 | 0.995 | 0.921 | 0.991 |
| No. of Analyses | 11 | 8 | 12 | 8 | 8 | 13 | 12 | 7 |

|  | Ba | Sc | V | Co | Ni | Cu | Zn | Y | Sr | Mo | W |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Slope | 0.819 | 0.697 | 0.886 | 0.769 | 0.784 | 0.903 | 0.741 | 0.615 | 0.832 | 0.917 | 0.813 |
| 95% CI Slope | 0.097 | 0.226 | 0.150 | 0.107 | 0.050 | 0.014 | 0.173 | 0.119 | 0.079 | 0.060 | 0.144 |
| Intercept | 20 | -1 | 7 | 3 | 193 | 8 | 24 | -1 | -0.3 | -2.5 | -1.56 |
| 95% CI Intercept | 4 | 5 | 22 | 24 | 378 | 63 | 17 | 7 | 3.2 | 15.8 | 41.79 |
| Corr. Coeff. (r2) | 0.996 | 0.905 | 0.972 | 0.994 | 0.999 | 1.000 | 0.936 | 0.996 | 0.993 | 0.998 | 1.000 |
| No. of Analyses | 5 | 8 | 8 | 5a | 5a | 5a | 9 | 4 | 7 | 6c | 3c |

a Data regressed using data for only Ni-Cu sulfide-rich SRM and samples.
b Data regressed using data for Ni-Cu sulfide-rich SRM, Ni-Cu rich samples and sulfide-poor SRM
c Data regressed using data for MP1a, GSR-1, FER-2, ESI-8 and ESI-11; W correction calculated from regression excluding MP-1a.

##### Flame –AAS

Although the ICP-AES data for Ni and Cu after correction appeared to be adequate for this study, many of the more highly mineralized samples possessed concentrations that fell outside the normal working range for the laboratories and required significant extrapolation of the calibration curves. In order to confirm the quality of the data, samples containing more than 2% sulfide were reanalysed by flame-AAS at the Ontario Geoscience Laboratories. For analytical methods see OGS Miscellaneous Paper 149. Detection limits for the technique were 5 ppm Ni and 8 ppm Cu.

Table A1.10 Comparison of Cu and Ni data obtained by ICP-AES, PP-XRF, and flame-AAS

|  | Cu |  | Ni |  |
| --- | --- | --- | --- | --- |
|  | XRF vs. AAS | AES vs. AAS | XRF vs. AAS | AES vs. AAS |
| Slope | 0.969 ± 0.158 | 0.907 ± 0.054 | 0.911 ±- 0.063 | 0.806 +± 0.025 |
| Y-Intercept | -16 ± 34 | 117 ± 148 | 6 ± 10 | -275 ± 1,525 |
| Correl Coeff. (r2) | 0.9189 | 0.9753 | 0.9892 | 0.9934 |
| No. of Analyses | 17 | 32 | 13 | 30 |

Although fewer SRM were analysed for Cu and Ni by flame-AAS, replicate data for Su-1a (a Ni-Cu-Co ore) appeared both accurate and precise (1.195 ± 0.013 wt% Ni, 0.940 ± 0.012 wt% Cu versus reference values of 1.233 ± 0.008 wt% Ni and 0.967 ± 0.005 wt%: CANMET Report 80-9E). Comparison of the data by flame-AAS to those by PP-XRF or ICP-AES (Fig. A1.5 and Table A1.10) also confirmed the observations based on the SRM data for the latter techniques, i.e., that although the Cu data by PP-XRF may be imprecise, they are not significantly different to data obtained by other techniques, that, for samples rich in sulfides (therefore Fe), PP-XRF underestimates the concentration of Ni (by ~ 9%), and that ICP-AES underestimates the concentrations of Ni by ~ 20% and Cu by ~ 10% (leading to the need for the corrections outlined in Table A1.9). Because flame-AAS appeared to be better suited to the determination of Ni and Cu in sulfide-rich samples, data for these elements by this technique were preferred for sulfide-rich samples during the project.

Figure A1.5 Comparison of Ni and Cu concentrations determined by pressed-pellet XRF, ICP-AES and flame-AAS for sulfide-rich samples. For regression statistics, see Table A1.11.

##### INAA

During his study of ores from the Thompson Nickel Belt, Bleeker (1990) showed that the Cr contents of sulfide-rich samples could be used to distinguish between Ni-enriched sulfides of sedimentary origin and magmatic sulfide ores associated with ultramafic bodies, owing to the incorporation of chromite into the magmatic sulfides. Because chromite is insoluble in the acids used to digest the sulfide-rich samples prior to analysis by ICP-AES or flame-AAS, and the PP-XRF technique employed for the analysis of Cr in the sulfide-poor samples was not calibrated for use with high sulfide samples, the Cr contents of the sulfide-rich samples were analysed for Cr using instrumental neutron activation analysis (INAA) at Activation Laboratories in Ancaster, Ontario. Because INAA did not require dissolution of the sample prior to analysis, it is one of the few techniques able to analyse Cr in samples containing acid-insoluble Cr oxides.

Table A1.11 Cr data for SRM analysed by INAA during CAMIRO project 97E-02

|  | D.L. | MRG-1 |  | GXR-1 |  |
| --- | --- | --- | --- | --- | --- |
|  | (ppm) | Measured | Reference | Measured | Reference |
| Cr | 0.5 | 462 | 430 | 10 | 12 |

Because duplicate determinations of Cr in in-house standards, international reference materials or samples were not carried by INAA, it is not possible to thoroughly discuss either the reproducibility or accuracy of the data obtained by the technique. However, data for the few international reference materials analysed during the project (Table A1.11), as well as duplicate Cr data obtained by PP-XRF on less sulfide-rich samples (Fig. A1.6) do indicate that the results for samples with up to 500 ppm Cr are at least consistent with those by other techniques.

Figure A1.6 Plot of Cr determined by INAA versus reference values or Cr by powder-pellet XRF. Solid reference line indicates that of a 1:1 correlation.

#### Trace Lithophile Elements

The rare-earth element (REE: La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, and Lu), high field-strength element (HFSE: Y, Zr, Nb, Hf, Ta, U, and Th) and large-ion lithophile element (LILE: Rb, Sr, and Cs) contents of the samples were determined by inductively-coupled plasma mass-spectrometry (ICP-MS) after HF/HCl/HNO3 digestion in closed Teflon “bombs”. Sample preparation and analysis were carried out by MERC personnel at the Ontario Geoscience Laboratories in Sudbury, using ultra-clean acids and a procedure modified after that described by Tomlinson et al. (1998). Because the samples were digested under pressure, most of the common, acid-resistant accessory phases that may represent significant reservoirs for trace elements (e.g., zircon, garnet, and orthopyroxene) should have dissolved and the data should represent total compositions.

The precision of the analyses by ICP-MS are summarised in Table A1.12 and Figure A1.7. For most of the REE and the less abundant HFSE (e.g., Nb, Hf, Ta, Th, and U) and LILE (e.g., Rb and Cs), the reproducibility of the analyses was between 1 - 10% for concentrations greater than 1 ppm, even though the data were generally reported to 2 decimal places (1% precision at 1 ppm). At lower concentrations, the precision decreased, resulting in ~ 30% error at 0.1 ppm and detection limits of between 0.01 and 0.02 ppm. For the more abundant trace elements (e.g., Sr, Y, and Zr), the reproducibility of the ICP-MS data was similar to that obtained by ICP-AES, with 10% precision at ~10 ppm and detection limits of ~ 0.2 – 1 ppm.

Table A1.12 Reproducibility of trace element data for in-house reference materials analysed by ICP-MS

| Sample | Detection | 51-97-011 | 94-077 | UMPL-1 | WA37916 |
| --- | --- | --- | --- | --- | --- |
|  | Limits (ppm) | n = 4 | n = 6 | n = 9 | n = 4 |
| Cs | 0.01 | 0.113 ± 0.004 | 1.38 ± 0.09 | 0.13 ± 0.01 | 0.250 ± 0.008 |
| Rb | 0.2 | 0.73 ± 0.04 | 8.9 ± 0.6 | 4.7 ± 0.5 | 1.94 ± 0.04 |
| Sr | 2.0 | 7 ± 2 | 31.6 ± 0.9 | 329 ± 6 | 0.3 ± 0.3 |
| La | 0.2 | 3.0 ± 0.1 | 0.65 ± 0.01 | 9.4 ± 0.3 | 0.08 ± 0.01 |
| Ce | 0.3 | 7.1 ± 0.3 | 1.79 ± 0.05 | 29.7 ± 0.8 | 0.17 ± 0.02 |
| Pr | 0.03 | 1.07 ± 0.05 | 0.32 ± 0.01 | 5.4 ± 0.3 | 0.027 ± 0.005 |
| Nd | 0.2 | 4.9 ± 0.3 | 1.76 ± 0.08 | 26 ± 1 | 0.123 ± 0.009 |
| Sm | 0.03 | 1.48 ± 0.04 | 0.67 ± 0.01 | 6.4 ± 0.3 | 0.04 ± 0.01 |
| Eu | 0.004 | 0.72 ± 0.03 | 0.26 ± 0.02 | 1.65 ± 0.05 | 0.007 ± 0.005 |
| Gd | 0.03 | 1.71 ± 0.05 | 0.96 ± 0.03 | 5.8 ± 0.3 | 0.057 ± 0.005 |
| Tb | 0.001 | 0.30 ± 0.02 | 0.17 ± 0.04 | 0.84 ± 0.06 | 0.003 ± 0.005 |
| Dy | 0.01 | 2.03 ± 0.07 | 1.21 ± 0.07 | 4.9 ± 0.1 | 0.07 ± 0.01 |
| Ho | 0.002 | 0.455 ± 0.009 | 0.27 ± 0.03 | 1.00 ± 0.06 | 0.013 ± 0.005 |
| Er | 0.006 | 1.32 ± 0.04 | 0.81 ± 0.05 | 2.71 ± 0.07 | 0.053 ± 0.005 |
| Tm | 0.004 | 0.19 ± 0.01 | 0.12 ± 0.01 | 0.39 ± 0.02 | 0.003 ± 0.005 |
| Yb | 0.01 | 1.25 ± 0.04 | 0.80 ± 0.06 | 2.32 ± 0.05 | 0.070 ± 0.008 |
| Lu | 0.001 | 0.198 ± 0.004 | 0.12 ± 0.02 | 0.37 ± 0.03 | 0.003 ± 0.005 |
| Y | 0.2 | 12.7 ± 0.5 | 7.8 ± 0.7 | 27.2 ± 0.7 | 0.57 ± 0.02 |
| Zr | 6.0 | 31 ± 2 | 15 ± 1 | 38 ± 5 | 1.6 ± 0.3 |
| Nb | 0.08 | 1.69 ± 0.03 | 0.50 ± 0.04 | 4.3 ± 0.1 | 0.12 |
| Hf | 0.01 | 1.07 ± 0.06 | 0.54 ± 0.06 | 1.55 ± 0.10 | 0.050 ± 0.008 |
| Ta | 0.3 | 0.110 ± 0.007 | 0.03 | 0.20 ± 0.03 | bdl |
| U | 0.01 | 0.27 ± 0.01 | bdl | 0.15 ± 0.02 | bdl |
| Th | 0.05 | 0.90 ± 0.04 | 0.04 ± 0.02 | 0.24 ± 0.04 | bdl |

Concentrations in ppm. Detection limits from quality assurance information provided by Ontario Geoscience Laboratories.

Figure A1.7 Plot of precision (2σ) of ICP-MS analyses of selected elements using replicate analyses of in-house (n > 3). Solid line indicates error expected as a result of rounding of data to 2 decimal places prior to reporting (most elements). Dashed line indicates error expected as a result of rounding of data to 1 decimal place prior to reporting (Sr).

The accuracy of the data obtained by ICP-MS during the project was assessed by the analysis of a suite of reference materials that included ultramafic (JP-1, PCC-1), mafic (MRG-1, NIM-N, BIR-1, BIR-1, and JB-3) and felsic rocks (RGM-1 and GSR-1) and the regression of measured values for each element against those recommended for the material (Table A1.13). With the exception of Y and Zr, the gradients of all the regressions were between 0.93 and 1.07 and frequently within error of one (indicating that the measured concentrations were close to, or not significantly different from, those recommended for the samples over the concentration range). Although the intercepts of almost all the regressions are within error of zero, the absence of accurate values for many of the reference materials containing low trace element concentrations resulted in large errors in these values and intercepts with little meaning.

Table A1.13 Summary of the regression of trace element data for reference materials analysed by ICP-MS

| Element | Number of Analyses | Gradient | Y-Intercept | Correlation Coefficient |
| --- | --- | --- | --- | --- |
| Cs | 6 | 1.00 ± 0.03 | 0.08 ± 0.42 | 1.000 |
| Rb | 6 | 1.03 ± 0.03 | -0.39 ± 1.76 | 1.000 |
| Sr | 7 | 1.10 ± 0.04 | -1.75 ± 9.07 | 0.999 |
| Nb | 6 | 1.08 ± 0.04 | -0.34 ± 0.68 | 0.999 |
| La | 8 | 1.04 ± 0.02 | -0.32 ± 0.50 | 1.000 |
| Ce | 9 | 1.00 ± 0.02 | -0.20 ± 0.73 | 1.000 |
| Pr | 6 | 1.02 ± 0.11 | 0.16 ± 0.65 | 0.994 |
| Nd | 7 | 1.00 ± 0.03 | 0.18 ± 0.62 | 0.999 |
| Sm | 7 | 1.01 ± 0.06 | -0.04 ± 0.30 | 0.997 |
| Eu | 7 | 1.05 ± 0.15 | -0.06 ± 0.14 | 0.984 |
| Gd | 6 | 0.93 ± 0.06 | 0.18 ± 0.28 | 0.998 |
| Tb | 6 | 0.91 ± 0.14 | 0.03 ± 0.12 | 0.988 |
| Dy | 7 | 0.97 ± 0.05 | -0.02 ± 0.25 | 0.998 |
| Ho | 7 | 1.05 ± 0.20 | -0.01 ± 0.20 | 0.972 |
| Er | 7 | 1.01 ± 0.09 | -0.03 ± 0.26 | 0.995 |
| Tm | 6 | 1.04 ± 0.12 | -0.01 ± 0.06 | 0.993 |
| Yb | 9 | 1.04 ± 0.06 | -0.03 ± 0.17 | 0.996 |
| Lu | 7 | 1.07 ± 0.07 | -0.01 ± 0.03 | 0.997 |
| Hf | 8 | 0.98 ± 0.07 | 0.02 ± 0.25 | 0.995 |
| Ta | 6 | 0.96 ± 0.02 | 0.01 ± 0.07 | 1.000 |
| Th | 6 | 1.02 ± 0.01 | -0.16 ± 0.23 | 1.000 |
| U | 6 | 1.03 ± 0.02 | -0.08 ± 0.18 | 1.000 |
| Y | 5 | 1.17 ± 0.13 | 3.94 ± 3.96 | 0.994 |
| Zr | 8 | 0.88 ± 0.03 | 0.35 ± 3.37 | 0.999 |

Trace element compositions obtained during CAMIRO Project 97E-02. Bold type indicates elements for which the gradient of the correlation was significantly different from one or the intercept was significantly different from zero.

The regressions of the data for Y is strongly influenced by the high value obtained for GSR-1 (69 ppm), a granite whose recommended Y concentration (62 ppm) is significantly greater than those in the other reference materials (14 –27 ppm). Removal of this analysis from the regression changes the gradient and intercept from 1.17 and ~4 to an insignificant 0.90 ± 0.24 and 1.1 ± 4.9 ppm, respectively. Unfortunately, a similar argument cannot be applied to Zr, because the reference materials chosen were more evenly spread across the concentration range such that none unduly influenced the regression. Although the analyses of reference materials indicate that the Zr and Y data obtained by ICP-MS during the project may be ~10 % low, in light of the low number of data points available for the regression and the uncertainty in the recalculated gradient for Y, no corrections were applied to the data for either Zr, Y, or the other elements determined during the project.

#### Total Sulfur and Carbon

Total carbon and sulfur analyses were carried out by infra-red spectrophotometry using a Leco® induction furnace at either the Central Analytical Facility of Laurentian University or the Ontario Geoscience Laboratories in Sudbury.

For each analysis, ~0.2 – 0.4 g of sample was mixed with pelletized iron and tin, and a vanadium pentoxide accelerator in a low-carbon crucible and the mixture placed in an induction furnace, where it was heated to >1500ºC in a nearly pure oxygen atmosphere. At this temperature, the samples fuse and any C or S are oxidized to CO2, and SO2. After passing through a moisture trap, the combustion products are carried past a series of infrared detectors by the flow of oxygen, where their concentrations are measured and integrated to give the original concentration in the sample. Because all the C and S in the sample should be totally oxidized, the method cannot distinguish between organic carbon, graphite and carbonate, or sulfide and sulfate and yields only the total elemental abundances.

The precision of the data obtained for S and C analyses are shown in Figure A1.8. Whereas the total carbon and sulfur concentrations determined at the CAF were generally both reported in weight percent to three decimal places, the data from the OGL were reported to only two decimal places, potentially leading to greater rounding errors in the final data. For samples containing greater than 1 wt% total carbon or sulfur, the precision of the data were therefore no better than ~10% (2σ). At lower concentrations, the precision decreased significantly, reaching the limits of detection at about 0.01 wt% and 0.1 wt% CO2.

The accuracy of the C and S data was assessed by the analysis of a suite of international reference materials that reflected the range of sample concentrations. Because most of the samples submitted to the CAF contained less than 1% S, the accuracy of the analyses were checked using two iron formation standards containing 0.1 – 0.3 wt% S (FER-1 and FER-4). In contrast, because most of the samples submitted to the OGL and Activation Laboratories were enriched in sulfide, the accuracy of the data were checked using sulfide-rich standards containing 3 – 35 wt% S. The results of the analyses are presented in Table A1.14 and Figure A1.9.

Owing to the small number of analyses of sulfide-rich reference materials with recommended values for C, it was impossible to determine the accuracy of C determinations carried out at the Ontario Geoscience Laboratories. However, from the two analyses of reference materials at the Central Analytical Facility, it appears that the data from there were reasonably accurate. Although, more data would be required to confirm the accuracy of the data from both laboratories, most of the total carbon data obtained during the project were used in a qualitative sense and high accuracy was not a strong requirement. Consequently, it was deemed unnecessary to carry out additional analyses solely for the purpose of proving the accuracy of that which already been obtained.

Figure A1.8 Precision (2σ) of total C (as CO2) and S determinations at the Central Analytical Facility at Laurentian University and Ontario Geoscience Laboratories estimated from replicate analyses of samples analysed during CAMIRO Project 97E-02. Solid line indicates error expected as a result of rounding of data to 3 decimal places prior to reporting. Dashed line indicates error expected as a result of rounding of data to 2 decimal places prior to reporting.

In contrast to the situation for total carbon, there were several samples analysed for S at each of the laboratories, all of which yielded concentrations within 5-10 % of their recommended values (Fig. A1.9).

Table A1.14 Total C and S concentrations determined for reference materials by IR-spectrometry

###### Central Analytical Facility

|  | D.L. | FER-1 |  | FER-4 |  |
| --- | --- | --- | --- | --- | --- |
|  | Wt% | Measured | Reference | Measured | Reference |
| S | 0.005 | 0.244 | 0.26 | 0.117 | 0.11 |
| CO2 | 0.01 | 1.37 | 1.39 | 4.87 | 4.86 |

###### Activation Laboratories

|  | D.L. | CZN-3 |  | MP-1A |  | RTS-3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Wt% | Measured | Reference | Measured | Reference | Measured | Reference |
| S | 0.01 | 29.5 | 31.6 | 12.7 | 12.7 | 10 | 9.98 |
| CO2 | 0.05 | Not Measured |  |  |  |  |  |

###### Ontario Geoscience Laboratories

|  | D.L. | CH-3 |  | KC-1A |  | MP-1A |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Wt% | Measured | Reference | Measured | Reference | Measured | Reference |
| S | 0.01 | 2.86 ± 0.04 | 2.82 | 27.4 ± 0.7 | 27.5 | 12.40 ± 0.16 | 12.7 |
| CO2 | 0.03 | Not Measured |  |  |  |  |  |

|  | D.L. | RTS-2 |  | RTS-4 |  |
| --- | --- | --- | --- | --- | --- |
|  | Wt% | Measured | Reference | Measured | Reference |
| S | 0.01 | 19.9 | 18.95 | 34.2 | 35.9 |
| CO2 | 0.03 | 0.09 |  | Not Measured |  |

Analysed during CAMIRO project 97E-02. Detection limits from quality assurance information given by laboratories.

Figure A1.9 Plot of S determined in international reference materials by Leco® infrared spectroscopy as a function of their published values (taken from Govindaraju, 1994). Solid reference line indicates a 1:1 correlation.

#### Semi-metals

The preferred method of analysis for the semi-metals Se, Sb, and Bi was hydride-generation atomic absorption spectrometry (HG-AAS) on account of its high sensitivity and ability to determine very low concentrations of Se, Sb, and Bi in most samples (with detection limits of 7 ppb, 50 ppb and 100 ppb, respectively). However, the high sensitivity of the technique can also lead to over-saturation of the detector and contamination of the instrument when analysing sulfide-rich samples, leading to anomalously low values and significant memory effects. As a consequence, Se analyses by HG-AAS were only carried on sulfide-poor samples (S < 5%), and the Se contents of sulfide-rich samples were determined by instrumental neutron activation analysis at Activation Laboratories in Ancaster, Ontario. Although the detection limits for Se by INAA are worse than those by HG-AAS (~500 ppb), this did not pose a problem for the high sulfide samples owing to their higher Se concentrations. Although As may also be analysed by hydride generation, it did not form part of the package currently offered by the OGL and As data were obtained for sulfide-rich samples only by INAA.

##### Hydride-generation AAS

Hydride-generator AAS analyses were performed at the Ontario Geoscience Laboratories in Sudbury, Ontario. Se, Sb and Bi are individually determined by digesting ~0.1g of rock on a hotplate using either a HF/H2SO4 or HF/HClO4 acid mixture, converting the element of interest to a volatile hydride species by adding sodium borohydride to the sample solution, and transporting the hydride into an electrically heated quartz glass tube within the spectrometer using an inert carrier gas. Because mutual interference effects exist between different hydride-forming elements, the presence of high sulfur or arsenic concentrations (which would form H2S or H3As) interferes with the analysis of Se, Sb, and Bi. Owing to its lower concentration, Se was significantly affected in initial analyses of massive sulfides attempted by the technique, leading to erroneous results and the eventual analysis of sulfide-rich samples by an alternative technique.

Duplicate analyses of samples and in house standards analysed during the project (Fig. A1.10) indicate that for Se concentrations greater than 300 ppb and Bi contents greater than 1 ppm, the relative precision of the data (2σ) should be better than ~5%. Owing to the low concentrations of Sb in many of the duplicate samples, the reported concentration were either the same within reporting error (0.01 ppm), or range from 5 to 66%, yet show no relationship to concentration, making an accurate assessment of precision difficult.

No international reference materials were analysed for Se by hydride generation AAS and only a single SRM (NIST 8607, a tungsten ore containing ~ 3% S and 1800 ppm As) was analysed for Sb and Bi. Six analyses of this material gave concentrations of 4.9 ± 0.5 ppm Sb and 85.0 ± 7.6 ppm Bi. Although the Sb concentration is within error of the recommended value of 5.1 ppm Sb, the Bi concentration is lower than the reference value (110 ppm). Whereas this may suggest that the Bi data for the samples are an underestimate of their true values, it would also be consistent with suppression by S and As.

Figure A1.10 95% confidence intervals for Se, Sb and Bi obtained by hydride-generation AAS during CAMIRO project 97E-02. Solid line indicates error expected owing to rounding of data to 2 decimal places prior to reporting.

##### INAA

Se and As data were determined as part of the same INAA package used for the determination of Cr in sulfide-rich samples at Activation Laboratories in Ancaster, Ontario. As was pointed out above, few duplicate determinations of either in-house standards, international reference materials or samples were carried during these analyses, hence it is not possible to thoroughly discuss the reproducibility of the data. However, single analyses of three international reference materials carried out at the same time as the samples (Table A1.15), indicate that reasonable accuracy for samples containing ~ 50 – 400 ppm As and up to 200 ppb Se.

Table A1.15 As and Se data for reference materials analysed by INAA during CAMIRO project 97E-02

|  | D.L. | CZN-3-1 |  | CCU1A |  | GXR-1 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (ppm) | Measured | Reference | Measured | Reference | Measured | Reference |
| As | 0.5 | 398 | 390 | 60.8 | 53 | 435 | 427 |
| Se | 1 | 82 |  | 181 | 174 | 16 | 16.6 |

Comparison of the Se data obtained by HG-AAS and INAA indicates that for Se concentrations less than ~5 ppm, both techniques give similar results, but that at higher concentrations, the data show considerable scatter (Fig. A1.11). Because the INAA Se data showed reasonable agreement with their recommended values at high concentrations, and the scatter occurred at concentrations in excess of the working range for Se by HG-AAS, it is inferred to result from erroneous HG-AAS data and only Se data by INAA were used for samples containing > 5 ppm.

Figure A1.11 Comparison of Se data by hydride-generator atomic absorption spectrometry (HG-AAS) and instrumental neutron activation (INAA). Solid reference line indicates a 1:1 correlation.

#### Precious Metals

The precious metals (Ru, Rh, Pd, Ir, Pt and Au) were analysed at the Laurentian low-level PGE facility at the Ontario Geoscience Laboratories in Sudbury Ontario. The metals were separated from the samples and purified by nickel sulfide fire assay followed by tellurium copreciptation, following a modified version of the methods described by Hoffman et al. (1978) and Shazali et al. (1987). 15 g of sample powder were mixed with 5g Ni, 3g S, sodium carbonate and sodium tetraborate in a fireclay crucible and placed in a preheated furnace at 1200°C. After 2.5 hours, the crucibles were removed and left to stand until cool, when they were broken open to release the NiS bead. The buttons were digested on a hotplate in excess concentrated HCl in Teflon beaker. In order to avoid cross contamination, the buttons were not crushed prior to digestion. Whereas the nickel sulfide matrix is soluble in the hydrochloric acid, the precious metals are mostly insoluble and form a residue in the bottom of the beaker. Because some of the precious metals can be dissolved in the hydrochloric acid, it is necessary to coprecipitate the PGE and Au with tellurium by adding a Te solution and reducing it with SnCl2 to form a black precipitate. After filtration to separate the button residue and Te precipitate from the HCl, the HCl-insoluble material is redigested in aqua regia and diluted with deionized water ready for analysis. Samples were analysed for Ru, Rh, Pd, Ir, Pt and Au, with corrections applied off-line for interferences on the light PGE from Co, Ni, Cu and/or Zn argides and on the heavy PGE and Au from Hf, Ta and/or W oxides. Whereas the magnitude of the oxide interferences was normally insignificant, the correction for CuAr on Pd and Rh was often substantial for low-level samples owing to the collection and coprecipitation of Cu from Cu-rich samples. Where the magnitude of this correction exceeded ~20%, Pd concentrations were determined from alternative isotopes and Rh concentrations were not reported.

Figure A1.12 Plot of precious metal concentrations determined in 21 analyses of CANMET standards WPR-1 and TDB-1 by NiSFA-ICP-MS as a function of their published values. Solid reference line indicates regression through all data. Dashed reference line indicates a 1:1 correlation

The accuracy and precision of the data can be estimated from 21 analyses of two CANMET reference materials analysed as control checks during the period that samples for the project were being analysed (Table A1.16). For concentrations greater than 5 ppb (all elements in WPR-1, and Pd and Pt in TDB-1), the reproducibility of the PGE contents of the reference materials was 20% (2σ) or better, whereas those for Au were 30 – 35%, possibly reflecting greater heterogeneity in the samples. At lower concentrations, the reproducibility decreases, as the concentrations approached the detection limits of the technique. During the duration of the project, a serious blank problem associated with the fire assay procedure was overcome, leading to a decrease in both the magnitude and variation of the total procedural blank, hence the lower limit of detection. Because only high-level samples were analysed while this problem persisted, and any lower-level samples were only analysed once the procedural blank had been reduced, correction for the blank should not have significantly affected the results contained in the geochemical database.

Table A1.16 Precious metal concentrations determined for CANMET reference materials WPR-1 and TDB-1 analysed by Ni-FA ICP-MS during CAMIRO project 97E-02

|  | Detection Limits (ppb) |  | WPR-1 |  | TDB-1 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Up to 1/7/00 | After 1/7/00 | Measured Values n = 20 | Reference Values | Measured Values n = 21 | Reference Values |
| Ru | 0.64 | 0.16 | 20.1 ± 3.9 | 22 ± 4 | 0.37 ± 0.29 | 0.3 |
| Rh | 0.17 | 0.02 | 13.3 ± 2.6 | 13.4 ± 0.9 | 0.480 ± 0.098 | 0.7 |
| Pd | 2.56 | 0.34 | 210 ± 35 | 235 ± 9 | 20.9 ± 4.2 | 22.4 ± 1.4 |
| Ir | 0.14 | 0.03 | 15.2 ± 2.4 | 13.5 ± 1.8 | 0.090 ± 0.041 | 0.15 |
| Pt | 2.08 | 0.18 | 259 ± 49 | 285 ± 12 | 4.8 ± 1.1 | 5.8 ± 1.1 |
| Au | 1.79 | 0.35 | 37 ± 10 | 42 ± 3 | 6.2 ± 2.2 | 6.3 ± 1.0 |

Bold text: certified values with 95% confidence intervals. Regular text: provisional values; italic text: information values.

From a plot of the average concentration obtained for the two reference materials as a function of their certified values (Fig. A1.12), it appears that although most of the measured concentrations are within error of the certified values, on average the precious metal data may be systematically ~10% low.

#### Whole-Rock Methods of Choice

Because there is overlap between the range of elements offered by some of the analytical packages used during the project, and the same methods were not used for all sample types, many of the samples either possess more than one value for any particular element or have no data by certain techniques. In order to simplify the presentation of the geochemical data obtained during the project, and to ease its use in the project’s GIS component, the geochemical database was consolidated so that, for most elements, only one value was presented for each element for any given sample and a separate meta-file created describing the analytical methods that were used for each sample. Where more than one value was available for any element, priority was given to data which showed the best accuracy and precision, as described in previous sections of this appendix.

The order of preference for different techniques is summarised in Table A1.17. An exception was made for Nb, Rb, Sr, Y, and Zr, which were determined by both pressed-pellet XRF/open-beaker ICP-AES and closed-beaker dissolution for many samples. Because the quality of the determinations by the two different techniques was significantly different at the low levels present in many of the mafic and ultramafic samples that constituted a large part of the database, the data for these elements were presented in two separate columns (XRF/ICP-AES and ICP-MS). Similarly, owing to the greater accuracy and precision of the techniques used, the data for Sm. Nd, and Os determined during isotopic analyses by thermal-ionization mass spectrometry were presented separately from that determined as part of either the normal REE or PGE analyses.

Table A1.17 Priorities given to sources of data for the compilation of the geochemical database for CAMIRO project 97E-02

|  | XRF | ICP-AES | ICP-MS | AAS | INAA |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Flame |  |
| Major Elements |  |  |  |  |  |
| SiO2 | 1 |  |  |  |  |
| TiO2 | 1 | 2* |  |  |  |
| Al2O3 | 1 | 2* |  |  |  |
| Fe2O3 | 1 | 2* |  |  |  |
| MnO | 1 | 2* |  |  |  |
| MgO | 1 | 2* |  |  |  |
| CaO | 1 | 2* |  |  |  |
| Na2O | 1 | 2* |  |  |  |
| K2O | 1 | 2* |  |  |  |
| P2O5 | 1 | 2* |  |  |  |
| CO2 |  | 1 |  |  |  |
| LOI | 1 |  |  |  |  |
| Transition Metals |  |  |  |  |  |
| Cr | 1 |  |  |  | 2 |
| Ni | 3 | 2* |  | 1 |  |
| Co | 1 | 2* |  |  |  |
| Cu | 2 | 3 |  | 1 |  |
| Zn | 1 | 2 |  |  |  |
| Sc | 1 | 2 |  |  |  |
| V | 1 | 2* |  |  |  |
| Large Ion Lithophile Elements |  |  |  |  |  |
| Cs |  |  | 1 |  |  |
| Ba | 1 |  |  |  |  |
| Rb | 2 |  | 1 |  |  |
| Sr | 2 | 3* | 1 |  |  |
| Precious Metals |  |  |  |  |  |
| Ru |  |  | 1 |  |  |
| Rh |  |  | 1 |  |  |
| Pt |  |  | 1 |  |  |
| Pd |  |  | 1 |  |  |
| Au |  |  | 1 |  |  |
| Ag |  |  |  | 1 |  |

|  | XRF | ICP-AES | ICP-MS | AAS |  | INAA |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Flame | Hydride |  |
| Rare Earth Elements |  |  |  |  |  |  |
| La |  |  | 1 |  |  |  |
| Ce |  |  | 1 |  |  |  |
| Pr |  |  | 1 |  |  |  |
| Nd |  |  | 1 |  |  |  |
| Sm |  |  | 1 |  |  |  |
| Eu |  |  | 1 |  |  |  |
| Gd |  |  | 1 |  |  |  |
| Tb |  |  | 1 |  |  |  |
| Dy |  |  | 1 |  |  |  |
| Ho |  |  | 1 |  |  |  |
| Er |  |  | 1 |  |  |  |
| Tm |  |  | 1 |  |  |  |
| Yb |  |  | 1 |  |  |  |
| Lu |  |  | 1 |  |  |  |
| High Field Strength Elements |  |  |  |  |  |  |
| Y | 3 | 2 | 1 |  |  |  |
| Zr | 2 |  | 1 |  |  |  |
| Nb | 2 |  | 1 |  |  |  |
| Mo |  | 1 |  |  |  |  |
| Hf |  |  | 1 |  |  |  |
| Ta |  |  | 1 |  |  |  |
| W |  | 1 |  |  |  |  |
| Th |  |  | 1 |  |  |  |
| U |  |  | 1 |  |  |  |
| Semi- & Non-metals |  |  |  |  |  |  |
| S | 2 | 1 |  |  |  |  |
| As |  |  |  |  |  | 1 |
| Se |  |  |  |  | <5 ppm | >5 ppm |
| Sb |  |  |  |  | 1 |  |
| Cd |  | 1 |  |  |  |  |
| Pb |  |  |  | 1 |  |  |
| Bi |  |  |  |  | 1 |  |

Table A1.18 EMPA conditions and data quality during the analysis of silicate minerals

| Analyte | Mineral | Mode | Crystal | Line | L.O.D. wt%1 | L.O.Q. wt%2 | Count time (seconds)3 | Beam current (nA) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SiO2 | All other | WDS | TAP | Kα | 0.038 | 0.127 | 10 | 20 |
|  | Chromite | WDS | TAP | Kα | 0.005 | 0.016 | 60 | 200 |
| TiO2 | Pyroxene & hydrated silicates | WDS | LiF | Kα | 0.063 | 0.210 | 20 | 20 |
|  | Chromite | WDS | LiF | Kα | 0.018 | 0.061 | 20 | 200 |
|  | Olivine | WDS | LiF | Kα | 0.005 | 0.016 | 30 | 200 |
| Al2O3 | All other | WDS | TAP | Kα | 0.040 | 0.133 | 10 | 20 |
|  | Olivine | WDS | TAP | Kα | 0.003 | 0.010 | 60 | 200 |
| Cr2O3 | All other | WDS | PET | Kα | 0.033 | 0.110 | 10 | 20 |
|  | Olivine | WDS | PET | Kα | 0.006 | 0.019 | 30 | 200 |
| FeO | All minerals | WDS | LiF | Kα | 0.035 | 0.117 | 20 | 20 |
| MnO | All Other | WDS | LiF | Kα | 0.027 | 0.090 | 10 | 20/200 |
| MgO | Pyroxene & hydrated silicates | WDS | TAP | Kα | 0.022 | 0.073 | 10 | 20 |
| CoO | Olivine | WDS | LiF | Kα | 0.006 | 0.021 | 30 | 200 |
| NiO | Olivine | WDS | LiF | Kα | 0.007 | 0.024 | 30 | 200 |
| ZnO | Chromite | WDS | LiF | Kα | 0.009 | 0.028 | 30 | 300 |
| CaO | All other | WDS | PET | Kα | 0.027 | 0.090 | 10 | 20 |
|  | Olivine | WDS | PET | Kα | 0.004 | 0.012 | 30 | 200 |
| Na2O | Pyroxene & hydrated silicates | WDS | TAP | Kα | 0.056 | 0.187 | 20 | 20 |
| K2O | Pyroxene & hydrated silicates | WDS | PET | Kα | 0.018 | 0.088 | 10 | 20 |
| SrO |  | WDS | PET | Lα | 0.077 | 0.257 | 10 | 20 |
| BaO | Pyroxene & hydrated silicates | WDS | PET | Lα | 0.044 | 0.146 | 10 | 20 |
| V2O5 | Pyroxene & hydrated silicates | WDS | LiF | Kα | 0.014 | 0.047 | 20 | 20 |
| ZrO2 | Chromite | WDS | PET | Lα | 0.022 | 0.072 | 20 | 200 |
| Nb2O5 | Chromite | WDS | PET | Lα | 0.020 | 0.066 | 20 | 200 |
| F | Pyroxene & hydrated silicates | WDS | TAP | Kα | 0.031 | 0.103 | 10 | 20 |
| Cl | Pyroxene & hydrated silicates | WDS | PET | Kα | 0.027 | 0.090 | 10 | 20 |

1 L.O.D. = Limit of Detection, precision ~ +/- 100%. 2 L.O.Q. = Limit of quantification (3.3 x L.O.D), precision ~ 10-30%.3 Reported count times are for both peak and background measurements. Note: LOD and LOQ will vary with matrix effects and the values are only presented as a guide.

### Mineral Analyses

#### Silicate and Oxide Minerals (Laurentian University)

Electron microprobe analyses were obtained on olivine, chromite, pyroxene, amphibole, garnet, serpentine and mica grains in standard carbon coated polished thin sections at the Ontario Geoscience Laboratories using a JEOL JSM 6400 SEM for qualitative and semi-quantitative analysis and a Cameca SX50 automated EMP equipped with 4 wavelength-dispersive X-ray emission spectrometers for quantitative analysis. Data reduction was performed using the “PAP” procedure of Pichou and Pichoir (1984). Analytes, analytical conditions, limits of detection (LOD), and limits of quantification (LOQ) are summarised in Table A1.18. Whereas most major elements were analysed using a 20 nA beam, minor or trace elements were analysed using a beam current of 200nA in order to improve sensitivity.

Although the precision of the electron microprobe data could be assessed by comparison of the analyses of in-house standards with long-term averages (Table A1.19), it was not possible to assess accuracy owing to the absence of well-characterized inter-laboratory mineral standards.

Table A1.19 Data for in-house silicate and oxide mineral standards analysed by electron microprobe during CAMIRO project 97E-02

|  | Olivine | Chromite | Spinel | Ilmenite | Gahnite | Amphibole | Diopside | Al-rich Augite |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (OliOGC) | (chrRV1) | (SpiSYN) | (IlmMSU) | (GahBRZ) | (AmpKNZ) | (DiopAST) | (PyxBRN) |
| SiO2 | 40.76 ± 0.20 | 0.034 ± 0.019 | 0.056 ± 0.012 | 0.025 ± 0.014 | 0.013 ± 0.012 | 39.94 ± 0.24 | 55.26 ± 0.39 | 50.24 ± 0.15 |
| TiO2 | 0.007 ± 0.007 | 0.405 ± 0.018 | 0.001 ± 0.001 | 46.23 ± 1.22 | 0.007 ± 0.005 | 4.77 ± 0.13 | 0.05 ± 0.04 | 0.48 ± 0.01 |
| Al2O3 | 0.007 ± 0.001 | 8.29 ± 2.22 | 71.14 ± 0.03 | 0.034 ± 0.013 | 55.31 ± 0.41 | 14.87 ± 0.18 | 0.00 ± 0.01 | 7.80 ± 0.04 |
| Cr2O3 | 0.018 ± 0.011 | 57.88 ± 14.83 | 0.005 ± 0.007 | 0.014 ± 0.012 | 0.009 ± 0.007 | 0.00 ± 0.01 | 0.01 ± 0.01 | 0.91 ± 0.05 |
| FeO | 8.51 ± 0.11 | 12.26 ± 3.17 | 0.006 ± 0.002 | 46.02 ± 0.26 | 1.98 ± 0.04 | 10.44 ± 0.32 | 0.04 ± 0.02 | 4.73 ± 0.04 |
| MnO | 0.130 ± 0.017 | 0.228 ± 0.034 | 0.006 ± 0.008 | 4.54 ± 0.15 | 0.369 ± 0.012 | 0.07 ± 0.02 | 0.05 ± 0.02 | 0.12 ± 0.02 |
| MgO | 49.91 ± 0.20 | 12.51 ± 3.33 | 28.15 ± 0.04 | 0.312 ± 0.034 | 0.119 ± 0.097 | 12.43 ± 0.19 | 18.59 ± 0.18 | 17.19 ± 0.07 |
| CoO | 0.018 ± 0.003 |  |  |  |  |  |  |  |
| NiO | 0.400 ± 0.005 | 0.080 ± 0.019 | 0.000 ± 0.000 | 0.008 ± 0.009 | 0.007 ± 0.005 | 0.01 ± 0.01 | 0.01 ± 0.02 | 0.06 ± 0.00 |
| ZnO |  | 0.079 ± 0.017 | 0.007 ± 0.005 | 0.056 ± 0.026 | 41.90 ± 0.14 | 0.04 ± 0.04 | 0.01 ± 0.02 | 0.02 ± 0.03 |
| CaO | 0.040 ± 0.007 |  |  |  |  | 9.97 ± 0.19 | 25.74 ± 0.38 | 17.31 ± 0.05 |
| Na2O |  |  |  |  |  | 2.56 ± 0.03 | 0.01 ± 0.01 | 0.84 ± 0.03 |
| K2O |  |  |  |  |  | 2.07 ± 0.06 | 0.01 ± 0.01 | 0.01 ± 0.00 |
| BaO |  |  |  |  |  | 0.04 ± 0.07 | 0.03 ± 0.04 | 0.05 ± 0.07 |
| V2O5 |  | 0.146 ± 0.055 | 0.006 ± 0.006 | 0.016 ± 0.028 | 0.011 ± 0.014 | 0.11 ± 0.03 | 0.04 ± 0.02 | 0.05 ± 0.02 |
| Nb2O5 |  | 0.014 ± 0.017 | 0.003 ± 0.004 | 1.05 ± 0.06 | 0.013 ± 0.018 |  |  |  |
| F |  |  |  |  |  | 0.14 ± 0.04 | 0.02 ± 0.02 | 0.07 ± 0.08 |
| Cl |  |  |  |  |  | 0.03 ± 0.00 | 0.00 ± 0.00 | 0.00 ± 0.00 |

Errors represent one standard deviation on the mean values.

#### Sulfide Minerals (University of Manitoba)

As part of the MSc. thesis by J. Liwanag, the major and trace element compositions of pyrrhotite, pentlandite, chalcopyrite, and pyrite grains from the Thompson Nickel Belt were determined by electron microprobe analyses (EMPA) and proton-induced X-ray emission spectrometry (PIXE) respectively. Because these data are included in the appendices of this report, brief details of their analyses are presented below. For further information, see Liwanag (2001).

##### Electron Microprobe Analysis (EMPA)

EMP analyses were carried out on standard carbon coated polished thin sections at the University of Manitoba using a Cameca SX-50 EMP. All analyses were performed using wavelength dispersive spectrophotometry with an accelerating voltage of 20 kV, a 20 nA beam current and counting times on the peaks and backgrounds of 20 and 10 seconds, respectively. The instrument was calibrated using a chalcopyrite standard for S and Cu, a magnetite standard for Fe and a pentlandite standard for Ni. Data reduction was performed using the “PAP” procedure of Pichou and Pichoir (1984).

##### Proton-Induced X-ray Emission

PIXE analyses were carried out using the proton microprobe at the University of Guelph, under the following conditions: proton energy, 3 MeV; charge, 2.5 μC, average current, 5.6 nA; average counting time, 505 s; beam size, 5 x 10 μm2. Calibration used a synthetic pyrrhotite standard containing ~61 wt% Fe, ~38.9 wt% S, 0.09 wt% Se and 0.11 wt% Pd. Data reduction was performed using the GUPIX program developed at Guelph (Maxwell et al., 1989).

### Nd-Sm Isotope Analyses

Dissolutions, elemental separations, and mass spectrometry were performed in the Isotope Laboratory at the University of Saskatchewan. Powdered samples were completely spiked with the appropriate amount of a mixed 149Sm-150Nd tracer solution prior to digestion in HF-HNO3 in screw-top Teflon containers. Samples with Nd concentrations of about 1 ppm or less were also subjected to a Fe co-precipitation procedure, similar to that employed by Sharma and Wasserburg (1996). After the initial dissolution, the evaporated residue is dissolved in 1.0N HCl and drops of NH4OH added until Al and Fe-bearing flocculates form. The precipitates are allowed to settle, prior to removal of the supernate after centrifuging. The flocculates were then redissolved in 6.0N HCl. Irrespective of dissolution procedures, the Sm and Nd were then separated in a two-step process using standard cation-exchange procedures, prior to loading on outgassed rhenium filaments with H3PO4 and 2.0N HCl. Isotopic analyses were performed in static mode on a Finnigan MAT 261 mass spectrometer. Spike unmixing, and mass fractionation corrections were performed offline, and used the following normalization ratios: 146Nd/144Nd=0.7219 and 148Sm/154Sm=0.49419. Errors are reported at 2σ.

Analyses of standards during the course of this project yielded the following 143Nd/144Nd values: La Jolla Nd standard = 0.511838 ± 9 (n = 9); Ames Nd standard = 0.512108 ± 9 (n=45). The epsilon Nd (εNd) values at the present or at the age of the rock were calculated using the following reference values: 143Nd/144Nd CHUR (present)=0.512638 and 147Sm/144Nd CHUR (present) = 0.1966 (Jacobsen and Wasserburg, 1980). Procedural blanks are about 100 pg Nd and 30 pg Sm, but are insignificant for these samples as enough powder was dissolved to yield about 1 to 2 mg of Nd.

## Filters for Pre-existing Data

As part of their contributions to the CAMIRO project, Falconbridge Ltd., Hudson Bay Exploration & Development Co. Ltd., and Cominco each donated large geochemical databases. In addition, a large geochemical database comprising data acquired and compiled by L. Hulbert, and data from the previous CAMIRO project (94E04) were also incorporated into the project database. Whereas the data from Hulbert and the previous project would be expected to be of similar quality to those obtained for this project on account of the use of similar analytical techniques for all the three datasets, the data contributed by the company sponsors varied in quality from exploration to research grade. Because only the best data were desired for the final database, it was necessary to screen out unreliable data from these databases before merging them with the data obtained during the current project.

The majority of the data received from Falconbridge Ltd. were obtained by either XRF analysis of fused discs or pressed pellets, or ICP-MS analysis of peroxide-fused samples. Because both sets of techniques should yield quantitative results for most of the major and minor elements reported, these data were all accepted. Where Cr concentrations were determined by both fusion-XRF and pressed pellet XRF, the data showed good agreement down to ~0.1 wt%, below which the powder pellet data were lower than the fusion data. Because PP-XRF should be the more sensitive technique, these data were preferred, and Cr concentrations of less than 0.1 wt% determined on fused discs were discarded (approximately 20 samples).

Of the 390 samples in the database received from HBED, 50 had no sample description and lithological codes that did not match those of either the rest of the database or the legend provide. Although these data are included in the database, their use is limited. Of the remaining samples, 317 had been analysed for major and minor elements by XRF analysis of either fused discs or pressed pellets, 340 had been analysed for selected major, minor and trace elements by ICP-AES on aqua regia leached samples, and 28 samples had been analysed for 70 major, minor and trace elements (including the REE, Pt, Pd and Au) using a multi-element package combining XRF, INAA, ICP-MS and AAS. Where there was overlap between the techniques, comparison of data for individual samples showed that the ICP-AES data were low for TiO2, Al2O3, FeO, MnO, MgO (except at low concentrations in felsic samples), Na2O, K2O (except in sedimentary rocks), Zr, Y, La, Ba, Sr, Ni, Co, Zn, Sc, and V relative to data obtained by either XRF or the multi-element package. Whereas CaO and Sr showed good agreement for talc-carbonate altered mafic and ultramafic rocks, the ICP-AES data for these elements in most samples were also lower than those by other techniques. Cu was the only element to show good agreement between the different techniques for all samples. Owing the lack of overlap between the elements analysed by ICP-AES and either XRF or the multi-elemental package, it was not possible to assess the quality of the Sn, Ag, Pb, Bi, Mo, Be, As, Sb or Se data by the former technique. The poor agreement between the ICP-AES data and that by the other techniques is consistent with the incomplete digestion of most silicate minerals during by aqua regia, but complete dissolution of most sulfide or carbonate phases. Whereas such analyses may be useful for the determination of transported elements during a geochemical exploration program, they do not provide the quantitative data required for petrogenetic or metallogenetic studies (for which either a mixed acid digestion employing HF, or a sodium peroxide fusion would be required) and all data by ICP-AES except those for Cu, and CaO and Sr in selected samples, were removed from the database. Although 163 samples were analysed for Pt, Pd and Au by lead fire assay (with an DCP or NA instrumental finish) and S by Leco® infra-red spectrophotometry, few possessed concentrations above their limits of detection (Pt, 1 ppb, 9 samples; Pd, 1 ppb, 41 samples; Au, 1 ppb, 29 samples; S, 100 ppm, 48 samples) and were incorporated into the database. All data from HBED were produced by XRAL laboratories of Don Mills, Ontario.

During the first year of the project, Cominco contributed analyses of 1330 samples collected from drilling on their properties in the Winnipegosis area in the southern region of the TNB. Of these samples, almost all were analysed for base metals (Ni, Cu, Co, Zn ± Cr), but only 332 were also analysed for major elements. Although some of the samples without major element concentration were analysed for minor and/or trace elements (REE, HFSE), and so could be used in petrogenetic discussions that employed elemental ratios, it was not possible to utilise the data for these samples fully owing to uncertainties in their chemical affinities (i.e., relationships to other rocks in the region) and the inability to correct for the effects of alteration, which were normally corrected for by normalizing the data to volatile-free compositions using the major element totals (Section A2.11).