## Temperature Compensation (TC)
TEMPERATURE COMPENSATION
Temperature Compensation Pumps
·For your system to work and your inventory books to be done correctly, your pumps, the product that is delivered to your tanks and the product in your tank(s) must be temperature compensated.
·When product is delivered to your tank(s) make sure that the temperature compensation volume on your bill of lading is used. This volume is then added to column C (Deliveries).
Your dispensing pump(s) are converted to temperature compensation by a contractor. The conversion is a hardware change.
·Make sure you read the temperature compensated meter reading on your pump(s). The reading on your pump(s) is then added to column D [Daily Sales Volume (Meter Sales)].
·The product in your tank(s) should be temperature compensated at the same time as your daily dip your tank(s), unless you have automatic dipping equipment.
~In that case your automatic dipping equipment would provide temperature readings as well.
~In the case of manual dipping you would lower a petroleum resistant thermometer into the tank. The temerature of your product should be taken 12 to 18 inches from the bottom of your tank.
~Once the temperature is obtained from the product in your tank(s) you would use the conversion chart to get a temperature correction factor. This factor is then multipled by the volume in your tank to get your temperature compensated volume. This temperature compensated volume is then added to column F (Closing Physical Inventory).
NOTE: The failure to temperature compensate your product in your tank(s) can create errors in your inventory books.
Non-Temperature Compensated Pumps
If you do not have temperature compensated pumps, the only requirement would be to make sure that when product is delivered to your tank(s) only the non-temperature compensated volume on the bill of lading is used. This volume is then added to column C (Delivery) under Daily Inventory Balance Record.

## TC Decision Tree
TEMPERATURE &
NON-TEMPERATURE COMPENSATED PUMPS

## TC Conv Chart
CONVERSION CHART FOR TEMPATURE CORRECTION
TEMPERATURE CORRECTION CHART: 1 | [6 empty] | DESCRIPTION: GASOLINE
Deg. C | Factor | Deg. C | Factor | Deg. C | Factor | Deg. C | Factor | Deg. C | Factor
-20 | 1.0431 | -19 | 1.0413 | -18 | 1.0407 | -17 | 1.0395 | -16 | 1.0383
-15 | 1.0371 | -14 | 1.0359 | -13 | 1.0346 | -12 | 1.0334 | -11 | 1.0322
-10 | 1.031 | -9 | 1.0297 | -8 | 1.0285 | -7 | 1.0273 | -6 | 1.0261
-5 | 1.0248 | -4 | 1.0236 | -3 | 1.0224 | -2 | 1.0211 | -1 | 1.0199
0 | 1.0187 | 1 | 1.0174 | 2 | 1.0162 | 3 | 1.0149 | 4 | 1.0137
5 | 1.0125 | 6 | 1.0112 | 7 | 1.01 | 8 | 1.0087 | 9 | 1.0075
10 | 1.0062 | 11 | 1.005 | 12 | 1.0037 | 13 | 1.0025 | 14 | 1.0013
15 | 1 | 16 | 0.9987 | 17 | 0.9975 | 18 | 0.9962 | 19 | 0.995
20 | 0.9937 | 21 | 0.9925 | 22 | 0.9912 | 23 | 0.99 | 24 | 0.9887
25 | 0.9874 | 26 | 0.9862 | 27 | 0.9849 | 28 | 0.9837 | 29 | 0.9824
30 | 0.9811 | 31 | 0.9799 | 32 | 0.9786 | 33 | 0.9773 | 34 | 0.9761
35 | 0.9748 | 36 | 0.9735 | 37 | 0.9723 | 38 | 0.971 | 39 | 0.9697
40 | 0.9684
TEMPERATURE CORRECTION CHART: 2 | [6 empty] | DESCRIPTION: DIESEL
Deg. C | Factor | Deg. C | Factor | Deg. C | Factor | Deg. C | Factor | Deg. C | Factor
-20 | 1.0292 | -19 | 1.0284 | -18 | 1.0276 | -17 | 1.0268 | -16 | 1.026
-15 | 1.0251 | -14 | 1.0243 | -13 | 1.0235 | -12 | 1.0226 | -11 | 1.0218
-10 | 1.021 | -9 | 1.0201 | -8 | 1.0193 | -7 | 1.0185 | -6 | 1.0176
-5 | 1.0168 | -4 | 1.016 | -3 | 1.0151 | -2 | 1.0143 | -1 | 1.0134
0 | 1.0126 | 1 | 1.0118 | 2 | 1.0109 | 3 | 1.0101 | 4 | 1.0093
5 | 1.0084 | 6 | 1.0076 | 7 | 1.0067 | 8 | 1.0059 | 9 | 1.0051
10 | 1.0042 | 11 | 1.0034 | 12 | 1.0025 | 13 | 1.0017 | 14 | 1.0008
15 | 1 | 16 | 0.9992 | 17 | 0.9983 | 18 | 0.9975 | 19 | 0.9966
20 | 0.9958 | 21 | 0.9949 | 22 | 0.9941 | 23 | 0.9932 | 24 | 0.9924
25 | 0.9915 | 26 | 0.9907 | 27 | 0.9898 | 28 | 0.989 | 29 | 0.9881
30 | 0.9873 | 31 | 0.9864 | 32 | 0.9856 | 33 | 0.9847 | 34 | 0.9836
35 | 0.983 | 36 | 0.9822 | 37 | 0.9813 | 38 | 0.9805 | 39 | 0.9796
40 | 0.9788

## Instructions
MONTHLY FUEL INVENTORY WORKBOOK INSTRUCTIONS
OVERVIEW: This workbook file is designed to assist facility operators in their monthly fuel reconciliations by Tank.
The workbook has individual worksheets formatted for each month which are displayed on the folder tabs seen at the bottom of your sceen. Users are only required to fill in columns in yellow shaded areas (Deliveries, Meter Sales, Closing Physical Inventory, Notification and Water Readings), one cell shaded in yellow for January only (Closing Physical Inventory - cell F6). Any areas shaded in pink are merely to bring your attention to them. The remainder of the worksheet is programmed to perform the calculations needed to complete your inventory reconciliation. The bottom of the sheet contains summary information to calculate your product variance for the month and also record if you have 5 consecutive or 18 day product losses within the month as required by the Department of Conservation's Petroleum Storage regulation, MR 188/2001.
GETTING STARTED: Before using this file you should create a copy of this file and rename it to reflect the Tank which you are reconciling. Remember, 1 inventory record for each tank. 2 or more tanks cannot be combined on this form.
Under File Menu choose Save As, select Save in and browse for the directory where you wish to store the file on your computer, select File Name and type in the name in which you wish to rename your working file. [e.g. "2020-Diesel Tank"]. Select Save. You now have a file renamed and saved in which you can record your reconciliation entries.
MONTHLY WORKSHEET INSTRUCTIONS: Users are required to complete information in the following cells or columns.
In the Monthly Summary Tab
Enter the Business Name, Address, Product, Tank, Storage Capacity and Year in this tab. The data you enter here will be copied to the monthly sheets.
In each individual Month
Enter the daily information in the yellow cells. Descriptions of the columns can be found in the red comments on each column
DELIVERY: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
DAILY SALES VOLUME [Meter Sales]: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
CLOSING PHYSICAL INVENTORY: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. Manually Enter the Previous Year End in the January Tab.
VARIANCE TO DATE: Manually enter the Previous Year End amount in the January Tab.
NOTIFICATION: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
WATER READINGS: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
CALCULATIONS PERFORMED BY THIS SPREADSHEET:The following columns are pre-programmed to perform the necessary calculations to complete the monthly reconciliation requirements. Except for Cell I6, no information is required to be entered into these columns. Information in the Variance columns should be reviewed daily to determine possibilities for the occurrance of product shortages.
BOOK INVENTORY [Inventory Should Be]: Is calculated by taking your opening inventory plus any purchases, less any sales which have been recorded for the day.
INVENTORY VARIANCE TODAY: The worksheet compares information shown in the Book Inventory versus Closing Physical Inventory. Theoretically, these two values should be the same, however in reality, they rarely are and are calculated as product overages or shortages in this column.
VARIANCE Month to Date: Calculates the accumulated product shortages for the current month.
VARIANCE Year to Date: Calculates the accumulated product shortages for the year to date. At the beginning of each month in Cell I6 record the amount shown in Cell I38 from the previous month.
TOTAL SALES Month to Date: Totals the current product sales for the month. Your total sales at month end is used to calculate your Monthly Variance for the month as summarized in the Table within the "Monthly Summaries" tab on the bottom of the spreadsheet.
PURCHASES Month to Date: Provides a total for the product purchased during the current month.
DAYS (-) CONSECUTIVE: This column is programmed to look for any 5 consecutive days of product shortages during the month. If 5 days are calculated the column will appear highlighted in Orange to alert the user to watch their inventory closely.
DAYS (-) Month to Date: This column is programmed to count for any 18 days of product shortages during the month. If 18 days are calculated the column will appear highlighted in Orange to alert the user to watch their inventory closely.
Manitoba Conservation's Petroleum Storage regulation, MR 188/2001: The section at the bottom of the worksheet comprised of Cells E40, E41, M40, M41 are pre-programmed to summarize information and perform the necessary checks on your inventory as required by the Manitoba Conservation's Petroleum Storage regulation, MR 188/2001.
MONTHLY VARIANCE: Your calculated monthly variance will appear in Cell E40. (Total from Monthly Variances divided by Total Sales during the month X 100)
Cells E41, M40, M41: At month end, part of your inventory procedures must include a check for product shortages occurring during 5 consecutive or any 18 days within the month. Patterns of product losses such as these could be warning signs that should be further investigated. Monthly variances of .5% or greater over several consecutive months could be a sign of a leaking tank.
REMEMBER: Check out possible reasons for discrepancies in the reconciliation, ie. theft of product, pumps requiring calibration, delivery errors or leaks. If the figures are accurate and a pattern of shortages is occurring, you must contact your regional Environment Officer.
This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.

## Month Summ
This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Monthly Summary
Business Name:
Address:
Product:
Tank:
Storage capacity: |  |  | litres
Year
| Variance Month to Date | Total Sales Month to Date | % Loss of Product by Meter Sales | % Loss of Product by Tank Volume | The Less of Column E or F
January | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0

## Jan
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | January | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 | [From Dec 31] |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Previous Year End - Manually enter the year end total here from December 31st.

## Feb
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | February | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month.
Note on I6: Carried Over, from previous month.

## March
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | March | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month.
Note on I6: Carried Over, from previous month.

## April
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | April | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month.
Note on I6: Carried Over, from previous month.

## May
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | May | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month.
Note on I6: Carried Over, from previous month.

## June
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | June | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month.
Note on I6: Carried Over, from previous month.

## July
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | July | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [5 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [5 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Aug
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | August | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. January will start at Zero.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Sept
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | September | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. January will start at Zero.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Oct
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | October | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. January will start at Zero.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Nov
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | November | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. January will start at Zero.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Dec
MONTHLY FUEL INVENTORY RECONCILIATION REPORT
Business Name: | 0 | [6 empty] | This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.
Date: | December | 0
Product: | 0 |  |  | Tank: | 0
Day | Opening Inventory | Delivery | Daily Sales Volume [Meter Sales] | Book Inventory [Inventory Should Be] | Closing Physical Inventory | Inventory Variance Today (+/-) | Variance Month to Date | Variance Year to Date | Total Sales Month to Date | Total Monthly Deliveries | Days (-) Consecutive | Days (-) Month to Date | Notification | Water Readings
[5 empty] | 0 |  |  | 0
1 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carryforward Summary Info: |  |  |  |  | 0 |  | 0 | 0 | 0
|  |  | Monthly Variance: | 0 | [6 empty] | Are there 5 consecutive days of unexplained losses? | No
|  |  | Is my monthly variance greater .5%? | No | [6 empty] | Are there 18 days in the month of unexplained losses? | No
Note on B2: Business Name is entered on the Monthly Summary tab
Note on C3: Year is entered in the Monthly Summary tab.
Note on B4: Product is entered in the Monthly Summary tab
Note on F4: Tank is entered in the Monthly Summary tab.
Note on C5: Record the amount of product received from the truck as stated on the product delivery receipt. If your site is closed on weekends or holidays, do not record information in this field. Please see the Temperature Compensation Tab in order to decide which value to use from the product delivery receipt.
Note on D5: Record daily pump meter readings at the end of the day. If your site is closed on weekends or holidays, do not record information in this field.
Note on F5: Record the daily tank gauge or dipstick reading for the product or tank. At the beginning of each month, the Closing Physical Inventory on your previous month, will be carried over into this column as your opening entry. January will start at Zero.
Note on N5: If you have any unexplained product losses or excessive daily variations that are greater than normal, have you investigated this further and notified the proper authorities if necessary? If you have variations in the daily inventory records and suspect a leak, make the following checks: Ensure that information from receipts or delivery slips are accurately recorded, check for arithmetic errors, (ie. a product reading incorrectly entered) and examine locks on pumps and fill pipes for signs of theft. If none of these checks indicate a problem, the most likely causes are inaccurate pump metering or else a slow leak in the piping or underground tank which may progressively be getting worse.
Note on O5: Record the amount of water detected from the daily water dip. The result must be recorded even if it is zero.
Note on F6: Carried Over, from previous month
Note on I6: Carried Over, from previous month

## Notes
This sheet is intentionally left blanks for your notes
This spreadsheet is provided as a guide. The user of this spreadsheet is responsible for ensuring the data and calculations are correct.